## Demand
Sun Devil Volume
MMBtu/d |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| 100% Capacity | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Phoenix Load
Panda Energy - Gila | 390098 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000
APS - W. Phoenix | 204380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APS - Red Hawk | 210000 | 100000 | 200000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000 | 300000
SRP - Agua Fria | 97600 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000
SRP - Kyrene | 45315 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Duke - Arlington | 125000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000
Sempra - Mesquite | 220490 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
PG&E - Harquahala | 178825 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
SouthWest Gas | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000
PPL Sundance | 90000
Total Phoenix | 1661708 | 610000 | 710000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000 | 810000
East of Calif Market
EDG - Gallup | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000 | 216000
Citizen's Utilities | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000
Total SD Market | 1897708 | 846000 | 946000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000 | 1046000
*Red Hawk Phase I = 1160 Mw by 6/02, Ph II = 530 by 6/06, Ph III = 520 by 6/07, 410 MMBtu/d total consumption

## Capacity
Sun Devil Power Generators
|  |  | In-Service |  | MMBtu/d | Sun Devil
Developer | Plant | Cap. Mw | Date | Status | Gas Demand | Est. Demand
AZ Public Service | W Phoenix | 366 | old | Operating | 97262
AZ Public Service | W Phoenix | 120 | 2001-06-01 | Operating | 20736
SRP | Agua Fria | 600 | old | Operating | 97600 | 30000
Duke | Arlington Valley | 550 | 2002-06-01 | Under Construction | 125000 | 50000
Pinnacle West | Redhawk | 1160 | 2002-06-01 | Under Construction | 210000 | 100000
Sempra Energy | Mesquite | 1300 | 2003-01-01 | Under Construction | 220490 | ??
Panda Energy | Gila Bend | 2300 | 2003-03-01 | Under Construction | 390098 | 100000
PG&E | Harquahala Valley | 1083 | 2003-06-01 | Under Construction | 178825 | ??
Dynegy, Xcel, SRP | Kyrene | 265 | 2003-06-01 | Advanced Devlpmt | 45315 | 20000
Pinnacle West | West Phoenix | 500 | 2003-06-01 | Under Construction | 86352 | 50000
PPL | Sundance | 600 | 2002-06-01 | Early Development | 90000
Energy Dev Group | Gallup | 1200 | 2004-07-01 | Early Development | 216000 | 216000
|  | 10044 |  |  | 1777678 | 566000