## Ercot capacity
ERCOT's FORCASTED CAPACITY
|  | Current Generation | 57927 | MW
2000 | Forecasted | Capacity | 62011 | MW
2001 | Forecasted | Capacity | 74941.9 | MW
2002 | Forecasted | Capacity | 84993.9 | MW
2003 | Forecasted | Capacity | 90943.9 | MW
2004 | Forecasted | Capacity | 91728.9 | MW
2005 | Forecasted | Capacity | 92528.9 | MW
|  | Gas |  | Wind
2000 | New Generation | 4084 | MW | 0 | MW
2001 | New Generation | 12930.9 | MW | 77 | MW
2002 | New Generation | 10052 | MW | 125 | MW
2003 | New Generation | 5950 | MW | 0 | MW
2004 | New Generation | 785 | MW | 0 | MW
2005 | New Generation | 800 | MW | 0 | MW

## Texas Various
Breakdown | [5 empty] | 97
Coal | Nat Gas | Petro | Hydro | Nuke | Other | Coal | Petroleum | Gas | Nuclear | Hydro | Renewable | Total
41.1% | 45.41% | 0.54% | 0.71% | 11.09% | 1.15% | 135696 | 188 | 102164 | 37358 | 1785 | 0 | 277191
23807.997 | 26304.6507 | 312.8058 | 411.2817 | 6424.1043 | 666.1605
98 - Utilities
[6 empty] | Coal | Petroleum | Gas | Nuclear | Hydro | Renewable | Total
[6 empty] | 132627 | 137 | 120201 | 38685 | 1419 | 0 | 293069
Million Kwh
TEXAS and not ERCOT only | [9 empty] | MWh - Utilities |  | 293068377
[10 empty] | MWh - Nonutilities |  | 61769134
Annual Growth
Plant Type | 1988 | 1993 | 1998 | Rate
Total Utility | 59207 | 63868 | 65208 | 1.1%
Coal | 18432 | 19335 | 19731 | 0.8% | 26.46%
Petroleum | 32 | 29 | 36 | 1.3% | 0.04827%
Gas | 8354 | 7050 | 9184 | 1.1% | 24.88% | assuming non-utility is primarily gas
Dual | 30482 | 32020 | 30749 | 1.1% | 41.23%
Nuclear | 1251 | 4782 | 4800 | 16.1% | 6.436%
Hydro | 627 | 652 | 694 | 1.1% | 0.9305%
Renewable | 29 | 0 | 14 | -7.7% | 0.01877%
Total Nonutility | 7674 | 7578 | 9374 | 2.2%
Industry | 66881 | 71446 | 74582 | 1.2%

## Texas Utilities
|  |  | Unit | Nameplate |  | Fuel Type
Company | Plant | County | ID | Capacity | Type | Primary | Alternate | NG | NG(Alt.)
City of Austin | Decker Creek | Travis | GT1 | 51.6 | GT | NG | FO2 | 51.6
|  |  | GT2 | 51.6 | GT | NG | FO2 | 51.6
|  |  | GT3 | 51.6 | GT | NG | FO2 | 51.6
|  |  | GT4 | 51.6 | GT | NG | FO2 | 51.6
|  |  | PV3 | 0.3 | PV | Sun | -
|  |  | 1 | 321 | ST | NG | FO2 | 321
|  |  | 2 | 405 | ST | NG | FO2 | 405
| Holly Street | Travis | 1 | 100 | ST | NG | FO5 | 100
|  |  | 2 | 100 | ST | NG | FO5 | 100
|  |  | 3 | 165 | ST | NG | FO5 | 165
|  |  | 4 | 193 | ST | NG | FO5 | 193
1490.7
Brazos Electric Power Coop Inc. | North Texas | Parker | 1 | 16.5 | ST | NG | FO6 | 16.5
|  |  | 2 | 16.5 | ST | NG | FO6 | 16.5
|  |  | 3 | 38 | ST | NG | FO6 | 38
| RW Miller | Palo Pinto | 1 | 66 | ST | NG | FO2 | 66
|  |  | 2 | 100 | ST | NG | FO2 | 100
|  |  | 3 | 200 | ST | NG | FO2 | 200
|  |  | 4 | 118.8 | GT | NG | - | 118.8
|  |  | 5 | 118.8 | GT | NG | - | 118.8
674.6
Brazos River Authority | Morris Sheppard | Palo Pinto | 1 | 12.5 | HY | Water | -
|  |  | 2 | 12.5 | HY | Water | -
25
City of Brownfield | Brownfield | Terry | GT1 | 6.5 | GT | NG | FO2 | 6.5
|  |  | 1 | 2 | IC | NG | FO2 | 2
|  |  | 3 | 3.1 | IC | NG | FO2 | 3.1
|  |  | 4 | 2.7 | IC | NG | FO2 | 2.7
|  |  | 5 | 3.6 | IC | NG | FO2 | 3.6
|  |  | 6 | 4 | IC | NG | FO2 | 4
21.9
Brownsville Public Utilities Board | Si Ray | Cameron | 5 | 25 | ST | NG | FO2 | 25
|  |  | 6 | 22 | ST | NG | FO2 | 22
|  |  | 8 | 45 | GT | NG | FO2 | 45
|  |  | 9 | 53 | GT | NG | FO2 | 53
145
City of Bryan | Bryan | Brazos | 3 | 13 | ST | NG | FO2 | 13
|  |  | 4 | 24 | ST | NG | FO2 | 24
|  |  | 5 | 25 | ST | NG | FO2 | 25
|  |  | 6 | 54 | ST | NG | FO2 | 54
|  |  | 7 | 22 | GT | NG | FO2 | 22
| Dansby | Brazos | 1 | 105 | ST | NG | FO2 | 105
243
Central Power & Light | Barney M Davis | Nueces | 1 | 323.4 | ST | NG | FO2 | 323.4
|  |  | 2 | 323.7 | ST | NG | FO4 | 323.7
| Coleto Creek | Goliad | 1 | 570.1 | ST | BIT | -
| ES Joslin | Calhoun | 1 | 234.9 | ST | NG | FO2 | 234.9
| Eagle Pass | Maverick | 1 | 4.5 | HY | Water | -
|  |  | 2 | 4.5 | HY | Water | -
|  |  | 3 | 4.5 | HY | Water | -
| J L Bates | Hidalgo | 1 | 66 | ST | NG | FO2 | 66
|  |  | 2 | 100 | ST | NG | FO2 | 100
| La Palma | Cameron | 4 | 20 | ST | NG | - | 20
|  |  | 5 | 20 | ST | NG | - | 20
|  |  | 6 | 153.2 | ST | NG | FO2 | 153.2
|  |  | 7 | 49.1 | GT | NG | - | 49.1
| Laredo | Webb | 1 | 30 | ST | NG | FO2 | 30
|  |  | 2 | 33 | ST | NG | FO2 | 33
|  |  | 3 | 105.3 | ST | NG | FO2 | 105.3
| Lon C. Hill | Nueces | 1 | 60 | ST | NG | - | 60
|  |  | 2 | 66 | ST | NG | - | 66
|  |  | 3 | 150 | ST | NG | FO2 | 150
|  |  | 4 | 234.9 | ST | NG | FO2 | 234.9
| Nueces Bay | Nueces | 5 | 30 | ST | NG | - | 30
|  |  | 6 | 160 | ST | NG | FO2 | 160
|  |  | 7 | 323.7 | ST | NG | FO2 | 323.7
| Victoria | Victoria | 4 | 66 | ST | NG | FO2 | 66
|  |  | 5 | 160 | ST | NG | FO2 | 160
|  |  | 6 | 234.9 | ST | NG | FO2 | 234.9
3527.7
City of Coleman | Coleman | Coleman | IC1 | 1.5 | IC | NG | FO2 | 1.5
|  |  | IC2 | 1 | IC | NG | FO2 | 1
|  |  | IC3 | 1.3 | IC | NG | FO2 | 1.3
|  |  | IC4 | 1.5 | IC | NG | FO2 | 1.5
|  |  | IC5 | 2.2 | IC | NG | FO2 | 2.2
|  |  | IC6 | 2.5 | IC | NG | FO2 | 2.5
|  |  | IC7 | 1.5 | IC | NG | FO2 | 1.5
|  |  | IC8 | 1.4 | IC | NG | FO2 | 1.4
|  |  | IC9 | 4 | IC | NG | FO2 | 4
16.9
City of Denton | Lewsiville | Denton | 1 | 2.8 | HY | Water | -
| Ray Roberts | Denton | 1 | 1.2 | HY | Water | -
| Spencer | Denton | 1 | 12.7 | ST | NG | FO2 | 12.7
|  |  | 2 | 12.7 | ST | NG | FO2 | 12.7
|  |  | 3 | 22 | ST | NG | FO2 | 22
|  |  | 4 | 61.2 | ST | NG | FO2 | 61.2
|  |  | 5 | 65.5 | ST | NG | FO2 | 65.5
178.1
El Paso Electric Co | Copper | El Paso | 1 | 80.6 | GT | NG | FO2 | 80.6
| Newman | El Paso | CT1 | 85 | GT | NG | FO2 | 85
|  |  | CT2 | 85 | CT | NG | FO2 | 85
|  |  | 1 | 81.6 | CT | NG | FO2 | 81.6
|  |  | 2 | 81.6 | ST | NG | FO2 | 81.6
|  |  | 3 | 115.2 | ST | NG | FO2 | 115.2
|  |  | 4 | 120 | CW | WH | -
649
City of Electra | Electra | Wichita | 3 | 0.2 | IC | NG | FO2 | 0.2
|  |  | 4 | 0.2 | IC | NG | FO2 | 0.2
|  |  | 5 | 0.5 | IC | NG | FO2 | 0.5
|  |  | 6 | 0.5 | IC | NG | FO2 | 0.5
|  |  | 7 | 1.5 | IC | NG | - | 1.5
|  |  | 8 | 1.3 | IC | NG | FO2 | 1.3
4.2
Entergy Gulf States | Lewis Creek | Montgomery | 1 | 271.4 | ST | NG | FO2 | 271.4
|  |  | 2 | 271.4 | ST | NG | FO2 | 271.4
| Neches | Jefferson | 4 | 44 | ST | NG | FO2 | 44
|  |  | 5 | 69.1 | ST | NG | FO2 | 69.1
|  |  | 6 | 69.1 | ST | NG | FO2 | 69.1
|  |  | 8 | 113.6 | ST | NG | FO2 | 113.6
| Sabine | Orange | 1 | 239.4 | ST | NG | - | 239.4
|  |  | 2 | 239.4 | ST | NG | FO2 | 239.4
|  |  | 3 | 473.4 | ST | NG | FO2 | 473.4
|  |  | 4 | 591.6 | ST | NG | - | 591.6
|  |  | 5 | 507.4 | ST | NG | FO6 | 507.4
| Toledo Bend | Newton | 1 | 40.5 | HY | Water | -
|  |  | 2 | 40.5 | HY | Water | -
2970.8
City of Floydada | Floydada | Floyd | 2 | 1.3 | IC | NG | - | 1.3
|  |  | 3 | 1.3 | IC | NG | FO2 | 1.3
|  |  | 4 | 1.3 | IC | NG | FO2 | 1.3
|  |  | 5 | 1.3 | IC | NG | - | 1.3
|  |  | 6 | 2 | IC | NG | - | 2
7.2
City of Garland | C E Newman | Dallas | 1 | 7.5 | ST | NG | - | 7.5
|  |  | 2 | 7.5 | ST | NG | - | 7.5
|  |  | 3 | 18.8 | ST | NG | FO5 | 18.8
|  |  | 4 | 18.8 | ST | NG | FO5 | 18.8
|  |  | 5 | 44 | ST | NG | FO5 | 44
| Ray Olinger | Collin | 1 | 75 | ST | NG | FO2 | 75
|  |  | 2 | 113.4 | ST | NG | FO2 | 113.4
|  |  | 3 | 156.6 | ST | NG | FO2 | 156.6
City of Gonzalez | Gonzales Hydro Plant | Gonzales | 1 | 0.5 | HY | Water | -
|  |  | 2 | 0.5 | HY | Water | -
|  |  | 3 | 0.5 | HY | Water | -
1.5
Greenville Electric Utility Sys | Powerlane Plant | Hunt | ST1 | 16.5 | ST | NG | FO2 | 16.5
|  |  | ST2 | 26.5 | ST | NG | FO2 | 26.5
|  |  | ST3 | 41.5 | ST | NG | FO2 | 41.5
84.5
Guadalupe Blanco River Auth | Abbott TP 3 | Guadalupe | 1 | 1.4 | HY | Water | -
|  |  | 2 | 1.4 | HY | Water | -
| Canyon | Comal | 1 | 3 | HY | Water | -
|  |  | 2 | 3 | HY | Water | -
| Dunlap TP 1 | Guadalupe | 1 | 1.8 | HY | Water | -
|  |  | 2 | 1.8 | HY | Water | -
| H 4 | Gonzales | 1 | 2.4 | HY | Water | -
| H 5 | Gonzales | 1 | 2.4 | HY | Water | -
| Nolte | Guadalupe | 1 | 1.2 | HY | Water | -
|  |  | 2 | 1.2 | HY | Water | -
| TP 4 | Guadalupe | 1 | 2.4 | HY | Water | -
22
Houston Lighting & Power Co | Cedar Bayou | Chambers | 1 | 765 | ST | NG | FO4 | 765
|  |  | 2 | 765 | ST | NG | FO4 | 765
|  |  | 3 | 765 | ST | NG | FO4 | 765
| Deepwater | Harris | 7 | 187.9 | ST | NG | - | 187.9
| Greens Bayou | Harris | 5 | 446.4 | ST | NG | FO2 | 446.4
|  |  | 73 | 72 | GT | NG | FO2 | 72
|  |  | 74 | 72 | GT | NG | FO2 | 72
|  |  | 81 | 72 | GT | NG | FO2 | 72
|  |  | 82 | 72 | GT | NG | FO2 | 72
|  |  | 83 | 72 | GT | NG | FO2 | 72
|  |  | 84 | 72 | GT | NG | FO2 | 72
| Hiram Clarke | Harris | GT1 | 16 | GT | NG | - | 16
|  |  | GT2 | 16 | GT | NG | - | 16
|  |  | GT3 | 16 | GT | NG | - | 16
|  |  | GT4 | 16 | GT | NG | - | 16
|  |  | 5 | 16 | GT | NG | - | 16
|  |  | 6 | 16 | GT | NG | - | 16
| Limestone | Limestone | 1 | 813.4 | ST | Lig | -
|  |  | 2 | 813.4 | ST | Lig | -
| PH Robinson | Galveston | 1 | 484.5 | ST | NG | - | 484.5
|  |  | 2 | 484.5 | ST | NG | - | 484.5
|  |  | 3 | 580.5 | ST | NG | - | 580.5
|  |  | 4 | 765 | ST | NG | FO4 | 765
| Sam Bertron | Harris | GT1 | 32.6 | GT | NG | - | 32.6
|  |  | GT2 | 16.3 | GT | NG | - | 16.3
|  |  | ST1 | 187.9 | ST | NG | FO4 | 187.9
|  |  | ST2 | 187.9 | ST | NG | FO4 | 187.9
|  |  | 3 | 225.3 | ST | NG | FO4 | 225.3
|  |  | 4 | 225.3 | ST | NG | FO4 | 225.3
| San Jacinto SES | Harris | SJS1 | 88.2 | GT | NG | - | 88.2
|  |  | SJS2 | 88.2 | GT | NG | - | 88.2
| South Texas | Matagorda | 1 | 1354.3 | NP | Uranium | -
|  |  | 2 | 1354.3 | NP | Uranium | -
| TH Wharton | Harris | G1 | 16.3 | GT | NG | - | 16.3
|  |  | 2 | 247.8 | ST | NG | FO2 | 247.8
|  |  | 3 | 113.1 | CW | WH | -
|  |  | 4 | 113.1 | CW | WH | -
|  |  | 31 | 51.3 | CT | NG | - | 51.3
|  |  | 32 | 51.3 | CT | NG | - | 51.3
|  |  | 33 | 51.3 | CT | NG | - | 51.3
|  |  | 34 | 51.3 | CT | NG | - | 51.3
|  |  | 41 | 51.3 | CT | NG | - | 51.3
|  |  | 42 | 51.3 | CT | NG | - | 51.3
|  |  | 43 | 56.7 | CT | NG | - | 56.7
|  |  | 44 | 56.7 | CT | NG | - | 56.7
|  |  | 51 | 85 | GT | NG | FO2 | 85
|  |  | 52 | 85 | GT | NG | FO2 | 85
|  |  | 53 | 85 | GT | NG | FO2 | 85
|  |  | 54 | 85 | GT | NG | FO2 | 85
|  |  | 55 | 85 | GT | NG | FO2 | 85
|  |  | 56 | 85 | GT | NG | FO2 | 85
| W A Parish | Fort Bend | GT1 | 16.3 | GT | NG | - | 16.3
|  |  | 1 | 187.9 | ST | NG | FO2 | 187.9
|  |  | 2 | 187.9 | ST | NG | FO2 | 187.9
|  |  | 3 | 299.2 | ST | NG | FO2 | 299.2
|  |  | 4 | 580.5 | ST | NG | - | 580.5
|  |  | 5 | 734.1 | ST | SUB | NG |  | 734.1
|  |  | 6 | 734.1 | ST | SUB | NG |  | 734.1
|  |  | 7 | 614.6 | ST | SUB | -
|  |  | 8 | 614.6 | ST | SUB | -
| Webster | Harris | GT1 | 16.3 | GT | NG | - | 16.3
|  |  | 3 | 410 | ST | NG | - | 410
16975.9
International Bound and Water Comm | Amistad Dam & Power | Val Verde | 1 | 33 | HY | Water | -
|  |  | 2 | 33 | HY | Water | -
| Falcon Dam & Power | Starr | 1 | 10.5 | HY | Water | -
|  |  | 2 | 10.5 | HY | Water | -
|  |  | 3 | 10.5 | HY | Water | -
97.5
Lower Colorado River Authority | Austin | Travis | 1 | 8.1 | HY | Water | -
|  |  | 2 | 8.1 | HY | Water | -
| Buchanan | Burnet | 1 | 11.3 | HY | Water | -
|  |  | 2 | 11.3 | HY | Water | -
|  |  | 3 | 11.3 | HY | Water | -
| Fayette Power Project | Fayette | 1 | 615 | ST | Sub | Lig
|  |  | 2 | 615 | ST | Sub | Lig
|  |  | 3 | 460 | ST | Sub | Lig
| Granite Shoals | Burnet | 1 | 22.5 | HY | Water | -
|  |  | 2 | 22.5 | HY | Water | -
| Inks | Burnet | 1 | 15 | HY | Water | -
| Marble Falls | Burnet | 1 | 15 | HY | Water | -
|  |  | 2 | 15 | HY | Water | -
| Marshall Ford | Travis | 1 | 34 | HY | Water | -
|  |  | 2 | 22.5 | HY | Water | -
|  |  | 3 | 34 | HY | Water | -
| Sim Gideon | Bastrop | 1 | 144 | ST | NG | FO2 | 144
|  |  | 2 | 144 | ST | NG | FO2 | 144
|  |  | 3 | 351 | ST | NG | FO2 | 351
| Thomas C Ferguson | Llano | 1 | 446 | ST | NG | FO2 | 446
3005.6
City of Lubbock | Brandon Station | Lubbock | 1 | 21 | GT | NG | - | 21
| Holly Ave | Lubbock | GT1 | 12.5 | GT | NG | - | 12.5
|  |  | GT2 | 18.5 | GT | NG | - | 18.5
|  |  | GT3 | 22 | GT | NG | - | 22
|  |  | 1 | 44 | ST | NG | FO2 | 44
|  |  | 2 | 53.7 | ST | NG | FO2 | 53.7
| Plant 2 | Lubbock | 6A | 22 | ST | NG | - | 22
|  |  | 4 | 11.5 | ST | NG | - | 11.5
|  |  | 5 | 11.5 | ST | NG | - | 11.5
|  |  | 7 | 22 | ST | NG | - | 22
238.7
Medina Electric Coop | Pearsall | Frio | 1 | 22 | ST | NG | FO2 | 22
|  |  | 2 | 22 | ST | NG | FO2 | 22
|  |  | 3 | 22 | ST | NG | FO2 | 22
66
City of Robstown | Robstown | Nueces | 3 | 2.5 | IC | NG | FO2 | 2.5
|  |  | 4 | 2.4 | IC | NG | FO2 | 2.4
|  |  | 5 | 2.4 | IC | NG | FO2 | 2.4
|  |  | 7 | 1 | IC | NG | FO2 | 1
|  |  | 8 | 1 | IC | NG | FO2 | 1
|  |  | 9 | 2.6 | IC | NG | FO2 | 2.6
|  |  | 10 | 4.2 | IC | NG | FO2 | 4.2
|  |  | 11 | 5 | IC | NG | FO2 | 5
21.1
San Antonio Public Service | J K Spruce | Bexar | 1 | 546 | ST | SUB | -
| J T Deely | Bexar | 1 | 446 | ST | SUB | -
|  |  | 2 | 446 | ST | SUB | -
| Leon Creek | Bexar | 3 | 75 | ST | NG | - | 75
|  |  | 4 | 114 | ST | NG | - | 114
| Mission Road | Bexar | 3 | 114 | ST | NG | - | 114
| O W Summers | Bexar | 1 | 446 | ST | NG | FO2 | 446
|  |  | 2 | 446 | ST | NG | FO2 | 446
| V H Braunig | Bexar | 1 | 225 | ST | NG | FO2 | 225
|  |  | 2 | 252 | ST | NG | FO2 | 252
|  |  | 3 | 417 | ST | NG | FO2 | 417
| W B Tuttle | Bexar | 1 | 75 | ST | NG | - | 75
|  |  | 2 | 114 | ST | NG | - | 114
|  |  | 3 | 114 | ST | NG | - | 114
|  |  | 4 | 192 | ST | NG | - | 192
4022
San Miguel Electric Coop | San Miguel | Atascosa | 1 | 410 | ST | LIG | -
City of Seguin | Seguin | Guadalupe | HY1 | 0.3 | HY | Water | -
|  |  | I-1 | 0.3 | IC | FO2 | -
0.6
South Texas Electric Coop | Sam Rayburn | Victoria | 1 | 11.3 | GT | NG | FO4 | 11.3
|  |  | 2 | 11.3 | GT | NG | FO4 | 11.3
|  |  | 3 | 22 | ST | NG | FO4 | 22
|  |  | 4 | 1.6 | IC | FO2 | -
|  |  | 5 | 1.6 | IC | FO2 | -
47.8
Southwestern Electric Power Co. | Knox Lee | Gregg | 2 | 30 | ST | NG | - | 30
|  |  | 3 | 30 | ST | NG | - | 30
|  |  | 4 | 75 | ST | NG | - | 75
|  |  | 5 | 323.7 | ST | NG | FO6 | 323.7
| Lone Star | Morris | 1 | 40 | ST | NG | FO2 | 40
| Pirkey | Harrison | 1 | 580.1 | ST | LIG | -
| Welsh | Titus | 1 | 512.3 | ST | Sub | -
|  |  | 2 | 512.3 | ST | Sub | -
|  |  | 3 | 512.3 | ST | Sub | -
| Wilkes | Marion | 1 | 160 | ST | NG | FO4 | 160
|  |  | 2 | 323.7 | ST | NG | - | 323.7
|  |  | 3 | 323.7 | ST | NG | - | 323.7
3423.1
Southwestern Public Service Co. | Celanese | Gray | 1 | 13 | 19/0T | 19/OT | -
|  |  | 2 | 37 | ST | Sub | -
| Harrington | Potter | 1 | 360 | ST | Sub | NG |  | 360
|  |  | 2 | 360 | ST | Sub | NG |  | 360
|  |  | 3 | 360 | ST | Sub | NG |  | 360
| Jones | Lubbock | 1 | 248 | ST | NG | FO2 | 248
|  |  | 2 | 248 | ST | NG | FO2 | 248
| Moore County | Moore | 3 | 49 | GT | NG | - | 49
| Nichols | Potter | 1 | 114 | ST | NG | - | 114
|  |  | 2 | 114 | ST | NG | - | 114
|  |  | 3 | 248 | ST | NG | - | 248
| Plant X | Lamb | 1 | 48 | ST | NG | FO2 | 48
|  |  | 2 | 98 | ST | NG | FO2 | 98
|  |  | 3 | 98 | ST | NG | FO2 | 98
|  |  | 4 | 190.4 | ST | NG | FO2 | 190.4
| Riverview | Hutchison | 6 | 25 | GT | NG | - | 25
| Tolk | Loamb | 1 | 568 | ST | Sub | NG |  | 568
|  |  | 2 | 568 | ST | Sub | NG |  | 568
3746.4
Texas Municipal Power Agency | Gibbons Creek | Grimes | 1 | 480.2 | ST | Sub | NG |  | 480.2
Texas Utilities Electric Co | Big Brown | Freestone | 1 | 593.4 | ST | LIG | -
|  |  | 2 | 593.4 | ST | LIG | -
| Collin | Collin | 1 | 156.3 | ST | NG | FO5 | 156.3
| Comanche Peak | Somervell | 1 | 1215 | NP | Uranium | -
|  |  | 2 | 1215 | NP | Uranium | -
| Dallas | Dallas | 3 | 78.8 | ST | NG | - | 78.8
|  |  | 9 | 75 | ST | NG | - | 75
| Decordova | Hood | CT1 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT1 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT1 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT1 | 89.5 | GT | NG | FO2 | 89.5
|  |  | 1 | 799.2 | ST | NG | FO2 | 799.2
| Eagle Mountain | Tarrant | 1 | 122.5 | ST | NG | FO5 | 122.5
|  |  | 2 | 187.5 | ST | NG | FO5 | 187.5
|  |  | 3 | 396.2 | ST | NG | - | 396.2
| Graham | Young | 1 | 247.8 | ST | NG | FO5 | 247.8
|  |  | 2 | 387 | ST | NG | FO5 | 387
| Handley | Tarrant | 1 | 43.8 | ST | NG | - | 43.8
|  |  | 2 | 74.8 | ST | NG | - | 74.8
|  |  | 3 | 404.8 | ST | NG | FO2 | 404.8
|  |  | 4 | 455 | ST | NG | FO2 | 455
|  |  | 5 | 455 | ST | NG | FO2 | 455
| Lake Creek | McLennan | D1 | 2 | IC | FO2 | -
|  |  | D2 | 2 | IC | FO2 | -
|  |  | D3 | 2 | IC | FO2 | -
|  |  | ST1 | 79.6 | ST | NG | FO2 | 79.6
|  |  | ST1 | 236 | ST | NG | FO2 | 236
| Lake Hubbard | Dallas | 1 | 396.5 | ST | NG | FO2 | 396.5
|  |  | 2 | 531 | ST | NG | FO2 | 531
| Matin Lake | Rusk | 1 | 793.3 | ST | LIG | -
|  |  | 2 | 793.3 | ST | LIG | -
|  |  | 3 | 793.3 | ST | LIG | -
| Monticello | Titus | 1 | 593.4 | ST | LIG | SUB
|  |  | 2 | 593.4 | ST | LIG | SUB
|  |  | 3 | 793.3 | ST | LIG | SUB
| Morgan Creek | Mitchell | CT1 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT2 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT3 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT4 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT5 | 89.5 | GT | NG | FO2 | 89.5
|  |  | CT6 | 89.5 | GT | NG | FO2 | 89.5
|  |  | 2 | 18.4 | ST | NG | FO5 | 18.4
|  |  | 3 | 46 | ST | NG | FO5 | 46
|  |  | 4 | 75 | ST | NG | FO5 | 75
|  |  | 5 | 170.5 | ST | NG | FO5 | 170.5
|  |  | 6 | 517.5 | ST | NG | FO5 | 517.5
| Mountain Creek | Dallas | 2 | 31.2 | ST | NG | FO5 | 31.2
|  |  | 3 | 75 | ST | NG | FO5 | 75
|  |  | 6 | 135.8 | ST | NG | FO5 | 135.8
|  |  | 7 | 136 | ST | NG | FO5 | 136
|  |  | 8 | 580.5 | ST | NG | FO5 | 580.5
| North Lake | Dallas | 1 | 176.8 | ST | NG | FO2 | 176.8
|  |  | 2 | 170.5 | ST | NG | FO2 | 170.5
|  |  | 3 | 361.4 | ST | NG | FO2 | 361.4
| North Main | Tarrant | 4 | 81.3 | ST | NG | FO5 | 81.3
| Parkdale | Dallas | 1 | 79.6 | ST | NG | FO5 | 79.6
|  |  | 2 | 125 | ST | NG | FO5 | 125
|  |  | 3 | 136 | ST | NG | FO5 | 136
| Permian Basin | Ward | CT1 | 89.5 | GT | NG | FO5 | 89.5
|  |  | CT2 | 89.5 | GT | NG | FO5 | 89.5
|  |  | CT3 | 89.5 | GT | NG | FO5 | 89.5
|  |  | CT4 | 89.5 | GT | NG | FO5 | 89.5
|  |  | CT5 | 89.5 | GT | NG | FO5 | 89.5
|  |  | 5 | 115 | ST | NG | FO5 | 115
|  |  | 6 | 535.5 | ST | NG | FO5 | 535.5
| River Crest | Red River | 1 | 112.5 | ST | NG | FO5 | 112.5
| Sandow | Milam | 4 | 590.6 | ST | LIG | -
| Stryker Creek | Cherokee | D1 | 2 | IC | FO2 | -
|  |  | D2 | 2 | IC | FO2 | -
|  |  | D3 | 2 | IC | FO2 | -
|  |  | D4 | 2 | IC | FO2 | -
|  |  | D5 | 2 | IC | FO2 | -
|  |  | ST1 | 176.8 | ST | NG | FO5 | 176.8
|  |  | ST2 | 526.7 | ST | NG | FO5 | 526.7
| Tradinghouse | Mclennan | 1 | 580.5 | ST | NG | FO2 | 580.5
|  |  | 2 | 799.2 | ST | NG | FO2 | 799.2
| Trinidad | Henderson | D1 | 2 | IC | FO2 | -
|  |  | D2 | 2 | IC | FO2 | -
|  |  | 6 | 239.4 | ST | NG | FO5 | 239.4
| Valley | Fannin | 1 | 199 | ST | NG | FO2 | 199
|  |  | 2 | 580.5 | ST | NG | FO2 | 580.5
|  |  | 3 | 396 | ST | NG | - | 396
22234.3
Texas-New Mexico Power Co. | TNP ONE | Robertson | 1 | 174.6 | AB | LIG | NG |  | 174.6
|  |  | 2 | 174.6 | AB | LIG | NG |  | 174.6
349.2
City of Tulia | Tulia | Swisher | 2 | 0.4 | IC | NG | FO2 | 0.4
|  |  | 5 | 1 | IC | NG | FO2 | 1
|  |  | 6 | 1.1 | IC | NG | FO2 | 1.1
|  |  | 7 | 1.1 | IC | NG | FO2 | 1.1
|  |  | 8 | 1.8 | IC | NG | FO2 | 1.8
|  |  | 9 | 1.8 | IC | NG | FO2 | 1.8
|  |  | 10 | 1.7 | IC | NG | FO2 | 1.7
|  |  | 11 | 4.8 | IC | NG | FO2 | 4.8
|  |  | 12 | 3 | IC | NG | - | 3
16.7
USCE-Fort Worth District | Robert D Willis | Jasper | 1 | 3.6 | HY | Water | -
|  |  | 2 | 3.6 | HY | Water | -
| Sam Rayburn | Jasper | 1 | 26 | HY | Water | -
|  |  | 2 | 26 | HY | Water | -
| Whitney | Bosque | 1 | 15 | HY | Water | -
|  |  | 2 | 15 | HY | Water | -
89.2
USCE-Tulsa District | Denison | Grayson | 1 | 35 | HY | Water | -
|  |  | 2 | 35 | HY | Water | -
70
Weatherford Mun Utility System | Weatherford | Parker | 1 | 0.3 | IC | FO2 | -
|  |  | 2 | 0.3 | IC | FO2 | -
|  |  | 3 | 0.3 | IC | FO2 | -
|  |  | 4 | 0.8 | IC | FO2 | -
|  |  | 6 | 1.4 | IC | FO2 | NG |  | 1.4
|  |  | 7 | 1.4 | IC | NG | FO2 | 1.4
|  |  | 8 | 1.4 | IC | NG | FO2 | 1.4
5.9
West Texas Utilities Co | Abilene | Taylor | 4 | 15 | ST | NG | FO4 | 15
| Ft. Phantom | Jones | 1 | 146.5 | ST | NG | FO4 | 146.5
|  |  | 2 | 190.9 | ST | NG | FO4 | 190.9
| Ft. Stockton | Pecos | 2 | 5 | GT | NG | - | 5
| Ft. Davis | Jeff Davis | 1 | 1 | PV | Sun | -
| Lake Pauline | Hardeman | 1 | 20 | ST | NG | FO4 | 20
|  |  | 2 | 20 | ST | NG | FO4 | 20
| Oak Creek | Coke | 1 | 75 | ST | NG | NG | 75 | 75
| Oklaunion | Wilbarger | 1 | 663.9 | ST | Sub | -
| Paint Creek | Haskell | 1 | 30 | ST | NG | FO4 | 30
|  |  | 2 | 33 | ST | NG | FO4 | 33
|  |  | 3 | 50 | ST | NG | FO4 | 50
|  |  | 4 | 105.1 | ST | NG | FO4 | 105.1
| Presidio | Presidio | 5 | 1.1 | IC | FO2 | -
|  |  | 6 | 1.1 | IC | FO2 | -
| Rio Pecos | Crockett | 4 | 5 | CT | NG | - | 5
|  |  | 5 | 33 | CA | NG | FO2 | 33
|  |  | 6 | 89 | ST | NG | FO2 | 89
| San Angelo | Tom Green | 1 | 25 | CT | NG | - | 25
|  |  | 2 | 85 | CA | NG | FO2 | 85
| Vernon | Wilbarger | 1 | 2.5 | IC | FO2 | -
|  |  | 2 | 1.4 | IC | FO2 | -
|  |  | 3 | 2 | IC | FO2 | -
|  |  | 4 | 4.1 | IC | FO2 | -
|  |  | 7 | 1.4 | IC | FO2 | -
1606
City of Whitesboro | Whitesboro | Grayson | 1 | 1.3 | IC | NG | FO2 | 1.3
|  |  | 2 | 0.9 | IC | NG | FO2 | 0.9
|  |  | 3 | 0.5 | IC | NG | FO2 | 0.5
|  |  | 4 | 1.3 | IC | NG | FO2 | 1.3
4
|  |  |  | 67413.9 |  |  |  | 40807 | 4590
Legend: | FO = Fuel Oil |  | AB = Atmospheric Fluidized Bed Combustion
| NG = Natural Gas |  | CA = Combined Cycle Steam Turbine
| BIT = Bituminous Coal |  | GT = Gas Turbine
| WH = Waste Heat |  | PV = Photovoltaic
| LIG = Lignite |  | ST = Steam Turbine - Boiler
| SUB = Subbituminous Coal |  | HY = Hydraulic Turbine - Conventional
| OT = Other |  | IC = Internal Combustion (diesel)
| SUN = Sun |  | CW = Cycle steam Turbine w/ only Waste Heat
NP = Steam Turbine - Nuclear Reactor

## Heat Rate
[8 empty] | NG |  |  | Online MW
[5 empty] | Total Gas Demand/Day |  |  | 13743214.2732 | 24 hr/d |  | 54073.05 | 505.74 | 1 | 13053 | 4800 | 4
Operator Name | Plant Name | Nerc Region | Utility District | Fuel Type | Plant Type | Nameplate Capacity | Heat Rate | Gas Usage | Utility/ Non-Utility | Online Date | NG | Hydro | Sun | LIG | UR | Wind | 2001-01-01 | 2002-01-01 | 2003-01-01 | 2004-01-01 | 2005-01-01
Austin Energy | Holly Street | ERCOT | Austin Energy | NG | Steam | 628 | 10605 | 159838.56 | Utility |  | 628 | 0 | 0 | 0 | 0 | 0
Austin Energy | Decker Creek | ERCOT | Austin Energy | NG | CT | 988 | 10656 | 252675.072 | Utility |  | 988 | 0 | 0 | 0 | 0 | 0
Coastal/FP&L | Bastrop Clean Air Project | ERCOT | Austin Energy | NG | CC | 550 | 7250 | 0 | Non-Utility | 2001-12-01 | 0 | 0 | 0 | 0 | 0 | 0
Central Power & Light | Eagle Pass | ERCOT | Central & South West Services | Hydro |  | 16 | 0 | 0 | Utility |  | 0 | 16 | 0 | 0 | 0 | 0
Central Power & Light | Barney M. Davis | ERCOT | Central & South West Services | NG | Steam | 647 | 9691 | 150481.848 | Utility |  | 647 | 0 | 0 | 0 | 0 | 0
Central Power & Light | Coleto Creek | ERCOT | Central & South West Services | NG | Steam | 600 | 9861 | 141998.4 | Utility |  | 600 | 0 | 0 | 0 | 0 | 0
Central Power & Light | Nueces Bay | ERCOT | Central & South West Services | NG | Steam | 514 | 9962 | 122891.232 | Utility |  | 514 | 0 | 0 | 0 | 0 | 0
Central Power & Light | E.S. Joslin | ERCOT | Central & South West Services | NG | Steam | 261 | 10346 | 64807.344 | Utility |  | 261 | 0 | 0 | 0 | 0 | 0
Central Power & Light | Lon C Hill | ERCOT | Central & South West Services | NG | Steam | 511 | 10649 | 130599.336 | Utility |  | 511 | 0 | 0 | 0 | 0 | 0
Central Power & Light | Victoria | ERCOT | Central & South West Services | NG | Steam | 461 | 10702 | 118406.928 | Utility |  | 461 | 0 | 0 | 0 | 0 | 0
Central Power & Light | JL Bates | ERCOT | Central & South West Services | NG | Steam | 166 | 10932 | 43553.088 | Utility |  | 166 | 0 | 0 | 0 | 0 | 0
Central Power & Light | Laredo | ERCOT | Central & South West Services | NG | CC | 168 | 11122 | 44843.904 | Utility |  | 168 | 0 | 0 | 0 | 0 | 0
Central Power & Light | La Palma | ERCOT | Central & South West Services | NG | CoGen | 257 | 11638 | 71783.184 | Utility |  | 257 | 0 | 0 | 0 | 0 | 0
Coleman Municipal Power | Coleman | ERCOT | Central & South West Services | NG | CT | 17 | 10465 | 4269.72 | Utility |  | 17 | 0 | 0 | 0 | 0 | 0
Conoco Global Power | Ingleside | ERCOT | Central & South West Services | NG | CT | 440 | 1000 | 10560 | Non-Utility |  | 440 | 0 | 0 | 0 | 0 | 0
Electra Electric Department | Electra | ERCOT | Central & South West Services | NG | CT | 4 | 15932 | 1529.472 | Utility |  | 4 | 0 | 0 | 0 | 0 | 0
Encogen | Encogen One | ERCOT | Central & South West Services | NG | CC | 265.97 | 9679 | 61783.7671 | Non-Utility |  | 265.97 | 0 | 0 | 0 | 0 | 0
Robstown Utility System | Robstown | ERCOT | Central & South West Services | NG | CT | 21 | 9722 | 4899.888 | Utility |  | 21 | 0 | 0 | 0 | 0 | 0
Texas Independent Energy | Archer Power partners | ERCOT | Central & South West Services | NG | CC | 1000 | 7250 | 0 | Non-Utility | 2002-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Delhi Energy Services | ERCOT | Central & South West Services | NG | CT | 60 | 1000 | 1440 | Non-Utility |  | 60 | 0 | 0 | 0 | 0 | 0
Union Carbide | Seadrift | ERCOT | Central & South West Services | NG | CC | 118 | 8203 | 23230.896 | Non-Utility |  | 118 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | San Angelo | ERCOT | Central & South West Services | NG | CC | 110 | 10016 | 26442.24 | Utility |  | 110 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Oak Creek | ERCOT | Central & South West Services | NG | Steam | 75 | 10015 | 18027 | Utility |  | 75 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Rio Pecos | ERCOT | Central & South West Services | NG | CC | 127 | 10489 | 31970.472 | Utility |  | 127 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Paint Creek | ERCOT | Central & South West Services | NG | Steam | 218 | 10952 | 57300.864 | Utility |  | 218 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Ft. Stockton | ERCOT | Central & South West Services | NG | CT | 5 | 21818 | 2618.16 | Utility |  | 5 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Presidio | ERCOT | Central & South West Services | NG | CT | 2 | 25000 | 1200 | Utility |  | 2 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Oklaunion | ERCOT | Central & South West Services | LIG | Steam | 664 | 10072 | 0 | Utility |  | 0 | 0 | 0 | 664 | 0 | 0
West Texas Utilities | Ft. Davis | ERCOT | Central & South West Services | Sun |  | 1 | 0 | 0 | Utility |  | 0 | 0 | 1 | 0 | 0 | 0
City of Gonzales | Gonzales | ERCOT | City Public Services | Hydro |  | 1.5 | 0 | 0 | Utility |  | 0 | 1.5 | 0 | 0 | 0 | 0
Constellation/Pace | Rio Nogales | ERCOT | City Public Services | NG | CC | 750 | 7250 | 0 | Non-Utility | 2002-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | Abbott TP 3 | ERCOT | City Public Services | Hydro |  | 2.8 | 0 | 0 | Utility |  | 0 | 2.8 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | Canyon | ERCOT | City Public Services | Hydro |  | 6 | 0 | 0 | Utility |  | 0 | 6 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | Dunlap TP 1 | ERCOT | City Public Services | Hydro |  | 3.6 | 0 | 0 | Utility |  | 0 | 3.6 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | H 4 | ERCOT | City Public Services | Hydro |  | 2.4 | 0 | 0 | Utility |  | 0 | 2.4 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | H 5 | ERCOT | City Public Services | Hydro |  | 2.4 | 0 | 0 | Utility |  | 0 | 2.4 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | Nolte | ERCOT | City Public Services | Hydro |  | 2.4 | 0 | 0 | Utility |  | 0 | 2.4 | 0 | 0 | 0 | 0
Guadalupe-Blanco River Authority | TP 4 | ERCOT | City Public Services | Hydro |  | 2.4 | 0 | 0 | Utility |  | 0 | 2.4 | 0 | 0 | 0 | 0
San Antonio Public Service | JK Spruce | ERCOT | City Public Services | LIG | Steam | 530 | 9603 | 0 | Utility |  | 0 | 0 | 0 | 530 | 0 | 0
San Antonio Public Service | JT Deely | ERCOT | City Public Services | LIG | Steam | 810 | 10189 | 0 | Utility |  | 0 | 0 | 0 | 810 | 0 | 0
San Antonio Public Service | Arthur van Rosenburg | ERCOT | City Public Services | NG | CC | 539 | 7250 | 93786 | Non-Utility |  | 539 | 0 | 0 | 0 | 0 | 0
San Antonio Public Service | VH Braunig | ERCOT | City Public Services | NG | Steam | 881 | 9957 | 210530.808 | Utility |  | 881 | 0 | 0 | 0 | 0 | 0
San Antonio Public Service | OW Sommers | ERCOT | City Public Services | NG | Steam | 992 | 10052 | 239318.016 | Utility |  | 992 | 0 | 0 | 0 | 0 | 0
San Antonio Public Service | Mission Road | ERCOT | City Public Services | NG | Steam | 100 | 10650 | 25560 | Utility |  | 100 | 0 | 0 | 0 | 0 | 0
San Antonio Public Service | WB Tuttle | ERCOT | City Public Services | NG | Steam | 561 | 10804 | 145465.056 | Utility |  | 561 | 0 | 0 | 0 | 0 | 0
San Antonio Public Service | Leon Creek | ERCOT | City Public Services | NG | Steam | 222 | 11101 | 59146.128 | Utility |  | 222 | 0 | 0 | 0 | 0 | 0
San Miguel Electric Coop | San Miguel | ERCOT | City Public Services | LIG | Steam | 860 | 11400 | 0 | Utility |  | 0 | 0 | 0 | 860 | 0 | 0
AES | AES Deepwater | ERCOT | Houston Lighting & Power | NG | Steam | 143 | 12339 | 42347.448 | Non-Utility |  | 143 | 0 | 0 | 0 | 0 | 0
Air Liquide | Bayou Cogeneration | ERCOT | Houston Lighting & Power | NG |  | 300 | 11861 | 85399.2 | Non-Utility |  | 300 | 0 | 0 | 0 | 0 | 0
American National Power | Mont Belvieu | ERCOT | Houston Lighting & Power | NG |  | 1100 | 8000 | 0 | Non-Utility | 2001-12-01 | 0 | 0 | 0 | 0 | 0 | 0
American National Power | Harris Co. Energy Facility | ERCOT | Houston Lighting & Power | NG | CC | 2200 | 7250 | 0 | Non-Utility | 2003-06-01 | 0 | 0 | 0 | 0 | 0 | 0
BASF Corp | Freeport | ERCOT | Houston Lighting & Power | NG | CoGen | 92 | 8000 | 17664 | Non-Utility |  | 92 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Pasadena Power Plant | ERCOT | Houston Lighting & Power | NG | CC | 240 | 7250 | 41760 | Non-Utility |  | 240 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Baytown Bayer Power Plant | ERCOT | Houston Lighting & Power | NG | CC | 800 | 7250 | 0 | Non-Utility | 2001-01-01 | 0 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Channel Energy Center | ERCOT | Houston Lighting & Power | NG | CC | 560 | 7250 | 0 | Non-Utility | 2001-08-01 | 0 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Pasadena Power Plant II | ERCOT | Houston Lighting & Power | NG | CoGen | 545 | 8000 | 104640 | Non-Utility |  | 545 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Clear Lake Cogeneration LTD | ERCOT | Houston Lighting & Power | NG | CT | 35 | 12304 | 10335.36 | Non-Utility |  | 35 | 0 | 0 | 0 | 0 | 0
Champion International | Sheldon | ERCOT | Houston Lighting & Power | NG | CoGen | 115.25 | 11000 | 30426 | Non-Utility |  | 115.25 | 0 | 0 | 0 | 0 | 0
CoGen Lynchburg, Inc | Lynchburg CoGen | ERCOT | Houston Lighting & Power | NG | CoGen | 425 | 11000 | 112200 | Non-Utility |  | 425 | 0 | 0 | 0 | 0 | 0
CSW Energy | Newgulf Cogen Plant | ERCOT | Houston Lighting & Power | NG | CC | 84.85 | 10000 | 20364 | Non-Utility |  | 84.85 | 0 | 0 | 0 | 0 | 0
Donahue Paper | Sheldon | ERCOT | Houston Lighting & Power | NG | CoGen | 200 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Dynegy, Inc | Lyondell | ERCOT | Houston Lighting & Power | NG | CT | 155 | 10000 | 37200 | Non-Utility |  | 155 | 0 | 0 | 0 | 0 | 0
Dynegy, Inc | Mont Belvieu | ERCOT | Houston Lighting & Power | NG | CT | 250 | 10000 | 0 | Non-Utility | 2005-01-01 | 0 | 0 | 0 | 0 | 0 | 0
Exxon | Baytown | ERCOT | Houston Lighting & Power | NG | CT | 230 | 10000 | 55200 | Non-Utility |  | 230 | 0 | 0 | 0 | 0 | 0
KN Power Co | Harris Co. Merchant Power Plant | ERCOT | Houston Lighting & Power | NG | CC | 512 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Occidental Chemical Corp | Deer Park Plant | ERCOT | Houston Lighting & Power | NG | CC | 111.06 | 10191 | 27163.499 | Non-Utility |  | 111.06 | 0 | 0 | 0 | 0 | 0
Occidental Chemical Corp | Houston Chemical | ERCOT | Houston Lighting & Power | NG | CC | 200 | 9461 | 45412.8 | Non-Utility |  | 200 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | Limestone | ERCOT | Houston Lighting & Power | LIG | Steam | 1532 | 10622 | 0 | Utility |  | 0 | 0 | 0 | 1532 | 0 | 0
Reliant Energy HL&P | PH Robinson | ERCOT | Houston Lighting & Power | NG | Steam | 2213 | 9832 | 522197.184 | Utility |  | 2213 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | Cedar Bayou | ERCOT | Houston Lighting & Power | NG | Steam | 2295 | 9864 | 543309.12 | Utility |  | 2295 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | Parish | ERCOT | Houston Lighting & Power | NG | CT | 3614 | 10171 | 882191.856 | Utility |  | 3614 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | Deepwater | ERCOT | Houston Lighting & Power | NG | Steam | 187.85 | 10291 | 46395.9444 | Utility |  | 187.85 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | SamBertron | ERCOT | Houston Lighting & Power | NG | CT | 844 | 10650 | 215726.4 | Utility |  | 844 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | TH Wharton | ERCOT | Houston Lighting & Power | NG | CC | 964 | 11657 | 269696.352 | Utility |  | 964 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | Greens Bayou | ERCOT | Houston Lighting & Power | NG | CT | 760 | 12008 | 219025.92 | Utility |  | 760 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | Hiram Clark | ERCOT | Houston Lighting & Power | NG | CT | 78 | 17000 | 31824 | Utility |  | 78 | 0 | 0 | 0 | 0 | 0
Reliant Energy HL&P | South Texas | ERCOT | Houston Lighting & Power | UR |  | 2500 | 10320 | 0 | Utility |  | 0 | 0 | 0 | 0 | 2500 | 0
Reliant Energy Power Generation | Equistar Channelview | ERCOT | Houston Lighting & Power | NG | CoGen | 750 | 8000 | 0 | Non-Utility | 2001-04-01 | 0 | 0 | 0 | 0 | 0 | 0
Shell | Deer Park Plant | ERCOT | Houston Lighting & Power | NG | CT | 130 | 12000 | 37440 | Non-Utility |  | 130 | 0 | 0 | 0 | 0 | 0
Sweeny Cogeneration | Sweeny Cogeneration Facility | ERCOT | Houston Lighting & Power | NG | CC | 390 | 7250 | 67860 | Non-Utility |  | 390 | 0 | 0 | 0 | 0 | 0
American National Power | San Marcos | ERCOT | Lower Colorado River Authority | NG | CC | 1100 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Lost Pines I | ERCOT | Lower Colorado River Authority | NG | CC | 545 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Austin | ERCOT | Lower Colorado River Authority | Hydro |  | 16.14 | 0 | 0 | Utility |  | 0 | 16.14 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Buchanan | ERCOT | Lower Colorado River Authority | Hydro |  | 44.1 | 0 | 0 | Utility |  | 0 | 44.1 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Inks | ERCOT | Lower Colorado River Authority | Hydro |  | 15 | 0 | 0 | Utility |  | 0 | 15 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Marshall Ford | ERCOT | Lower Colorado River Authority | Hydro |  | 99 | 0 | 0 | Utility |  | 0 | 99 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Starke (Marble Falls) | ERCOT | Lower Colorado River Authority | Hydro |  | 30 | 0 | 0 | Utility |  | 0 | 30 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Wirtz | ERCOT | Lower Colorado River Authority | Hydro |  | 45 | 0 | 0 | Utility |  | 0 | 45 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Fayette | ERCOT | Lower Colorado River Authority | LIG | Steam | 1690 | 9818 | 0 | Utility |  | 0 | 0 | 0 | 1690 | 0 | 0
Lower Colorado River Authority | Thomas C. Ferguson | ERCOT | Lower Colorado River Authority | NG | Steam | 446 | 97000 | 1038288 | Utility |  | 446 | 0 | 0 | 0 | 0 | 0
Lower Colorado River Authority | Sam Gideon | ERCOT | Lower Colorado River Authority | NG | Steam | 628 | 10183 | 153478.176 | Utility |  | 628 | 0 | 0 | 0 | 0 | 0
Texas Independent Energy | Panda Guadalupe Power Plant | ERCOT | Lower Colorado River Authority | NG | CT | 1000 | 10000 | 0 | Non-Utility | 2001-12-01 | 0 | 0 | 0 | 0 | 0 | 0
American National Power | Edinburg Plant | ERCOT | Public Utilities Board | NG | CC | 1000 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Brownsville Public Utilities | Silas Ray | ERCOT | Public Utilities Board | NG | CC | 201 | 12353 | 59590.872 | Utility |  | 201 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Hidalgo Energy Facility | ERCOT | Public Utilities Board | NG | CC | 510 | 7250 | 88740 | Non-Utility |  | 510 | 0 | 0 | 0 | 0 | 0
Calpine Corp | Magic Valley Power Plant | ERCOT | Public Utilities Board | NG | CC | 730 | 7250 | 0 | Non-Utility | 2001-02-01 | 0 | 0 | 0 | 0 | 0 | 0
CSW Energy | Frontera Plant | ERCOT | Public Utilities Board | NG | CC | 330 | 7250 | 57420 | Non-Utility |  | 330 | 0 | 0 | 0 | 0 | 0
Rio Grande Cogen | Rio Grande Cogen | ERCOT | Public Utilities Board | NG | CoGen | 308.7 | 11000 | 81496.8 | Non-Utility |  | 308.7 | 0 | 0 | 0 | 0 | 0
Diamond Shamrock/Dynegy | Uds Project | ERCOT | South Texas Electric Cooperative | NG | CoGen | 750 | 8000 | 0 | Non-Utility | 2003-04-01 | 0 | 0 | 0 | 0 | 0 | 0
Formosa Plastics Corp | Formosa Point Comfort | ERCOT | South Texas Electric Cooperative | NG | CC | 652.2 | 10232 | 160159.4496 | Non-Utility |  | 652.2 | 0 | 0 | 0 | 0 | 0
Gregory Power Partners LP | Gregory Power Facility | ERCOT | South Texas Electric Cooperative | NG | CoGen | 336 | 8000 | 64512 | Non-Utility |  | 336 | 0 | 0 | 0 | 0 | 0
Medina Electric Cooperative | Pearsall | ERCOT | South Texas Electric Cooperative | NG | Steam | 66 | 12367 | 19589.328 | Utility |  | 66 | 0 | 0 | 0 | 0 | 0
SkyGen Services | Corpus Christi Energy Facility | ERCOT | South Texas Electric Cooperative | NG | CoGen | 500 | 8000 | 0 | Non-Utility | 2002-01-01 | 0 | 0 | 0 | 0 | 0 | 0
South Texas Electric Coop | Amistad Hydro | ERCOT | South Texas Electric Cooperative | Hydro |  | 69 | 0 | 0 | Utility |  | 0 | 69 | 0 | 0 | 0 | 0
South Texas Electric Coop | Falcon Hydro | ERCOT | South Texas Electric Cooperative | Hydro |  | 35 | 0 | 0 | Utility |  | 0 | 35 | 0 | 0 | 0 | 0
South Texas Electric Coop | Nursery Sam Rayburn | ERCOT | South Texas Electric Cooperative | NG | CT | 80 | 10000 | 0 | Non-Utility | 2002-12-01 | 0 | 0 | 0 | 0 | 0 | 0
South Texas Electric Coop | Sam Rayburn | ERCOT | South Texas Electric Cooperative | NG | CT | 48 | 15353 | 17686.656 | Utility |  | 48 | 0 | 0 | 0 | 0 | 0
American National Power | Beaumont | SPP | SPP | NG | CC | 550 | 7250 | 0 | Non-Utility | 2003-06-01 | 0 | 0 | 0 | 0 | 0 | 0
American National Power | El Paso | SPP | SPP | NG | CC | 600 | 7250 | 0 | Non-Utility | 2002-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Calpine/Mobil | Beumont Refinery | SPP | SPP | NG |  | 550 | 7250 | 0 | Non-Utility | Unknown | 0 | 0 | 0 | 0 | 0 | 0
Conoco Global Power | Orange Sabine River | SPP | SPP | NG | CC | 400 | 7250 | 0 | Non-Utility | 2001-03-01 | 0 | 0 | 0 | 0 | 0 | 0
Constellation/Pace | Gateway | SPP | SPP | NG | CC | 800 | 7250 | 0 | Non-Utility | 2001-12-01 | 0 | 0 | 0 | 0 | 0 | 0
CSW Energy | Eastex Cogeneration Facility | SPP | SPP | NG | CC | 440 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
InterGen Energy North America | Deweyville | SPP | SPP | NG | CC | 1100 | 7250 | 0 | Non-Utility | 2003-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Reliant/Air Liquide | Sabine Cogeneration Facility | SPP | SPP | NG | CC | 100 | 7250 | 0 | Non-Utility | 2003-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Tenaska, Inc | Gateway Generation Station | SPP | SPP | NG | CC | 845 | 7250 | 0 | Non-Utility | 2001-05-01 | 0 | 0 | 0 | 0 | 0 | 0
AES | Aurora | ERCOT | Texas Municipal Power Pool | NG | CC | 730 | 7250 | 0 | Non-Utility | 2001-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Brazos Electric Power | Morris Sheppard | ERCOT | Texas Municipal Power Pool | Hydro |  | 25 | 0 | 0 | Utility |  | 0 | 25 | 0 | 0 | 0 | 0
Brazos Electric Power | RW Miller | ERCOT | Texas Municipal Power Pool | NG | CT | 604 | 10622 | 153976.512 | Utility |  | 604 | 0 | 0 | 0 | 0 | 0
Brazos Electric Power | North Texas | ERCOT | Texas Municipal Power Pool | NG | Steam | 76 | 11811 | 21543.264 | Utility |  | 76 | 0 | 0 | 0 | 0 | 0
Bryan Texas Utilities | Dansby | ERCOT | Texas Municipal Power Pool | NG | Steam | 105 | 10345 | 26069.4 | Utility |  | 105 | 0 | 0 | 0 | 0 | 0
Bryan Texas Utilities | Atkins | ERCOT | Texas Municipal Power Pool | NG | CoGen | 138 | 12356 | 40923.072 | Utility |  | 138 | 0 | 0 | 0 | 0 | 0
Denton Municipal Utilities | Spencer | ERCOT | Texas Municipal Power Pool | NG | Steam | 173 | 12053 | 50044.056 | Utility |  | 173 | 0 | 0 | 0 | 0 | 0
Duke | Mesquite | ERCOT | Texas Municipal Power Pool | NG | CC | 440 | 7250 | 0 | Non-Utility | 2001-10-01 | 0 | 0 | 0 | 0 | 0 | 0
Duke | Jack | ERCOT | Texas Municipal Power Pool | NG | CC | 540 | 7250 | 0 | Non-Utility | 2002-01-01 | 0 | 0 | 0 | 0 | 0 | 0
Duke | Temple | ERCOT | Texas Municipal Power Pool | NG | CC | 520 | 7250 | 0 | Non-Utility | 2002-04-01 | 0 | 0 | 0 | 0 | 0 | 0
Entergy Gulf States | Freestone | ERCOT | Texas Municipal Power Pool | NG | CC | 800 | 7250 | 0 | Non-Utility | 2002-05-01 | 0 | 0 | 0 | 0 | 0 | 0
Garland Power and Light | Ray Olinger | ERCOT | Texas Municipal Power Pool | NG | CT | 335 | 10760 | 86510.4 | Utility |  | 335 | 0 | 0 | 0 | 0 | 0
Garland Power and Light | CE Newman | ERCOT | Texas Municipal Power Pool | NG | Steam | 97 | 12866 | 29952.048 | Utility |  | 97 | 0 | 0 | 0 | 0 | 0
Greenville Electric Utility System | Powerlane Plant | ERCOT | Texas Municipal Power Pool | NG | Steam | 89.7 | 12269 | 26412.7032 | Utility |  | 89.7 | 0 | 0 | 0 | 0 | 0
KN Power Co | Decatur | ERCOT | Texas Municipal Power Pool | NG | CC | 510 | 7250 | 0 | Non-Utility | 2002-01-01 | 0 | 0 | 0 | 0 | 0 | 0
Southern Company | Clifton | ERCOT | Texas Municipal Power Pool | NG | CT | 525 | 7250 | 0 | Non-Utility | 2002-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Southern Company | Weatherford | ERCOT | Texas Municipal Power Pool | NG | CC | 650 | 7250 | 0 | Non-Utility | 2002-06-01 | 0 | 0 | 0 | 0 | 0 | 0
Tenaska, Inc | Frontier Generation Station | ERCOT | Texas Municipal Power Pool | NG | CC | 830 | 7250 | 144420 | Non-Utility |  | 830 | 0 | 0 | 0 | 0 | 0
Texas Municipal Power Agency | Gibbons Creek | ERCOT | Texas Municipal Power Pool | LIG | Steam | 480 | 11500 | 0 | Utility |  | 0 | 0 | 0 | 480 | 0 | 0
Tractabel | Decatur | ERCOT | Texas Municipal Power Pool | NG | CC | 800 | 7250 | 0 | Non-Utility | 2001-02-01 | 0 | 0 | 0 | 0 | 0 | 0
Weatherford Mun Utility System | Weatherford | ERCOT | Texas Municipal Power Pool | NG | CT | 6 | 10461 | 1506.384 | Utility |  | 6 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Vernon | ERCOT | Texas Municipal Power Pool | NG | CT | 11 | 8863 | 2339.832 | Utility |  | 11 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Lake Pauline | ERCOT | Texas Municipal Power Pool | NG | Steam | 40 | 13592 | 13048.32 | Utility |  | 40 | 0 | 0 | 0 | 0 | 0
AES | Granbury | ERCOT | Texas Utilities Electric Co | NG | CC | 730 | 7250 | 127020 | Non-Utility |  | 730 | 0 | 0 | 0 | 0 | 0
Alcoa | Rockdale | ERCOT | Texas Utilities Electric Co | NG | CoGen | 363 | 10267 | 89446.104 | Non-Utility |  | 363 | 0 | 0 | 0 | 0 | 0
American National Power | Midlothian Project | ERCOT | Texas Utilities Electric Co | NG | CC | 1650 | 7250 | 287100 | Non-Utility |  | 1650 | 0 | 0 | 0 | 0 | 0
Brownfield Power & Light | Brownfield | ERCOT | Texas Utilities Electric Co | NG | CT | 13.35 | 15145 | 4852.458 | Utility |  | 13.35 | 0 | 0 | 0 | 0 | 0
CalEnergy | Fina Refinery | ERCOT | Texas Utilities Electric Co | NG | CC | 224.45 | 10000 | 53868 | Non-Utility |  | 224.45 | 0 | 0 | 0 | 0 | 0
City of Whitesboro | Whitesboro | ERCOT | Texas Utilities Electric Co | NG | CT | 4 | 10114 | 970.944 | Utility |  | 4 | 0 | 0 | 0 | 0 | 0
Cobisa Corp | Forney | ERCOT | Texas Utilities Electric Co | NG | CC | 1500 | 7250 | 0 | Non-Utility | 2002-12-01 | 0 | 0 | 0 | 0 | 0 | 0
Donohue | Lufkin | ERCOT | Texas Utilities Electric Co | NG | CC | 84.93 | 10000 | 20383.2 | Non-Utility |  | 84.93 | 0 | 0 | 0 | 0 | 0
Ennis-Tractabel Power Co | Ennis-Tractabel Project | ERCOT | Texas Utilities Electric Co | NG | CC | 350 | 7250 | 0 | Non-Utility | 2001-12-01 | 0 | 0 | 0 | 0 | 0 | 0
Garland Power and Light | Ray Olinger | ERCOT | Texas Utilities Electric Co | NG | CT | 85 | 12007 | 24494.28 | Non-Utility |  | 85 | 0 | 0 | 0 | 0 | 0
Lamar Power Partners LP | Lamar Power Project | ERCOT | Texas Utilities Electric Co | NG | CC | 1000 | 7250 | 174000 | Non-Utility |  | 1000 | 0 | 0 | 0 | 0 | 0
LG&E Power Inc | Sulphur Springs | ERCOT | Texas Utilities Electric Co | NG |  | 800 | 8000 | 153600 | Non-Utility |  | 800 | 0 | 0 | 0 | 0 | 0
LG&E Power Inc | Anderson | ERCOT | Texas Utilities Electric Co | NG | CC | 1600 | 7250 | 0 | Non-Utility | 2003-04-01 | 0 | 0 | 0 | 0 | 0 | 0
Power Resources Inc | Big Spring Charles R Wing | ERCOT | Texas Utilities Electric Co | NG | CC | 250 | 7250 | 43500 | Non-Utility |  | 250 | 0 | 0 | 0 | 0 | 0
Tenaska, Inc | Cleburne | ERCOT | Texas Utilities Electric Co | NG | CC | 263 | 7829 | 49416.648 | Non-Utility |  | 263 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Big Brown | ERCOT | Texas Utilities Electric Co | LIG | Steam | 1187 | 10804 | 0 | Utility |  | 0 | 0 | 0 | 1187 | 0 | 0
Texas Utilities Electric Co | Martin Lake | ERCOT | Texas Utilities Electric Co | LIG | Steam | 2380 | 10981 | 0 | Utility |  | 0 | 0 | 0 | 2380 | 0 | 0
Texas Utilities Electric Co | Monticello | ERCOT | Texas Utilities Electric Co | LIG | Steam | 1980 | 11048 | 0 | Utility |  | 0 | 0 | 0 | 1980 | 0 | 0
Texas Utilities Electric Co | Sandow | ERCOT | Texas Utilities Electric Co | LIG | Steam | 591 | 11188 | 0 | Utility |  | 0 | 0 | 0 | 591 | 0 | 0
Texas Utilities Electric Co | Falcon Seaboard | ERCOT | Texas Utilities Electric Co | NG | CC | 271 | 8000 | 52032 | Utility |  | 271 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Sweetwater | ERCOT | Texas Utilities Electric Co | NG | CC | 225 | 10000 | 54000 | Utility |  | 225 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Tenaska - Lamar | ERCOT | Texas Utilities Electric Co | NG | CC | 223 | 10000 | 53520 | Utility |  | 223 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Texas City Cogen | ERCOT | Texas Utilities Electric Co | NG | CC | 448 | 10000 | 107520 | Utility |  | 448 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Mountain Creek | ERCOT | Texas Utilities Electric Co | NG | Steam | 958 | 8974 | 206330.208 | Utility |  | 958 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Tradinghouse | ERCOT | Texas Utilities Electric Co | NG | Steam | 1380 | 9649 | 319574.88 | Utility |  | 1380 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Graham | ERCOT | Texas Utilities Electric Co | NG | Steam | 635 | 9700 | 147828 | Utility |  | 635 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Lake Creek | ERCOT | Texas Utilities Electric Co | NG | CT | 322 | 9928 | 76723.584 | Utility |  | 322 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Stryker Creek | ERCOT | Texas Utilities Electric Co | NG | CT | 713 | 9989 | 170931.768 | Utility |  | 713 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Wichita Falls | ERCOT | Texas Utilities Electric Co | NG | CT | 74 | 11000 | 19536 | Utility |  | 74 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | DeCordova | ERCOT | Texas Utilities Electric Co | NG | CT | 1157 | 10236 | 284233.248 | Utility |  | 1157 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Valley | ERCOT | Texas Utilities Electric Co | NG | Steam | 1134 | 10376 | 282393.216 | Utility |  | 1134 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Trinidad | ERCOT | Texas Utilities Electric Co | NG | CT | 243 | 10492 | 61189.344 | Utility |  | 243 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Lake Hubbard | ERCOT | Texas Utilities Electric Co | NG | Steam | 928 | 10520 | 234301.44 | Utility |  | 928 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | North Lake | ERCOT | Texas Utilities Electric Co | NG | Steam | 790 | 10598 | 200938.08 | Utility |  | 790 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Permian Basin | ERCOT | Texas Utilities Electric Co | NG | CT | 1098 | 10763 | 283626.576 | Utility |  | 1098 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Collin | ERCOT | Texas Utilities Electric Co | NG | Steam | 156 | 10953 | 41008.032 | Utility |  | 156 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Morgan Creek | ERCOT | Texas Utilities Electric Co | NG | CT | 1364 | 10971 | 359146.656 | Utility |  | 1364 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Eagle Mountain | ERCOT | Texas Utilities Electric Co | NG | Steam | 706 | 11351 | 192331.344 | Utility |  | 706 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Handley | ERCOT | Texas Utilities Electric Co | NG | Steam | 1433 | 11507 | 395748.744 | Utility |  | 1433 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | River Crest | ERCOT | Texas Utilities Electric Co | NG | Steam | 113 | 11728 | 31806.336 | Utility |  | 113 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Parkdale | ERCOT | Texas Utilities Electric Co | NG | Steam | 341 | 11783 | 96432.072 | Utility |  | 341 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | North Main | ERCOT | Texas Utilities Electric Co | NG | Steam | 81 | 12943 | 25161.192 | Utility |  | 81 | 0 | 0 | 0 | 0 | 0
Texas Utilities Electric Co | Comanche Peak | ERCOT | Texas Utilities Electric Co | UR |  | 2300 | 10596 | 0 | Utility |  | 0 | 0 | 0 | 0 | 2300 | 0
Texas Utilities Electric Co | New World Power | ERCOT | Texas Utilities Electric Co | Wind |  | 4 | 0 | 0 | Utility |  | 0 | 0 | 0 | 0 | 0 | 4
USCE-Fort Worth District | Robert D Willis | ERCOT | Texas Utilities Electric Co | Hydro |  | 6 | 0 | 0 | Utility |  | 0 | 6 | 0 | 0 | 0 | 0
USCE-Fort Worth District | Sam Rayburn | ERCOT | Texas Utilities Electric Co | Hydro |  | 52 | 0 | 0 | Utility |  | 0 | 52 | 0 | 0 | 0 | 0
USCE-Fort Worth District | Whitney | ERCOT | Texas Utilities Electric Co | Hydro |  | 30 | 0 | 0 | Utility |  | 0 | 30 | 0 | 0 | 0 | 0
West Texas Utilities | Ft. Phantom | ERCOT | Texas Utilities Electric Co | NG | Steam | 337 | 10347 | 83686.536 | Utility |  | 337 | 0 | 0 | 0 | 0 | 0
West Texas Utilities | Abilene | ERCOT | Texas Utilities Electric Co | NG | Steam | 15 | 15129 | 5446.44 | Utility |  | 15 | 0 | 0 | 0 | 0 | 0
Amoco | Power Station #3 | ERCOT | Texas-New Mexico Power Co | NG | CC | 118.13 | 10000 | 28351.2 | Non-Utility |  | 118.13 | 0 | 0 | 0 | 0 | 0
Amoco | Power Station #4 | ERCOT | Texas-New Mexico Power Co | NG | CC | 191.12 | 8643 | 39644.4038 | Non-Utility |  | 191.12 | 0 | 0 | 0 | 0 | 0
Dow | Freeport | ERCOT | Texas-New Mexico Power Co | NG | CC | 1831.44 | 10000 | 439545.6 | Non-Utility |  | 1831.44 | 0 | 0 | 0 | 0 | 0
Oyster Creek | Oyster Creek Unit VIII | ERCOT | Texas-New Mexico Power Co | NG | CC | 498.05 | 10000 | 119532 | Non-Utility |  | 498.05 | 0 | 0 | 0 | 0 | 0
Southern Company | Whitney | ERCOT | Texas-New Mexico Power Co | NG | CT | 300 | 10000 | 72000 | Non-Utility |  | 300 | 0 | 0 | 0 | 0 | 0
Texas-New Mexico Power Co | TNP One | ERCOT | Texas-New Mexico Power Co | LIG | Steam | 349 | 10751 | 0 | Utility |  | 0 | 0 | 0 | 349 | 0 | 0
Texas-New Mexico Power Co | Sweeny | ERCOT | Texas-New Mexico Power Co | NG | CC | 300 | 12000 | 86400 | Utility |  | 300 | 0 | 0 | 0 | 0 | 0
Union Carbide | Texas City | ERCOT | Texas-New Mexico Power Co | NG | CC | 80 | 10000 | 19200 | Non-Utility |  | 80 | 0 | 0 | 0 | 0 | 0
Texas Independent Energy | Odessa-Ector Power Partners | ERCOT | West Texas Utilities | NG | CC | 1000 | 7250 | 0 | Non-Utility | 2002-04-01 | 0 | 0 | 0 | 0 | 0 | 0