## Sheet1
Ft. Pierce Dispatch Analysis
Assumptions:
Turbine |  |  | 501F
Power delivered Into FPL (no incremental transmission costs)
Deliver gas at FGT Zone 2 + $.035 for physical premium, and $.035 for transport variable costs, plus 2.25% fuel
VOM |  |  | 0.67 | mwhr escalating at 2.5% a year
HR |  |  | 7080 | btu/kwhr | * This is 500 btu/kwh lower than the original valuation
Start Charges |  |  | 2940 | per start
MW |  |  | 196 | MW
Annual Availability |  |  | 85% | (55% in Apr & Oct, 90% all other months)
[11 empty] | Inputs: |  | Power |  |  |  | Power Annual Summary
|  |  | Daily Dispatch Volumes |  |  | Daily Gas Purchases | Volume Over (Under) |  | Gas Purchases (Daily) |  | ENA Reqmts | Availability
|  |  | ENA Curves | ICF Curves |  |  | ENA Curves | ICF Curves | 1 | 22870.8 | 25412 | 90% | ENA Curves |  | ICF Curves |  |  | ENA Curves |  | ICF Curves
| Month | Year | [6 empty] | 2 | 22870.8 | 25412 | 90% | Volumes | Dispatch Hrs. | Volumes | Dispatch Hrs. | Year | Volumes | Hrs | Volumes | Hrs
2002-06-01 | 6 | 2002 | 23313.024 | 29973.888 |  | 30355.2 | 7042.176 | 381.312 | 3 | 22870.8 | 25412 | 90% | 98784 | 504 | 127008 | 648 | 2002 | 573104 | 2924 | 854952 | 4362
2002-07-01 | 7 | 2002 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 4 | 13976.6 | 25412 | 55% | 131241.6 | 669.6 | 131241.6 | 669.6 | 2003 | 993484.8 | 5068.8 | 1444833.6 | 7371.6 | 7446
2002-08-01 | 8 | 2002 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 5 | 30355.2 | 33728 | 90% | 131241.6 | 669.6 | 131241.6 | 669.6 | 2004 | 1114691.2 | 5687.2 | 1449067.2 | 7393.2
2002-09-01 | 9 | 2002 | 13321.728 | 29973.888 |  | 30355.2 | 17033.472 | 381.312 | 6 | 30355.2 | 33728 | 90% | 56448 | 288 | 127008 | 648 | 2005 | 1114534.4 | 5686.4 | 1444833.6 | 7371.6
2002-10-01 | 10 | 2002 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 | 7 | 30355.2 | 33728 | 90% | 39670.4 | 202.4 | 80203.2 | 409.2 | 2006 | 1108889.6 | 5657.6 | 1444833.6 | 7371.6
2002-11-01 | 11 | 2002 | 13321.728 | 29973.888 |  | 22870.8 | 9549.072 | -7103.088 | 8 | 30355.2 | 33728 | 90% | 56448 | 288 | 127008 | 648 | 2007 | 1110614.4 | 5666.4 | 1444833.6 | 7371.6
2002-12-01 | 12 | 2002 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 | 9 | 30355.2 | 33728 | 90% | 59270.4 | 302.4 | 131241.6 | 669.6 | 2008 | 1003206.4 | 5118.4 | 1449067.2 | 7393.2
2003-01-01 | 1 | 2003 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 | 10 | 13976.6 | 25412 | 55% | 62092.8 | 316.8 | 131241.6 | 669.6 | 2009 | 1004304 | 5124 | 1444833.6 | 7371.6
2003-02-01 | 2 | 2003 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 | 11 | 22870.8 | 25412 | 90% | 56448 | 288 | 118540.8 | 604.8 | 2010 | 1008224 | 5144 | 1444833.6 | 7371.6
2003-03-01 | 3 | 2003 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 | 12 | 22870.8 | 25412 | 90% | 59270.4 | 302.4 | 131241.6 | 669.6 | 2011 | 1012300.8 | 5164.8 | 1444833.6 | 7371.6
2003-04-01 | 4 | 2003 | 8955.1616 | 18317.376 |  | 13976.6 | 5021.4384 | -4340.776 |  |  |  |  | 37945.6 | 193.6 | 77616 | 396 | 2012 | 1010105.6 | 5153.6 | 1449067.2 | 7393.2
2003-05-01 | 5 | 2003 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | ENA Curves |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6 | 2013 | 1007283.2 | 5139.2 | 1444833.6 | 7371.6
2003-06-01 | 6 | 2003 | 26643.456 | 29973.888 |  | 30355.2 | 3711.744 | 381.312 |  |  |  |  | 112896 | 576 | 127008 | 648 | 2014 | 1021395.2 | 5211.2 | 1444833.6 | 7371.6
2003-07-01 | 7 | 2003 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | Month | Avg. Vol Over |  |  | 131241.6 | 669.6 | 131241.6 | 669.6 | 2015 | 1022492.8 | 5216.8 | 1444833.6 | 7371.6
2003-08-01 | 8 | 2003 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 1 | 9173.0555 |  |  | 131241.6 | 669.6 | 131241.6 | 669.6 | 2016 | 969964.8 | 4948.8 | 1449067.2 | 7393.2
2003-09-01 | 9 | 2003 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 | 2 | 6093.5437 |  |  | 115718.4 | 590.4 | 127008 | 648 | 2017 | 957420.8 | 4884.8 | 1444833.6 | 7371.6
2003-10-01 | 10 | 2003 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 | 3 | 6070.9192 |  |  | 39670.4 | 202.4 | 80203.2 | 409.2 | 2018 | 960870.4 | 4902.4 | 1444833.6 | 7371.6
2003-11-01 | 11 | 2003 | 12655.6416 | 29973.888 |  | 22870.8 | 10215.1584 | -7103.088 | 4 | 1536.0488 |  |  | 53625.6 | 273.6 | 127008 | 648
2003-12-01 | 12 | 2003 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 | 5 | 381.312 |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2004-01-01 | 1 | 2004 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 | 6 | 3084.8392 |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2004-02-01 | 2 | 2004 | 23772.3939 | 29973.888 |  | 22870.8 | -901.5939 | -7103.088 | 7 | 381.312 |  |  | 97372.8 | 496.8 | 122774.4 | 626.4
2004-03-01 | 3 | 2004 | 24817.0901 | 29973.888 |  | 22870.8 | -1946.2901 | -7103.088 | 8 | 381.312 |  |  | 108662.4 | 554.4 | 131241.6 | 669.6
2004-04-01 | 4 | 2004 | 15060.9536 | 18317.376 |  | 13976.6 | -1084.3536 | -4340.776 | 9 | 5827.5479 |  |  | 63817.6 | 325.6 | 77616 | 396
2004-05-01 | 5 | 2004 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 10 | 5240.7989 |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2004-06-01 | 6 | 2004 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 | 11 | 9274.8011 |  |  | 115718.4 | 590.4 | 127008 | 648
2004-07-01 | 7 | 2004 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 12 | 9182.5349 |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2004-08-01 | 8 | 2004 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2004-09-01 | 9 | 2004 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 | ICF Curves |  |  |  | 115718.4 | 590.4 | 127008 | 648
2004-10-01 | 10 | 2004 | 8272.3634 | 18317.376 |  | 13976.6 | 5704.2366 | -4340.776 |  |  |  |  | 36220.8 | 184.8 | 80203.2 | 409.2
2004-11-01 | 11 | 2004 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 | Month | Avg. Vol Over |  |  | 59270.4 | 302.4 | 127008 | 648
2004-12-01 | 12 | 2004 | 14825.7941 | 29973.888 |  | 22870.8 | 8045.0059 | -7103.088 | 1 | -7103.088 |  |  | 64915.2 | 331.2 | 131241.6 | 669.6
2005-01-01 | 1 | 2005 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 | 2 | -7103.088 |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2005-02-01 | 2 | 2005 | 24264.576 | 29973.888 |  | 22870.8 | -1393.776 | -7103.088 | 3 | -7103.088 |  |  | 95961.6 | 489.6 | 118540.8 | 604.8
2005-03-01 | 3 | 2005 | 24817.0901 | 29973.888 |  | 22870.8 | -1946.2901 | -7103.088 | 4 | -4340.776 |  |  | 108662.4 | 554.4 | 131241.6 | 669.6
2005-04-01 | 4 | 2005 | 16689.1648 | 18317.376 |  | 13976.6 | -2712.5648 | -4340.776 | 5 | 381.312 |  |  | 70716.8 | 360.8 | 77616 | 396
2005-05-01 | 5 | 2005 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 6 | 381.312 |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2005-06-01 | 6 | 2005 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 | 7 | 381.312 |  |  | 115718.4 | 590.4 | 127008 | 648
2005-07-01 | 7 | 2005 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 8 | 381.312 |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2005-08-01 | 8 | 2005 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 | 9 | 381.312 |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2005-09-01 | 9 | 2005 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 | 10 | -4340.776 |  |  | 115718.4 | 590.4 | 127008 | 648
2005-10-01 | 10 | 2005 | 8272.3634 | 18317.376 |  | 13976.6 | 5704.2366 | -4340.776 | 11 | -7103.088 |  |  | 36220.8 | 184.8 | 80203.2 | 409.2
2005-11-01 | 11 | 2005 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 | 12 | -7103.088 |  |  | 59270.4 | 302.4 | 127008 | 648
2005-12-01 | 12 | 2005 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2006-01-01 | 1 | 2006 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2006-02-01 | 2 | 2006 | 24264.576 | 29973.888 |  | 22870.8 | -1393.776 | -7103.088 |  |  |  |  | 95961.6 | 489.6 | 118540.8 | 604.8
2006-03-01 | 3 | 2006 | 24817.0901 | 29973.888 |  | 22870.8 | -1946.2901 | -7103.088 |  |  |  |  | 108662.4 | 554.4 | 131241.6 | 669.6
2006-04-01 | 4 | 2006 | 16282.112 | 18317.376 |  | 13976.6 | -2305.512 | -4340.776 |  |  |  |  | 68992 | 352 | 77616 | 396
2006-05-01 | 5 | 2006 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2006-06-01 | 6 | 2006 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2006-07-01 | 7 | 2006 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2006-08-01 | 8 | 2006 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2006-09-01 | 9 | 2006 | 26643.456 | 29973.888 |  | 30355.2 | 3711.744 | 381.312 |  |  |  |  | 112896 | 576 | 127008 | 648
2006-10-01 | 10 | 2006 | 8666.2854 | 18317.376 |  | 13976.6 | 5310.3146 | -4340.776 |  |  |  |  | 37945.6 | 193.6 | 80203.2 | 409.2
2006-11-01 | 11 | 2006 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2006-12-01 | 12 | 2006 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6
2007-01-01 | 1 | 2007 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2007-02-01 | 2 | 2007 | 24264.576 | 29973.888 |  | 22870.8 | -1393.776 | -7103.088 |  |  |  |  | 95961.6 | 489.6 | 118540.8 | 604.8
2007-03-01 | 3 | 2007 | 24172.4903 | 29973.888 |  | 22870.8 | -1301.6903 | -7103.088 |  |  |  |  | 105840 | 540 | 131241.6 | 669.6
2007-04-01 | 4 | 2007 | 16282.112 | 18317.376 |  | 13976.6 | -2305.512 | -4340.776 |  |  |  |  | 68992 | 352 | 77616 | 396
2007-05-01 | 5 | 2007 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2007-06-01 | 6 | 2007 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2007-07-01 | 7 | 2007 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2007-08-01 | 8 | 2007 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2007-09-01 | 9 | 2007 | 26643.456 | 29973.888 |  | 30355.2 | 3711.744 | 381.312 |  |  |  |  | 112896 | 576 | 127008 | 648
2007-10-01 | 10 | 2007 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 |  |  |  |  | 39670.4 | 202.4 | 80203.2 | 409.2
2007-11-01 | 11 | 2007 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2007-12-01 | 12 | 2007 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6
2008-01-01 | 1 | 2008 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2008-02-01 | 2 | 2008 | 14470.1528 | 29973.888 |  | 22870.8 | 8400.6472 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 122774.4 | 626.4
2008-03-01 | 3 | 2008 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2008-04-01 | 4 | 2008 | 10583.3728 | 18317.376 |  | 13976.6 | 3393.2272 | -4340.776 |  |  |  |  | 44844.8 | 228.8 | 77616 | 396
2008-05-01 | 5 | 2008 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2008-06-01 | 6 | 2008 | 26643.456 | 29973.888 |  | 30355.2 | 3711.744 | 381.312 |  |  |  |  | 112896 | 576 | 127008 | 648
2008-07-01 | 7 | 2008 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2008-08-01 | 8 | 2008 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2008-09-01 | 9 | 2008 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2008-10-01 | 10 | 2008 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 |  |  |  |  | 39670.4 | 202.4 | 80203.2 | 409.2
2008-11-01 | 11 | 2008 | 12655.6416 | 29973.888 |  | 22870.8 | 10215.1584 | -7103.088 |  |  |  |  | 53625.6 | 273.6 | 127008 | 648
2008-12-01 | 12 | 2008 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2009-01-01 | 1 | 2009 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2009-02-01 | 2 | 2009 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2009-03-01 | 3 | 2009 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2009-04-01 | 4 | 2009 | 10583.3728 | 18317.376 |  | 13976.6 | 3393.2272 | -4340.776 |  |  |  |  | 44844.8 | 228.8 | 77616 | 396
2009-05-01 | 5 | 2009 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2009-06-01 | 6 | 2009 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2009-07-01 | 7 | 2009 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2009-08-01 | 8 | 2009 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2009-09-01 | 9 | 2009 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2009-10-01 | 10 | 2009 | 8666.2854 | 18317.376 |  | 13976.6 | 5310.3146 | -4340.776 |  |  |  |  | 37945.6 | 193.6 | 80203.2 | 409.2
2009-11-01 | 11 | 2009 | 13321.728 | 29973.888 |  | 22870.8 | 9549.072 | -7103.088 |  |  |  |  | 56448 | 288 | 127008 | 648
2009-12-01 | 12 | 2009 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2010-01-01 | 1 | 2010 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6
2010-02-01 | 2 | 2010 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2010-03-01 | 3 | 2010 | 14825.7941 | 29973.888 |  | 22870.8 | 8045.0059 | -7103.088 |  |  |  |  | 64915.2 | 331.2 | 131241.6 | 669.6
2010-04-01 | 4 | 2010 | 10583.3728 | 18317.376 |  | 13976.6 | 3393.2272 | -4340.776 |  |  |  |  | 44844.8 | 228.8 | 77616 | 396
2010-05-01 | 5 | 2010 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2010-06-01 | 6 | 2010 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2010-07-01 | 7 | 2010 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2010-08-01 | 8 | 2010 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2010-09-01 | 9 | 2010 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2010-10-01 | 10 | 2010 | 8272.3634 | 18317.376 |  | 13976.6 | 5704.2366 | -4340.776 |  |  |  |  | 36220.8 | 184.8 | 80203.2 | 409.2
2010-11-01 | 11 | 2010 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2010-12-01 | 12 | 2010 | 14825.7941 | 29973.888 |  | 22870.8 | 8045.0059 | -7103.088 |  |  |  |  | 64915.2 | 331.2 | 131241.6 | 669.6
2011-01-01 | 1 | 2011 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2011-02-01 | 2 | 2011 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2011-03-01 | 3 | 2011 | 14825.7941 | 29973.888 |  | 22870.8 | 8045.0059 | -7103.088 |  |  |  |  | 64915.2 | 331.2 | 131241.6 | 669.6
2011-04-01 | 4 | 2011 | 12211.584 | 18317.376 |  | 13976.6 | 1765.016 | -4340.776 |  |  |  |  | 51744 | 264 | 77616 | 396
2011-05-01 | 5 | 2011 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2011-06-01 | 6 | 2011 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2011-07-01 | 7 | 2011 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2011-08-01 | 8 | 2011 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2011-09-01 | 9 | 2011 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2011-10-01 | 10 | 2011 | 8272.3634 | 18317.376 |  | 13976.6 | 5704.2366 | -4340.776 |  |  |  |  | 36220.8 | 184.8 | 80203.2 | 409.2
2011-11-01 | 11 | 2011 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2011-12-01 | 12 | 2011 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2012-01-01 | 1 | 2012 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2012-02-01 | 2 | 2012 | 14470.1528 | 29973.888 |  | 22870.8 | 8400.6472 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 122774.4 | 626.4
2012-03-01 | 3 | 2012 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2012-04-01 | 4 | 2012 | 12211.584 | 18317.376 |  | 13976.6 | 1765.016 | -4340.776 |  |  |  |  | 51744 | 264 | 77616 | 396
2012-05-01 | 5 | 2012 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2012-06-01 | 6 | 2012 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2012-07-01 | 7 | 2012 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2012-08-01 | 8 | 2012 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2012-09-01 | 9 | 2012 | 26643.456 | 29973.888 |  | 30355.2 | 3711.744 | 381.312 |  |  |  |  | 112896 | 576 | 127008 | 648
2012-10-01 | 10 | 2012 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 |  |  |  |  | 39670.4 | 202.4 | 80203.2 | 409.2
2012-11-01 | 11 | 2012 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2012-12-01 | 12 | 2012 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6
2013-01-01 | 1 | 2013 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2013-02-01 | 2 | 2013 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2013-03-01 | 3 | 2013 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2013-04-01 | 4 | 2013 | 12211.584 | 18317.376 |  | 13976.6 | 1765.016 | -4340.776 |  |  |  |  | 51744 | 264 | 77616 | 396
2013-05-01 | 5 | 2013 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2013-06-01 | 6 | 2013 | 26643.456 | 29973.888 |  | 30355.2 | 3711.744 | 381.312 |  |  |  |  | 112896 | 576 | 127008 | 648
2013-07-01 | 7 | 2013 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2013-08-01 | 8 | 2013 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2013-09-01 | 9 | 2013 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2013-10-01 | 10 | 2013 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 |  |  |  |  | 39670.4 | 202.4 | 80203.2 | 409.2
2013-11-01 | 11 | 2013 | 13321.728 | 29973.888 |  | 22870.8 | 9549.072 | -7103.088 |  |  |  |  | 56448 | 288 | 127008 | 648
2013-12-01 | 12 | 2013 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2014-01-01 | 1 | 2014 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2014-02-01 | 2 | 2014 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2014-03-01 | 3 | 2014 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2014-04-01 | 4 | 2014 | 12211.584 | 18317.376 |  | 13976.6 | 1765.016 | -4340.776 |  |  |  |  | 51744 | 264 | 77616 | 396
2014-05-01 | 5 | 2014 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2014-06-01 | 6 | 2014 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 127008 | 648 | 127008 | 648
2014-07-01 | 7 | 2014 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2014-08-01 | 8 | 2014 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2014-09-01 | 9 | 2014 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2014-10-01 | 10 | 2014 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 |  |  |  |  | 39670.4 | 202.4 | 80203.2 | 409.2
2014-11-01 | 11 | 2014 | 12655.6416 | 29973.888 |  | 22870.8 | 10215.1584 | -7103.088 |  |  |  |  | 53625.6 | 273.6 | 127008 | 648
2014-12-01 | 12 | 2014 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2015-01-01 | 1 | 2015 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2015-02-01 | 2 | 2015 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2015-03-01 | 3 | 2015 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2015-04-01 | 4 | 2015 | 12211.584 | 18317.376 |  | 13976.6 | 1765.016 | -4340.776 |  |  |  |  | 51744 | 264 | 77616 | 396
2015-05-01 | 5 | 2015 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2015-06-01 | 6 | 2015 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 127008 | 648 | 127008 | 648
2015-07-01 | 7 | 2015 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2015-08-01 | 8 | 2015 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2015-09-01 | 9 | 2015 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2015-10-01 | 10 | 2015 | 8666.2854 | 18317.376 |  | 13976.6 | 5310.3146 | -4340.776 |  |  |  |  | 37945.6 | 193.6 | 80203.2 | 409.2
2015-11-01 | 11 | 2015 | 13321.728 | 29973.888 |  | 22870.8 | 9549.072 | -7103.088 |  |  |  |  | 56448 | 288 | 127008 | 648
2015-12-01 | 12 | 2015 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2016-01-01 | 1 | 2016 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6
2016-02-01 | 2 | 2016 | 14470.1528 | 29973.888 |  | 22870.8 | 8400.6472 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 122774.4 | 626.4
2016-03-01 | 3 | 2016 | 14825.7941 | 29973.888 |  | 22870.8 | 8045.0059 | -7103.088 |  |  |  |  | 64915.2 | 331.2 | 131241.6 | 669.6
2016-04-01 | 4 | 2016 | 12211.584 | 18317.376 |  | 13976.6 | 1765.016 | -4340.776 |  |  |  |  | 51744 | 264 | 77616 | 396
2016-05-01 | 5 | 2016 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2016-06-01 | 6 | 2016 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2016-07-01 | 7 | 2016 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2016-08-01 | 8 | 2016 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2016-09-01 | 9 | 2016 | 17318.2464 | 29973.888 |  | 30355.2 | 13036.9536 | 381.312 |  |  |  |  | 73382.4 | 374.4 | 127008 | 648
2016-10-01 | 10 | 2016 | 8272.3634 | 18317.376 |  | 13976.6 | 5704.2366 | -4340.776 |  |  |  |  | 36220.8 | 184.8 | 80203.2 | 409.2
2016-11-01 | 11 | 2016 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2016-12-01 | 12 | 2016 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2017-01-01 | 1 | 2017 | 13536.5946 | 29973.888 |  | 22870.8 | 9334.2054 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 131241.6 | 669.6
2017-02-01 | 2 | 2017 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2017-03-01 | 3 | 2017 | 14825.7941 | 29973.888 |  | 22870.8 | 8045.0059 | -7103.088 |  |  |  |  | 64915.2 | 331.2 | 131241.6 | 669.6
2017-04-01 | 4 | 2017 | 10176.32 | 18317.376 |  | 13976.6 | 3800.28 | -4340.776 |  |  |  |  | 43120 | 220 | 77616 | 396
2017-05-01 | 5 | 2017 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2017-06-01 | 6 | 2017 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2017-07-01 | 7 | 2017 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2017-08-01 | 8 | 2017 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2017-09-01 | 9 | 2017 | 16652.16 | 29973.888 |  | 30355.2 | 13703.04 | 381.312 |  |  |  |  | 70560 | 360 | 127008 | 648
2017-10-01 | 10 | 2017 | 8666.2854 | 18317.376 |  | 13976.6 | 5310.3146 | -4340.776 |  |  |  |  | 37945.6 | 193.6 | 80203.2 | 409.2
2017-11-01 | 11 | 2017 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2017-12-01 | 12 | 2017 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6
2018-01-01 | 1 | 2018 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2018-02-01 | 2 | 2018 | 14273.28 | 29973.888 |  | 22870.8 | 8597.52 | -7103.088 |  |  |  |  | 56448 | 288 | 118540.8 | 604.8
2018-03-01 | 3 | 2018 | 14181.1943 | 29973.888 |  | 22870.8 | 8689.6057 | -7103.088 |  |  |  |  | 62092.8 | 316.8 | 131241.6 | 669.6
2018-04-01 | 4 | 2018 | 10583.3728 | 18317.376 |  | 13976.6 | 3393.2272 | -4340.776 |  |  |  |  | 44844.8 | 228.8 | 77616 | 396
2018-05-01 | 5 | 2018 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2018-06-01 | 6 | 2018 | 27309.5424 | 29973.888 |  | 30355.2 | 3045.6576 | 381.312 |  |  |  |  | 115718.4 | 590.4 | 127008 | 648
2018-07-01 | 7 | 2018 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2018-08-01 | 8 | 2018 | 29973.888 | 29973.888 |  | 30355.2 | 381.312 | 381.312 |  |  |  |  | 131241.6 | 669.6 | 131241.6 | 669.6
2018-09-01 | 9 | 2018 | 16652.16 | 29973.888 |  | 30355.2 | 13703.04 | 381.312 |  |  |  |  | 70560 | 360 | 127008 | 648
2018-10-01 | 10 | 2018 | 9060.2075 | 18317.376 |  | 13976.6 | 4916.3925 | -4340.776 |  |  |  |  | 39670.4 | 202.4 | 80203.2 | 409.2
2018-11-01 | 11 | 2018 | 13987.8144 | 29973.888 |  | 22870.8 | 8882.9856 | -7103.088 |  |  |  |  | 59270.4 | 302.4 | 127008 | 648
2018-12-01 | 12 | 2018 | 12891.9948 | 29973.888 |  | 22870.8 | 9978.8052 | -7103.088 |  |  |  |  | 56448 | 288 | 131241.6 | 669.6