## Revised Data
El Paso Energy - Stagecoach
Heat Rate (BTU/hp-hr) | 7500
Billing Kw | 10980
Compressor Size (hp) | 14000
Enter Desired Load Factors
| Load Factor | Monthly MMBTU's | Monthly MW-hrs | Days | Min Load | Max Load | Base Load | Swing
January | 80% | 62496 | 6535.296 | 31 | 70% | 90% | 70% | 90%
February | 80% | 56448 | 5902.848 | 28 | 70% | 90% | 70% | 90%
March | 80% | 62496 | 6535.296 | 31 | 70% | 90% | 70% | 90%
April | 80% | 60480 | 6324.48 | 30 | 70% | 90% | 70% | 90%
May | 80% | 62496 | 6535.296 | 31 | 70% | 90% | 70% | 90%
June | 50% | 37800 | 3952.8 | 30 | 40% | 60% | 40% | 60%
July | 50% | 39060 | 4084.56 | 31 | 40% | 60% | 40% | 60%
August | 50% | 39060 | 4084.56 | 31 | 40% | 60% | 40% | 60%
September | 80% | 60480 | 6324.48 | 30 | 70% | 90% | 70% | 90%
October | 80% | 62496 | 6535.296 | 31 | 70% | 90% | 70% | 90%
November | 80% | 60480 | 6324.48 | 30 | 70% | 90% | 70% | 90%
December | 80% | 62496 | 6535.296 | 31 | 70% | 90% | 70% | 90%
Tariff Heat Rate
TGPC Heat Rate
Final Contractual Heat Rate
New Compressor Heat Rate
TGPC pays ENE for managing compressor (ENE raises heat rate)
TGPC sells Enron spark spread option (TGPC lowers heat rate)
TGPC imposes constraints on option (ENE raises Heat Rate)
TGPC provides flexibility and/or discount on storage (TGPC lowers heat rate)
Value to Enron
Value to TGPC

## Power % Load
POWER

## Gas % Load
GAS

## Original Data
El Paso Energy - Stagecoach
Heat Rate | 7500 |  | Compressor Size | 14000 hp
Billing Kw | 10980
First 200 KWh/kilowatt of Billing KW | 2196000
Next 200 KWh/kilowatt of Billing KW | 4392000
Winter Months | Load Factor | Monthly MMBtus | Daily MMBtus | Monthly KWhrs | Daily KWhrs
September | 80% | 60480 | 2016 | 6324516.3 | 210817.21 | 2016 | 75600
October | 80% | 62496 | 2016 | 6535333.51 | 210817.21 | 2520
November | 80% | 60480 | 2016 | 6324516.3 | 210817.21
December | 80% | 62496 | 2016 | 6535333.51 | 210817.21
January | 80% | 62496 | 2016 | 6535333.51 | 210817.21
February | 80% | 56448 | 2016 | 5902881.88 | 210817.21
March | 80% | 62496 | 2016 | 6535333.51 | 210817.21
April | 80% | 60480 | 2016 | 6324516.3 | 210817.21
May | 80% | 62496 | 2016 | 6535333.51 | 210817.21
September | 70% | 52920 | 1764 | 5533951.7625 | 184465.0588 | 2520
October | 70% | 54684 | 1764 | 5718416.8213 | 184465.0588
November | 70% | 52920 | 1764 | 5533951.7625 | 184465.0588
December | 70% | 54684 | 1764 | 5718416.8213 | 184465.0588
January | 70% | 54684 | 1764 | 5718416.8213 | 184465.0588
February | 70% | 49392 | 1764 | 5165021.645 | 184465.0588
March | 70% | 54684 | 1764 | 5718416.8213 | 184465.0588
April | 70% | 52920 | 1764 | 5533951.7625 | 184465.0588
May | 70% | 54684 | 1764 | 5718416.8213 | 184465.0588
September | 60% | 45360 | 1512 | 4743387.225 | 158112.9075
October | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
November | 60% | 45360 | 1512 | 4743387.225 | 158112.9075
December | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
January | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
February | 60% | 42336 | 1512 | 4427161.41 | 158112.9075
March | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
April | 60% | 45360 | 1512 | 4743387.225 | 158112.9075
May | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
September | 50% | 37800 | 1260 | 3952822.6875 | 131760.7563
October | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
November | 50% | 37800 | 1260 | 3952822.6875 | 131760.7563
December | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
January | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
February | 50% | 35280 | 1260 | 3689301.175 | 131760.7563
March | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
April | 50% | 37800 | 1260 | 3952822.6875 | 131760.7563
May | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
El Paso Energy - Stagecoach
Summer Months | Load Factor | Monthly MMBtus | Daily MMBtus | Monthly KWhrs | Daily KWhrs
June | 60% | 45360 | 1512 | 4743387.225 | 158112.9075
July | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
August | 60% | 46872 | 1512 | 4901500.1325 | 158112.9075
June | 50% | 37800 | 1260 | 3952822.6875 | 131760.7563
July | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
August | 50% | 39060 | 1260 | 4084583.4438 | 131760.7563
June | 40% | 30240 | 1008 | 3162258.15 | 105408.605
July | 40% | 31248 | 1008 | 3267666.755 | 105408.605
August | 40% | 31248 | 1008 | 3267666.755 | 105408.605
June | 30% | 22680 | 756 | 2371693.6125 | 79056.4538
July | 30% | 23436 | 756 | 2450750.0663 | 79056.4538
August | 30% | 23436 | 756 | 2450750.0663 | 79056.4538
June | 20% | 15120 | 504 | 1581129.075 | 52704.3025
July | 20% | 15624 | 504 | 1633833.3775 | 52704.3025
August | 20% | 15624 | 504 | 1633833.3775 | 52704.3025