## Sheet1
Ft. Pierce Dispatch Analysis
Assumptions:
Turbine |  |  | 501F
Power delivered Into FPL (no incremental transmission costs)
Deliver gas at FGT Zone 2 + $.035 for physical premium, and $.035 for transport variable costs, plus 2.25% fuel
VOM |  |  | 0.67 | mwhr escalating at 2.5% a year
HR |  |  | 7563 | btu/kwhr
Start Charges |  |  | 3150 | per start
MW |  |  | 210 | MW
Annual Availability |  |  | 85% | (55% in Apr & Oct, 90% all other months)
[10 empty] | Inputs: |  | Power |  |  |  | Power Annual Summary
|  |  | Daily Dispatch Volumes |  | Daily Gas Purchases | Volume Over (Under) |  | Gas Purchases (Daily) |  | ENA Reqmts | Availability
|  |  | ENA Curves | ICF Curves |  | ENA Curves | ICF Curves | 1 | 22870.8 | 25412 | 90% | ENA Curves |  | ICF Curves |  |  | ENA Curves |  | ICF Curves
| Month | Year | [5 empty] | 2 | 22870.8 | 25412 | 90% | Volumes | Dispatch Hrs. | Volumes | Dispatch Hrs. | Year | Volumes | Hrs | Volumes | Hrs
2002-06-01 | 6 | 2002 | 20140.7961 | 29532.1924 | 30355.2 | 10214.4039 | 823.0076 | 3 | 22870.8 | 25412 | 90% | 79892.091 | 380.4385 | 117144.7537 | 557.8322 | 2002 | 444459.4195 | 2116.4734 | 831610.4202 | 3960.0496
2002-07-01 | 7 | 2002 | 23289.9251 | 31435.0072 | 30355.2 | 7065.2749 | -1079.8072 | 4 | 13976.6 | 25412 | 55% | 95463.1335 | 454.5864 | 128849.0311 | 613.5668 | 2003 | 898135.7234 | 4276.8368 | 1380502.339 | 6573.8207 | 7446
2002-08-01 | 8 | 2002 | 22630.4881 | 31475.3859 | 30355.2 | 7724.7119 | -1120.1859 | 5 | 30355.2 | 33728 | 90% | 92760.1655 | 441.7151 | 129014.5395 | 614.3549 | 2004 | 940501.9742 | 4478.5808 | 1409909.136 | 6713.853
2002-09-01 | 9 | 2002 | 12754.9601 | 32688.1806 | 30355.2 | 17600.2399 | -2332.9806 | 6 | 30355.2 | 33728 | 90% | 50594.8437 | 240.9278 | 129663.5485 | 617.4455 | 2005 | 906090.4443 | 4314.7164 | 1438998.8673 | 6852.3756
2002-10-01 | 10 | 2002 | 6107.181 | 20601.4496 | 13976.6 | 7869.419 | -6624.8496 | 7 | 30355.2 | 33728 | 90% | 25032.7398 | 119.2035 | 84443.3342 | 402.1111 | 2006 | 892574.7285 | 4250.3559 | 1423746.9841 | 6779.7475
2002-11-01 | 11 | 2002 | 11952.8631 | 29428.534 | 22870.8 | 10917.9369 | -6557.734 | 8 | 30355.2 | 33728 | 90% | 47413.1818 | 225.7771 | 116733.5741 | 555.8742 | 2007 | 897459.0915 | 4273.6147 | 1402035.4522 | 6676.3593
2002-12-01 | 12 | 2002 | 13004.277 | 30681.7831 | 22870.8 | 9866.523 | -7810.9831 | 9 | 30355.2 | 33728 | 90% | 53303.2643 | 253.8251 | 125761.6392 | 598.8649 | 2008 | 887099.778 | 4224.2847 | 1416865.4776 | 6746.9785
2003-01-01 | 1 | 2003 | 17696.6903 | 31368.7399 | 22870.8 | 5174.1097 | -8497.9399 | 10 | 13976.6 | 25412 | 55% | 72537.0091 | 345.4143 | 128577.408 | 612.2734 | 2009 | 881982.9947 | 4199.919 | 1398011.9131 | 6657.1996
2003-02-01 | 2 | 2003 | 18615.9941 | 28833.1469 | 22870.8 | 4254.8059 | -5962.3469 | 11 | 22870.8 | 25412 | 90% | 68920.7767 | 328.1942 | 106747.073 | 508.3194 | 2010 | 880799.5521 | 4194.2836 | 1374036.0782 | 6543.0289
2003-03-01 | 3 | 2003 | 15252.903 | 29671.251 | 22870.8 | 7617.897 | -6800.451 | 12 | 22870.8 | 25412 | 90% | 62520.163 | 297.7151 | 121619.5666 | 579.1408 | 2011 | 883044.7359 | 4204.9749 | 1367085.1128 | 6509.9291
2003-04-01 | 4 | 2003 | 9217.1361 | 18208.4895 | 13976.6 | 4759.4639 | -4231.8895 |  |  |  |  | 36561.4283 | 174.102 | 72227.2489 | 343.9393 | 2012 | 886787.6172 | 4222.7982 | 1365465.9223 | 6502.2187
2003-05-01 | 5 | 2003 | 23280.6416 | 29522.563 | 30355.2 | 7074.5584 | 832.637 | ENA Curves |  |  |  | 95425.0814 | 454.4051 | 121010.109 | 576.2386 | 2013 | 878802.1721 | 4184.7722 | 1355225.4066 | 6453.4543
2003-06-01 | 6 | 2003 | 24643.0501 | 29463.4758 | 30355.2 | 5712.1499 | 891.7242 |  |  |  |  | 97751.0911 | 465.4814 | 116872.177 | 556.5342 | 2014 | 878751.7881 | 4184.5323 | 1348183.3801 | 6419.9209
2003-07-01 | 7 | 2003 | 28424.1783 | 31273.5358 | 30355.2 | 1931.0217 | -918.3358 | Month | Avg. Vol Over |  |  | 116507.9371 | 554.7997 | 128187.1757 | 610.4151 | 2015 | 881153.1931 | 4195.9676 | 1342324.3772 | 6392.0208
2003-08-01 | 8 | 2003 | 27997.5192 | 31300.256 | 30355.2 | 2357.6808 | -945.056 | 1 | 3522.9197 |  |  | 114759.1028 | 546.4719 | 128296.6992 | 610.9367 | 2016 | 882725.3715 | 4203.4541 | 1333162.6686 | 6348.3937
2003-09-01 | 9 | 2003 | 19018.7995 | 32568.5017 | 30355.2 | 11336.4005 | -2213.3017 | 2 | 3121.8766 |  |  | 75441.4894 | 359.2452 | 129188.8206 | 615.1849 | 2017 | 881158.2469 | 4195.9917 | 1316837.096 | 6270.6528
2003-10-01 | 10 | 2003 | 7454.5513 | 20663.063 | 13976.6 | 6522.0487 | -6686.463 | 3 | 5226.6191 |  |  | 30555.4795 | 145.5023 | 84695.8816 | 403.3137 | 2018 | 941956.442 | 4485.5069 | 1266939.3695 | 6033.0446
2003-11-01 | 11 | 2003 | 15427.0744 | 29520.6103 | 22870.8 | 7443.7256 | -6649.8103 | 4 | 3532.6539 |  |  | 61194.2658 | 291.4013 | 117098.8112 | 557.6134
2003-12-01 | 12 | 2003 | 16092.5756 | 30735.3899 | 22870.8 | 6778.2244 | -7864.5899 | 5 | 9721.9347 |  |  | 65961.8991 | 314.1043 | 125981.3682 | 599.9113
2004-01-01 | 1 | 2004 | 20243.5167 | 32163.4446 | 22870.8 | 2627.2833 | -9292.6446 | 6 | 6860.1747 |  |  | 82976.2022 | 395.1248 | 131834.8251 | 627.7849
2004-02-01 | 2 | 2004 | 20356.357 | 30003.7089 | 22870.8 | 2514.443 | -7132.9089 | 7 | 5032.2359 |  |  | 78055.58 | 371.6932 | 115047.9384 | 547.8473
2004-03-01 | 3 | 2004 | 18046.0441 | 30602.0447 | 22870.8 | 4824.7559 | -7731.2447 | 8 | 5053.902 |  |  | 73968.9761 | 352.2332 | 125434.7991 | 597.3086
2004-04-01 | 4 | 2004 | 10822.5805 | 18510.6114 | 13976.6 | 3154.0195 | -4534.0114 | 9 | 13260.5769 |  |  | 42929.7123 | 204.4272 | 73425.6699 | 349.646
2004-05-01 | 5 | 2004 | 23393.1807 | 30049.3048 | 30355.2 | 6962.0193 | 305.8952 | 10 | 6096.0693 |  |  | 95886.3679 | 456.6018 | 123169.1719 | 586.5199
2004-06-01 | 6 | 2004 | 24962.6381 | 29869.7916 | 30355.2 | 5392.5619 | 485.4084 | 11 | 6247.1679 |  |  | 99018.7945 | 471.5181 | 118483.9017 | 564.2091
2004-07-01 | 7 | 2004 | 28052.6832 | 31562.2356 | 30355.2 | 2302.5168 | -1207.0356 | 12 | 5846.7367 |  |  | 114985.2147 | 547.5486 | 129370.5279 | 616.0501
2004-08-01 | 8 | 2004 | 27588.1497 | 31440.9804 | 30355.2 | 2767.0503 | -1085.7804 |  |  |  |  | 113081.137 | 538.4816 | 128873.5149 | 613.6834
2004-09-01 | 9 | 2004 | 19176.1158 | 33310.8091 | 30355.2 | 11179.0842 | -2955.6091 | ICF Curves |  |  |  | 76065.5128 | 362.2167 | 132133.3165 | 629.2063
2004-10-01 | 10 | 2004 | 7413.4642 | 20699.0183 | 13976.6 | 6563.1358 | -6722.4183 |  |  |  |  | 30387.0675 | 144.7003 | 84843.2587 | 404.0155
2004-11-01 | 11 | 2004 | 16244.9742 | 30172.0838 | 22870.8 | 6625.8258 | -7301.2838 | Month | Avg. Vol Over |  |  | 64438.6123 | 306.8505 | 119682.9978 | 569.919
2004-12-01 | 12 | 2004 | 16762.73 | 31132.5318 | 22870.8 | 6108.07 | -8261.7318 | 1 | -8916.8988 |  |  | 68708.7968 | 327.1847 | 127609.214 | 607.6629
2005-01-01 | 1 | 2005 | 20795.3867 | 32794.9263 | 22870.8 | 2075.4133 | -9924.1263 | 2 | -6619.5405 |  |  | 85238.2635 | 405.8965 | 134423.2073 | 640.1105
2005-02-01 | 2 | 2005 | 21169.2272 | 31194.9963 | 22870.8 | 1701.5728 | -8324.1963 | 3 | -7003.3991 |  |  | 78373.4445 | 373.2069 | 115491.1933 | 549.9581
2005-03-01 | 3 | 2005 | 17708.7553 | 31398.5765 | 22870.8 | 5162.0447 | -8527.7765 | 4 | -3903.6508 |  |  | 72586.4625 | 345.6498 | 128699.7053 | 612.8557
2005-04-01 | 4 | 2005 | 10476.1557 | 19029.966 | 13976.6 | 3500.4443 | -5053.366 | 5 | 1134.1962 |  |  | 41555.5562 | 197.8836 | 75485.7834 | 359.4561
2005-05-01 | 5 | 2005 | 21106.2013 | 30984.5206 | 30355.2 | 9248.9987 | -629.3206 | 6 | 1054.5941 |  |  | 86512.2622 | 411.9632 | 127002.5305 | 604.774
2005-06-01 | 6 | 2005 | 24207.1135 | 30900.5139 | 30355.2 | 6148.0865 | -545.3139 | 7 | -173.4819 |  |  | 96021.8702 | 457.247 | 122572.4469 | 583.6783
2005-07-01 | 7 | 2005 | 24486.793 | 32108.0568 | 30355.2 | 5868.407 | -1752.8568 | 8 | -287.0426 |  |  | 100368.9785 | 477.9475 | 131607.796 | 626.7038
2005-08-01 | 8 | 2005 | 24675.672 | 32020.534 | 30355.2 | 5679.528 | -1665.334 | 9 | -2231.5326 |  |  | 101143.1747 | 481.6342 | 131249.0484 | 624.9955
2005-09-01 | 9 | 2005 | 18662.0475 | 33626.1926 | 30355.2 | 11693.1525 | -3270.9926 | 10 | -6294.5596 |  |  | 74026.3684 | 352.5065 | 133384.342 | 635.1635
2005-10-01 | 10 | 2005 | 8242.4183 | 20730.7964 | 13976.6 | 5734.1817 | -6754.1964 | 11 | -6482.0732 |  |  | 33784.8693 | 160.8803 | 84973.5143 | 404.6358
2005-11-01 | 11 | 2005 | 17091.0149 | 31373.364 | 22870.8 | 5779.7851 | -8502.564 | 12 | -7060.5218 |  |  | 67794.5849 | 322.8314 | 124448.092 | 592.61
2005-12-01 | 12 | 2005 | 16756.8291 | 31633.1521 | 22870.8 | 6113.9709 | -8762.3521 |  |  |  |  | 68684.6094 | 327.0696 | 129661.2079 | 617.4343
2006-01-01 | 1 | 2006 | 18890.4424 | 32565.4143 | 22870.8 | 3980.3576 | -9694.6143 |  |  |  |  | 77430.0825 | 368.7147 | 133482.4599 | 635.6308
2006-02-01 | 2 | 2006 | 19256.5924 | 30900.0573 | 22870.8 | 3614.2076 | -8029.2573 |  |  |  |  | 71292.4221 | 339.4877 | 114399.2602 | 544.7584
2006-03-01 | 3 | 2006 | 17792.3527 | 31099.2841 | 22870.8 | 5078.4473 | -8228.4841 |  |  |  |  | 72929.12 | 347.2815 | 127472.9349 | 607.014
2006-04-01 | 4 | 2006 | 10338.3398 | 18748.3305 | 13976.6 | 3638.2602 | -4771.7305 |  |  |  |  | 41008.8844 | 195.2804 | 74368.6256 | 354.1363
2006-05-01 | 5 | 2006 | 21108.6015 | 30501.7886 | 30355.2 | 9246.5985 | -146.5886 |  |  |  |  | 86522.1007 | 412.01 | 125023.8593 | 595.3517
2006-06-01 | 6 | 2006 | 23862.1917 | 30473.0743 | 30355.2 | 6493.0083 | -117.8743 |  |  |  |  | 94653.676 | 450.7318 | 120876.9309 | 575.6044
2006-07-01 | 7 | 2006 | 24474.7339 | 31867.4824 | 30355.2 | 5880.4661 | -1512.2824 |  |  |  |  | 100319.5492 | 477.7121 | 130621.705 | 622.0081
2006-08-01 | 8 | 2006 | 24773.334 | 31814.4324 | 30355.2 | 5581.866 | -1459.2324 |  |  |  |  | 101543.482 | 483.5404 | 130404.258 | 620.9727
2006-09-01 | 9 | 2006 | 18538.0936 | 33392.1702 | 30355.2 | 11817.1064 | -3036.9702 |  |  |  |  | 73534.6829 | 350.1652 | 132456.05 | 630.7431
2006-10-01 | 10 | 2006 | 8448.6501 | 20632.1343 | 13976.6 | 5527.9499 | -6655.5343 |  |  |  |  | 34630.1936 | 164.9057 | 84569.1077 | 402.71
2006-11-01 | 11 | 2006 | 17427.5717 | 30873.5901 | 22870.8 | 5443.2283 | -8002.7901 |  |  |  |  | 69129.598 | 329.1886 | 122465.6489 | 583.1698
2006-12-01 | 12 | 2006 | 16975.5041 | 31131.7827 | 22870.8 | 5895.2959 | -8260.9827 |  |  |  |  | 69580.9371 | 331.3378 | 127606.1436 | 607.6483
2007-01-01 | 1 | 2007 | 19472.2848 | 32050.6359 | 22870.8 | 3398.5152 | -9179.8359 |  |  |  |  | 79814.9979 | 380.0714 | 131372.4332 | 625.583
2007-02-01 | 2 | 2007 | 19694.425 | 30251.8235 | 22870.8 | 3176.375 | -7381.0235 |  |  |  |  | 72913.3811 | 347.2066 | 111999.3467 | 533.3302
2007-03-01 | 3 | 2007 | 17998.1288 | 30593.6121 | 22870.8 | 4872.6712 | -7722.8121 |  |  |  |  | 73772.576 | 351.298 | 125400.2348 | 597.144
2007-04-01 | 4 | 2007 | 10615.9464 | 18397.5147 | 13976.6 | 3360.6536 | -4420.9147 |  |  |  |  | 42110.0611 | 200.5241 | 72977.0515 | 347.5098
2007-05-01 | 5 | 2007 | 21109.9144 | 29934.7198 | 30355.2 | 9245.2856 | 420.4802 |  |  |  |  | 86527.4822 | 412.0356 | 122699.4994 | 584.2833
2007-06-01 | 6 | 2007 | 23661.8466 | 29955.8696 | 30355.2 | 6693.3534 | 399.3304 |  |  |  |  | 93858.9711 | 446.9475 | 118825.3456 | 565.835
2007-07-01 | 7 | 2007 | 24555.0928 | 31340.6911 | 30355.2 | 5800.1072 | -985.4911 |  |  |  |  | 100648.9326 | 479.2806 | 128462.4387 | 611.7259
2007-08-01 | 8 | 2007 | 24671.2724 | 31330.878 | 30355.2 | 5683.9276 | -975.678 |  |  |  |  | 101125.1414 | 481.5483 | 128422.2157 | 611.5344
2007-09-01 | 9 | 2007 | 18125.7942 | 33096.1976 | 30355.2 | 12229.4058 | -2740.9976 |  |  |  |  | 71899.2233 | 342.3773 | 131282.0215 | 625.1525
2007-10-01 | 10 | 2007 | 8537.4115 | 20517.1627 | 13976.6 | 5439.1885 | -6540.5627 |  |  |  |  | 34994.0177 | 166.6382 | 84097.8507 | 400.466
2007-11-01 | 11 | 2007 | 17504.7526 | 30409.7699 | 22870.8 | 5366.0474 | -7538.9699 |  |  |  |  | 69435.75 | 330.6464 | 120625.8225 | 574.4087
2007-12-01 | 12 | 2007 | 17165.2183 | 30708.5105 | 22870.8 | 5705.5817 | -7837.7105 |  |  |  |  | 70358.5572 | 335.0407 | 125871.192 | 599.3866
2008-01-01 | 1 | 2008 | 19230.6453 | 32328.5544 | 22870.8 | 3640.1547 | -9457.7544 |  |  |  |  | 78824.5409 | 375.355 | 132511.5942 | 631.0076
2008-02-01 | 2 | 2008 | 19457.2902 | 30368.7912 | 22870.8 | 3413.5098 | -7497.9912 |  |  |  |  | 74608.147 | 355.2769 | 116447.8307 | 554.5135
2008-03-01 | 3 | 2008 | 17386.4449 | 30665.3351 | 22870.8 | 5484.3551 | -7794.5351 |  |  |  |  | 71265.3436 | 339.3588 | 125694.2203 | 598.5439
2008-04-01 | 4 | 2008 | 10396.3897 | 18640.8982 | 13976.6 | 3580.2103 | -4664.2982 |  |  |  |  | 41239.1498 | 196.3769 | 73942.4761 | 352.107
2008-05-01 | 5 | 2008 | 20623.0067 | 30247.0125 | 30355.2 | 9732.1933 | 108.1875 |  |  |  |  | 84531.695 | 402.5319 | 123979.5568 | 590.3788
2008-06-01 | 6 | 2008 | 23613.6706 | 30171.852 | 30355.2 | 6741.5294 | 183.348 |  |  |  |  | 93667.8722 | 446.0375 | 119682.0787 | 569.9147
2008-07-01 | 7 | 2008 | 25171.5654 | 31515.4196 | 30355.2 | 5183.6346 | -1160.2196 |  |  |  |  | 103175.7937 | 491.3133 | 129178.6338 | 615.1364
2008-08-01 | 8 | 2008 | 24751.8064 | 31393.5466 | 30355.2 | 5603.3936 | -1038.3466 |  |  |  |  | 101455.2426 | 483.1202 | 128679.0881 | 612.7576
2008-09-01 | 9 | 2008 | 17767.8035 | 33551.2741 | 30355.2 | 12587.3965 | -3196.0741 |  |  |  |  | 70479.189 | 335.6152 | 133087.1642 | 633.7484
2008-10-01 | 10 | 2008 | 8025.506 | 20692.0427 | 13976.6 | 5951.094 | -6715.4427 |  |  |  |  | 32895.7671 | 156.6465 | 84814.6666 | 403.8794
2008-11-01 | 11 | 2008 | 16562.6082 | 30701.8383 | 22870.8 | 6308.1918 | -7831.0383 |  |  |  |  | 65698.565 | 312.8503 | 121784.3644 | 579.9255
2008-12-01 | 12 | 2008 | 16896.8331 | 30999.4693 | 22870.8 | 5973.9669 | -8128.6693 |  |  |  |  | 69258.4722 | 329.8022 | 127063.8037 | 605.0657
2009-01-01 | 1 | 2009 | 18971.9392 | 32141.314 | 22870.8 | 3898.8608 | -9270.514 |  |  |  |  | 77764.13 | 370.3054 | 131744.1138 | 627.3529
2009-02-01 | 2 | 2009 | 19466.3627 | 30065.3836 | 22870.8 | 3404.4373 | -7194.5836 |  |  |  |  | 72069.0409 | 343.1859 | 111309.1024 | 530.0433
2009-03-01 | 3 | 2009 | 17402.6577 | 30493.5986 | 22870.8 | 5468.1423 | -7622.7986 |  |  |  |  | 71331.7981 | 339.6752 | 124990.2891 | 595.1919
2009-04-01 | 4 | 2009 | 10320.2012 | 18457.4743 | 13976.6 | 3656.3988 | -4480.8743 |  |  |  |  | 40936.9345 | 194.9378 | 73214.8919 | 348.6423
2009-05-01 | 5 | 2009 | 20336.4197 | 29817.9293 | 30355.2 | 10018.7803 | 537.2707 |  |  |  |  | 83357.0028 | 396.9381 | 122220.7867 | 582.0037
2009-06-01 | 6 | 2009 | 23870.4394 | 29824.576 | 30355.2 | 6484.7606 | 530.624 |  |  |  |  | 94686.3918 | 450.8876 | 118304.5459 | 563.355
2009-07-01 | 7 | 2009 | 25370.8919 | 30935.4176 | 30355.2 | 4984.3081 | -580.2176 |  |  |  |  | 103992.8136 | 495.2039 | 126801.2623 | 603.8155
2009-08-01 | 8 | 2009 | 24851.1237 | 30820.738 | 30355.2 | 5504.0763 | -465.538 |  |  |  |  | 101862.3342 | 485.0587 | 126331.2016 | 601.5772
2009-09-01 | 9 | 2009 | 17397.3001 | 33370.7489 | 30355.2 | 12957.8999 | -3015.5489 |  |  |  |  | 69009.5205 | 328.6168 | 132371.0784 | 630.3385
2009-10-01 | 10 | 2009 | 7762.8694 | 20632.8699 | 13976.6 | 6213.7306 | -6656.2699 |  |  |  |  | 31819.2451 | 151.5202 | 84572.1232 | 402.7244
2009-11-01 | 11 | 2009 | 16589.9151 | 30359.27 | 22870.8 | 6280.8849 | -7488.47 |  |  |  |  | 65806.8826 | 313.3661 | 120425.5057 | 573.4548
2009-12-01 | 12 | 2009 | 16918.4068 | 30673.3352 | 22870.8 | 5952.3932 | -7802.5352 |  |  |  |  | 69346.9006 | 330.2233 | 125727.0121 | 598.7001
2010-01-01 | 1 | 2010 | 18858.9292 | 32012.4933 | 22870.8 | 4011.8708 | -9141.6933 |  |  |  |  | 77300.9129 | 368.0996 | 131216.0906 | 624.8385
2010-02-01 | 2 | 2010 | 19473.8214 | 29568.329 | 22870.8 | 3396.9786 | -6697.529 |  |  |  |  | 72096.6547 | 343.3174 | 109468.8896 | 521.2804
2010-03-01 | 3 | 2010 | 17490.0397 | 29846.8565 | 22870.8 | 5380.7603 | -6976.0565 |  |  |  |  | 71689.9684 | 341.3808 | 122339.3562 | 582.5684
2010-04-01 | 4 | 2010 | 10361.9311 | 17830.9438 | 13976.6 | 3614.6689 | -3854.3438 |  |  |  |  | 41102.4639 | 195.726 | 70729.6461 | 336.8078
2010-05-01 | 5 | 2010 | 20212.9821 | 29224.0234 | 30355.2 | 10142.2179 | 1131.1766 |  |  |  |  | 82851.0438 | 394.5288 | 119786.4242 | 570.4115
2010-06-01 | 6 | 2010 | 23780.9745 | 29320.9222 | 30355.2 | 6574.2255 | 1034.2778 |  |  |  |  | 94331.5133 | 449.1977 | 116306.7123 | 553.8415
2010-07-01 | 7 | 2010 | 25023.8851 | 30387.6619 | 30355.2 | 5331.3149 | -32.4619 |  |  |  |  | 102570.4667 | 488.4308 | 124556.065 | 593.1241
2010-08-01 | 8 | 2010 | 25034.5096 | 30584.1178 | 30355.2 | 5320.6904 | -228.9178 |  |  |  |  | 102614.0153 | 488.6382 | 125361.3186 | 596.9587
2010-09-01 | 9 | 2010 | 17122.0215 | 33068.3811 | 30355.2 | 13233.1785 | -2713.1811 |  |  |  |  | 67917.5783 | 323.417 | 131171.6824 | 624.6271
2010-10-01 | 10 | 2010 | 7572.3246 | 20439.304 | 13976.6 | 6404.2754 | -6462.704 |  |  |  |  | 31038.2207 | 147.8011 | 83778.7155 | 398.9463
2010-11-01 | 11 | 2010 | 16753.7029 | 29380.1315 | 22870.8 | 6117.0971 | -6509.3315 |  |  |  |  | 66456.5763 | 316.4599 | 116541.5769 | 554.9599
2010-12-01 | 12 | 2010 | 17280.2688 | 29954.262 | 22870.8 | 5590.5312 | -7083.462 |  |  |  |  | 70830.1379 | 337.2864 | 122779.6008 | 584.6648
2011-01-01 | 1 | 2011 | 19093.5688 | 31876.0394 | 22870.8 | 3777.2312 | -9005.2394 |  |  |  |  | 78262.6779 | 372.6794 | 130656.7794 | 622.1751
2011-02-01 | 2 | 2011 | 19651.9064 | 29433.453 | 22870.8 | 3218.8936 | -6562.653 |  |  |  |  | 72755.9669 | 346.457 | 108969.5471 | 518.9026
2011-03-01 | 3 | 2011 | 17745.9981 | 29821.6393 | 22870.8 | 5124.8019 | -6950.8393 |  |  |  |  | 72739.1169 | 346.3767 | 122235.9936 | 582.0762
2011-04-01 | 4 | 2011 | 10412.4772 | 17712.6104 | 13976.6 | 3564.1228 | -3736.0104 |  |  |  |  | 41302.9638 | 196.6808 | 70260.2553 | 334.5726
2011-05-01 | 5 | 2011 | 20106.7946 | 29117.3757 | 30355.2 | 10248.4054 | 1237.8243 |  |  |  |  | 82415.7915 | 392.4562 | 119349.2855 | 568.3299
2011-06-01 | 6 | 2011 | 23677.5825 | 29172.2229 | 30355.2 | 6677.6175 | 1182.9771 |  |  |  |  | 93921.3904 | 447.2447 | 115716.8699 | 551.0327
2011-07-01 | 7 | 2011 | 24763.325 | 30121.5519 | 30355.2 | 5591.875 | 233.6481 |  |  |  |  | 101502.4559 | 483.345 | 123465.3058 | 587.93
2011-08-01 | 8 | 2011 | 25273.9021 | 30519.8698 | 30355.2 | 5081.2979 | -164.6698 |  |  |  |  | 103595.2618 | 493.3108 | 125097.9723 | 595.7046
2011-09-01 | 9 | 2011 | 16812.2089 | 32957.9319 | 30355.2 | 13542.9911 | -2602.7319 |  |  |  |  | 66688.6508 | 317.565 | 130733.5656 | 622.5408
2011-10-01 | 10 | 2011 | 7642.4526 | 20396.9121 | 13976.6 | 6334.1474 | -6420.3121 |  |  |  |  | 31325.6687 | 149.1699 | 83604.9549 | 398.1188
2011-11-01 | 11 | 2011 | 16862.1449 | 29174.9913 | 22870.8 | 6008.6551 | -6304.1913 |  |  |  |  | 66886.731 | 318.5082 | 115727.8511 | 551.085
2011-12-01 | 12 | 2011 | 17479.8155 | 29585.1709 | 22870.8 | 5390.9845 | -6714.3709 |  |  |  |  | 71648.0603 | 341.1812 | 121266.7323 | 577.4606
2012-01-01 | 1 | 2012 | 19544.3397 | 31739.8332 | 22870.8 | 3326.4603 | -8869.0332 |  |  |  |  | 80110.3438 | 381.4778 | 130098.4835 | 619.5166
2012-02-01 | 2 | 2012 | 20029.8209 | 29288.5137 | 22870.8 | 2840.9791 | -6417.7137 |  |  |  |  | 76803.4914 | 365.7309 | 112305.5529 | 534.7883
2012-03-01 | 3 | 2012 | 17899.3062 | 29695.7021 | 22870.8 | 4971.4938 | -6824.9021 |  |  |  |  | 73367.5118 | 349.3691 | 121719.7892 | 579.618
2012-04-01 | 4 | 2012 | 10371.5115 | 17657.6204 | 13976.6 | 3605.0885 | -3681.0204 |  |  |  |  | 41140.4662 | 195.907 | 70042.1277 | 333.5339
2012-05-01 | 5 | 2012 | 19989.1311 | 29075.2794 | 30355.2 | 10366.0689 | 1279.9206 |  |  |  |  | 81933.5004 | 390.1595 | 119176.7367 | 567.5083
2012-06-01 | 6 | 2012 | 23413.5092 | 28987.9235 | 30355.2 | 6941.6908 | 1367.2765 |  |  |  |  | 92873.8959 | 442.2566 | 114985.8131 | 547.5515
2012-07-01 | 7 | 2012 | 24986.2371 | 29950.4517 | 30355.2 | 5368.9629 | 404.7483 |  |  |  |  | 102416.1509 | 487.696 | 122763.983 | 584.5904
2012-08-01 | 8 | 2012 | 25263.1663 | 30287.3149 | 30355.2 | 5092.0337 | 67.8851 |  |  |  |  | 103551.2567 | 493.1012 | 124144.7522 | 591.1655
2012-09-01 | 9 | 2012 | 16220.3203 | 32798.5353 | 30355.2 | 14134.8797 | -2443.3353 |  |  |  |  | 64340.8181 | 306.3848 | 130101.2902 | 619.53
2012-10-01 | 10 | 2012 | 7774.6173 | 20462.6713 | 13976.6 | 6201.9827 | -6486.0713 |  |  |  |  | 31867.3988 | 151.7495 | 83874.4956 | 399.4024
2012-11-01 | 11 | 2012 | 17140.1812 | 29098.3258 | 22870.8 | 5730.6188 | -6227.5258 |  |  |  |  | 67989.612 | 323.7601 | 115423.7437 | 549.6369
2012-12-01 | 12 | 2012 | 17173.663 | 29478.416 | 22870.8 | 5697.137 | -6607.616 |  |  |  |  | 70393.1711 | 335.2056 | 120829.1546 | 575.3769
2013-01-01 | 1 | 2013 | 19463.1741 | 31679.4415 | 22870.8 | 3407.6259 | -8808.6415 |  |  |  |  | 79777.6541 | 379.8936 | 129850.9436 | 618.3378
2013-02-01 | 2 | 2013 | 19649.6354 | 29200.801 | 22870.8 | 3221.1646 | -6330.001 |  |  |  |  | 72747.5595 | 346.4169 | 108108.2146 | 514.801
2013-03-01 | 3 | 2013 | 17566.098 | 29522.4638 | 22870.8 | 5304.702 | -6651.6638 |  |  |  |  | 72001.7241 | 342.8654 | 121009.7022 | 576.2367
2013-04-01 | 4 | 2013 | 10473.813 | 17547.8515 | 13976.6 | 3502.787 | -3571.2515 |  |  |  |  | 41546.2633 | 197.8393 | 69606.7095 | 331.4605
2013-05-01 | 5 | 2013 | 19853.5856 | 28887.8302 | 30355.2 | 10501.6144 | 1467.3698 |  |  |  |  | 81377.9129 | 387.5139 | 118408.4009 | 563.8495
2013-06-01 | 6 | 2013 | 23017.6299 | 28777.4289 | 30355.2 | 7337.5701 | 1577.7711 |  |  |  |  | 91303.5695 | 434.7789 | 114150.8486 | 543.5755
2013-07-01 | 7 | 2013 | 25278.3387 | 29964.1412 | 30355.2 | 5076.8613 | 391.0588 |  |  |  |  | 103613.4471 | 493.3974 | 122820.0949 | 584.8576
2013-08-01 | 8 | 2013 | 25126.3843 | 30109.6615 | 30355.2 | 5228.8157 | 245.5385 |  |  |  |  | 102990.6008 | 490.4314 | 123416.5685 | 587.6979
2013-09-01 | 9 | 2013 | 16093.4365 | 32687.0682 | 30355.2 | 14261.7635 | -2331.8682 |  |  |  |  | 63837.511 | 303.9881 | 129659.1361 | 617.4245
2013-10-01 | 10 | 2013 | 7710.4265 | 20376.9299 | 13976.6 | 6266.1735 | -6400.3299 |  |  |  |  | 31604.2867 | 150.4966 | 83523.05 | 397.7288
2013-11-01 | 11 | 2013 | 16801.1143 | 28873.5299 | 22870.8 | 6069.6857 | -6002.7299 |  |  |  |  | 66644.642 | 317.3554 | 114532.0504 | 545.3907
2013-12-01 | 12 | 2013 | 17408.8064 | 29310.2082 | 22870.8 | 5461.9936 | -6439.4082 |  |  |  |  | 71357.0011 | 339.7952 | 120139.6873 | 572.0937
2014-01-01 | 1 | 2014 | 19474.5234 | 31505.1423 | 22870.8 | 3396.2766 | -8634.3423 |  |  |  |  | 79824.1738 | 380.1151 | 129136.5082 | 614.9358
2014-02-01 | 2 | 2014 | 19707.3527 | 29034.2759 | 22870.8 | 3163.4473 | -6163.4759 |  |  |  |  | 72961.2424 | 347.4345 | 107491.6997 | 511.8652
2014-03-01 | 3 | 2014 | 17672.6156 | 29344.5464 | 22870.8 | 5198.1844 | -6473.7464 |  |  |  |  | 72438.3293 | 344.9444 | 120280.4363 | 572.764
2014-04-01 | 4 | 2014 | 10506.8654 | 17433.6747 | 13976.6 | 3469.7346 | -3457.0747 |  |  |  |  | 41677.3716 | 198.4637 | 69153.8068 | 329.3038
2014-05-01 | 5 | 2014 | 19744.8443 | 28650.0503 | 30355.2 | 10610.3557 | 1705.1497 |  |  |  |  | 80932.1926 | 385.3914 | 117433.7643 | 559.2084
2014-06-01 | 6 | 2014 | 23131.0888 | 28708.2615 | 30355.2 | 7224.1112 | 1646.9385 |  |  |  |  | 91753.6248 | 436.922 | 113876.4837 | 542.269
2014-07-01 | 7 | 2014 | 25231.9392 | 29891.6578 | 30355.2 | 5123.2608 | 463.5422 |  |  |  |  | 103423.26 | 492.4917 | 122522.9923 | 583.4428
2014-08-01 | 8 | 2014 | 25033.1972 | 29926.0654 | 30355.2 | 5322.0028 | 429.1346 |  |  |  |  | 102608.6359 | 488.6126 | 122664.0257 | 584.1144
2014-09-01 | 9 | 2014 | 15912.4775 | 32586.565 | 30355.2 | 14442.7225 | -2231.365 |  |  |  |  | 63119.7046 | 300.57 | 129260.4719 | 615.5261
2014-10-01 | 10 | 2014 | 7659.1754 | 20289.5142 | 13976.6 | 6317.4246 | -6312.9142 |  |  |  |  | 31394.2136 | 149.4963 | 83164.7417 | 396.0226
2014-11-01 | 11 | 2014 | 16765.8232 | 28662.9577 | 22870.8 | 6104.9768 | -5792.1577 |  |  |  |  | 66504.6536 | 316.6888 | 113696.7777 | 541.4132
2014-12-01 | 12 | 2014 | 17593.5839 | 29154.553 | 22870.8 | 5277.2161 | -6283.753 |  |  |  |  | 72114.3859 | 343.4018 | 119501.6719 | 569.0556
2015-01-01 | 1 | 2015 | 19380.5532 | 31476.4886 | 22870.8 | 3490.2468 | -8605.6886 |  |  |  |  | 79438.9988 | 378.2809 | 129019.0593 | 614.3765
2015-02-01 | 2 | 2015 | 19765.0341 | 28832.8867 | 22870.8 | 3105.7659 | -5962.0867 |  |  |  |  | 73174.7924 | 348.4514 | 106746.1098 | 508.3148
2015-03-01 | 3 | 2015 | 17889.2045 | 29207.5007 | 22870.8 | 4981.5955 | -6336.7007 |  |  |  |  | 73326.1059 | 349.1719 | 119718.6991 | 570.089
2015-04-01 | 4 | 2015 | 10548.4142 | 17315.3176 | 13976.6 | 3428.1858 | -3338.7176 |  |  |  |  | 41842.1826 | 199.2485 | 68684.322 | 327.0682
2015-05-01 | 5 | 2015 | 19617.4202 | 28346.6773 | 30355.2 | 10737.7798 | 2008.5227 |  |  |  |  | 80409.8938 | 382.9043 | 116190.2679 | 553.287
2015-06-01 | 6 | 2015 | 23305.772 | 28774.5245 | 30355.2 | 7049.428 | 1580.6755 |  |  |  |  | 92446.537 | 440.2216 | 114139.3277 | 543.5206
2015-07-01 | 7 | 2015 | 25606.8933 | 30055.3346 | 30355.2 | 4748.3067 | 299.8654 |  |  |  |  | 104960.1605 | 499.8103 | 123193.8877 | 586.6376
2015-08-01 | 8 | 2015 | 24997.2489 | 29962.2186 | 30355.2 | 5357.9511 | 392.9814 |  |  |  |  | 102461.2873 | 487.9109 | 122812.2141 | 584.8201
2015-09-01 | 9 | 2015 | 15831.1867 | 32336.5585 | 30355.2 | 14524.0133 | -1981.3585 |  |  |  |  | 62797.25 | 299.0345 | 128268.7763 | 610.8037
2015-10-01 | 10 | 2015 | 7520.5193 | 20107.9742 | 13976.6 | 6456.0807 | -6131.3742 |  |  |  |  | 30825.8758 | 146.7899 | 82420.6268 | 392.4792
2015-11-01 | 11 | 2015 | 16893.2913 | 28359.8451 | 22870.8 | 5977.5087 | -5489.0451 |  |  |  |  | 67010.279 | 319.0966 | 112494.4272 | 535.6877
2015-12-01 | 12 | 2015 | 17677.8611 | 28943.5178 | 22870.8 | 5192.9389 | -6072.7178 |  |  |  |  | 72459.8301 | 345.0468 | 118636.6592 | 564.9365
2016-01-01 | 1 | 2016 | 19315.487 | 31215.8685 | 22870.8 | 3555.313 | -8345.0685 |  |  |  |  | 79172.299 | 377.0109 | 127950.803 | 609.2895
2016-02-01 | 2 | 2016 | 19866.4806 | 28553.2336 | 22870.8 | 3004.3194 | -5682.4336 |  |  |  |  | 76177.1701 | 362.7484 | 109486.153 | 521.3626
2016-03-01 | 3 | 2016 | 18043.5054 | 28957.758 | 22870.8 | 4827.2946 | -6086.958 |  |  |  |  | 73958.5704 | 352.1837 | 118695.0283 | 565.2144
2016-04-01 | 4 | 2016 | 10535.5589 | 17100.7317 | 13976.6 | 3441.0411 | -3124.1317 |  |  |  |  | 41791.1897 | 199.0057 | 67833.1285 | 323.0149
2016-05-01 | 5 | 2016 | 19591.2223 | 28094.7221 | 30355.2 | 10763.9777 | 2260.4779 |  |  |  |  | 80302.511 | 382.3929 | 115157.5279 | 548.3692
2016-06-01 | 6 | 2016 | 23278.2322 | 28497.7324 | 30355.2 | 7076.9678 | 1857.4676 |  |  |  |  | 92337.2955 | 439.7014 | 113041.3821 | 538.2923
2016-07-01 | 7 | 2016 | 24860.1998 | 29514.7811 | 30355.2 | 5495.0002 | 840.4189 |  |  |  |  | 101899.5365 | 485.2359 | 120978.2116 | 576.0867
2016-08-01 | 8 | 2016 | 25537.1489 | 29994.9963 | 30355.2 | 4818.0511 | 360.2037 |  |  |  |  | 104674.2846 | 498.449 | 122946.5669 | 585.4598
2016-09-01 | 9 | 2016 | 15632.8453 | 32046.0692 | 30355.2 | 14722.3547 | -1690.8692 |  |  |  |  | 62010.4929 | 295.2881 | 127116.498 | 605.3167
2016-10-01 | 10 | 2016 | 7397.8789 | 19909.3692 | 13976.6 | 6578.7211 | -5932.7692 |  |  |  |  | 30323.1848 | 144.3961 | 81606.5641 | 388.6027
2016-11-01 | 11 | 2016 | 17017.114 | 27997.0284 | 22870.8 | 5853.686 | -5126.2284 |  |  |  |  | 67501.4438 | 321.4354 | 111055.2494 | 528.8345
2016-12-01 | 12 | 2016 | 17706.5427 | 28616.3319 | 22870.8 | 5164.2573 | -5745.5319 |  |  |  |  | 72577.3931 | 345.6066 | 117295.5557 | 558.5503
2017-01-01 | 1 | 2017 | 19489.0011 | 30965.6058 | 22870.8 | 3381.7989 | -8094.8058 |  |  |  |  | 79883.5164 | 380.3977 | 126925.0005 | 604.4048
2017-02-01 | 2 | 2017 | 19881.8209 | 28285.527 | 22870.8 | 2988.9791 | -5414.727 |  |  |  |  | 73607.1644 | 350.5103 | 104719.6556 | 498.665
2017-03-01 | 3 | 2017 | 18186.5127 | 28683.0039 | 22870.8 | 4684.2873 | -5812.2039 |  |  |  |  | 74544.7431 | 354.975 | 117568.8377 | 559.8516
2017-04-01 | 4 | 2017 | 10530.5106 | 16896.5941 | 13976.6 | 3446.0894 | -2919.9941 |  |  |  |  | 41771.1644 | 198.9103 | 67023.3801 | 319.159
2017-05-01 | 5 | 2017 | 19554.0474 | 27851.4011 | 30355.2 | 10801.1526 | 2503.7989 |  |  |  |  | 80150.1349 | 381.6673 | 114160.1792 | 543.6199
2017-06-01 | 6 | 2017 | 23204.6321 | 28228.4679 | 30355.2 | 7150.5679 | 2126.7321 |  |  |  |  | 92045.3474 | 438.3112 | 111973.2959 | 533.2062
2017-07-01 | 7 | 2017 | 24915.4911 | 29288.8298 | 30355.2 | 5439.7089 | 1066.3702 |  |  |  |  | 102126.1699 | 486.3151 | 120052.0591 | 571.6765
2017-08-01 | 8 | 2017 | 25513.1803 | 29794.5238 | 30355.2 | 4842.0197 | 560.6762 |  |  |  |  | 104576.0399 | 497.9811 | 122124.8497 | 581.5469
2017-09-01 | 9 | 2017 | 15483.783 | 31656.5423 | 30355.2 | 14871.417 | -1301.3423 |  |  |  |  | 61419.2106 | 292.4724 | 125571.3697 | 597.9589
2017-10-01 | 10 | 2017 | 7485.0988 | 19762.054 | 13976.6 | 6491.5012 | -5785.454 |  |  |  |  | 30680.6904 | 146.0985 | 81002.7337 | 385.7273
2017-11-01 | 11 | 2017 | 17062.3982 | 27652.0539 | 22870.8 | 5808.4018 | -4781.2539 |  |  |  |  | 67681.0717 | 322.2908 | 109686.8461 | 522.3183
2017-12-01 | 12 | 2017 | 17729.8662 | 28307.306 | 22870.8 | 5140.9338 | -5436.506 |  |  |  |  | 72672.9937 | 346.0619 | 116028.8888 | 552.5185
2018-01-01 | 1 | 2018 | 19645.6035 | 30719.238 | 22870.8 | 3225.1965 | -7848.438 |  |  |  |  | 80525.4142 | 383.4544 | 125915.1631 | 599.596
2018-02-01 | 2 | 2018 | 19940.6541 | 28030.5209 | 22870.8 | 2930.1459 | -5159.7209 |  |  |  |  | 73824.9787 | 351.5475 | 103775.5631 | 494.1693
2018-03-01 | 3 | 2018 | 18226.3271 | 28384.012 | 22870.8 | 4644.4729 | -5513.212 |  |  |  |  | 74707.9387 | 355.7521 | 116343.2992 | 554.0157
2018-04-01 | 4 | 2018 | 11175.3057 | 16595.3839 | 13976.6 | 2801.2943 | -2618.7839 |  |  |  |  | 44328.8604 | 211.0898 | 65828.5757 | 313.4694
2018-05-01 | 5 | 2018 | 20504.2516 | 27230.8633 | 30355.2 | 9850.9484 | 3124.3367 |  |  |  |  | 84044.9292 | 400.2139 | 111616.6549 | 531.5079
2018-06-01 | 6 | 2018 | 23644.2632 | 27451.4703 | 30355.2 | 6710.9368 | 2903.7297 |  |  |  |  | 93789.2232 | 446.6153 | 108891.195 | 518.5295
2018-07-01 | 7 | 2018 | 25998.2165 | 27775.3365 | 30355.2 | 4356.9835 | 2579.8635 |  |  |  |  | 106564.1561 | 507.4484 | 113848.3977 | 542.1352
2018-08-01 | 8 | 2018 | 26403.9638 | 28142.6049 | 30355.2 | 3951.2362 | 2212.5951 |  |  |  |  | 108227.2746 | 515.368 | 115353.795 | 549.3038
2018-09-01 | 9 | 2018 | 20059.3994 | 28232.7275 | 30355.2 | 10295.8006 | 2122.4725 |  |  |  |  | 79569.2163 | 378.901 | 111990.1924 | 533.2866
2018-10-01 | 10 | 2018 | 11214.477 | 17696.4471 | 13976.6 | 2762.123 | -3719.8471 |  |  |  |  | 45967.0486 | 218.8907 | 72536.012 | 345.4096
2018-11-01 | 11 | 2018 | 18505.2015 | 26960.9202 | 22870.8 | 4365.5985 | -4090.1202 |  |  |  |  | 73404.2106 | 349.5439 | 106945.3399 | 509.2635
2018-12-01 | 12 | 2018 | 18786.2947 | 27786.7502 | 22870.8 | 4084.5053 | -4915.9502 |  |  |  |  | 77003.1915 | 366.6819 | 113895.1815 | 542.358