## Sheet2
These bids have not been run by the traders, Prices are not for transaction purposes
Summary: Wolf Hollow ERCOT - 10yr Tolling Bid
Gas Adder 10 cents/MMBtu | Valued as | Correlation | Capacity ($/Kwm) | Spread Option Values
Yes | Intrinsic | None | 2.38 | 127995458
Yes | Spread Option | 99.9% | 2.45 | 132116870
Assumptions:
Term: 6/1/02-5/31/12
Curve Discounted for Non-Firm Power (75% summer, 87% Rest of Year)
Total Capacity of 730MW
7x16 Pricing
Ship Channel + 0.10
Heat Rate 6,750
No Start up costs
No VOM
No max run hours
100% Availability
Spread Option Values discounted at LIBOR AA rate
Vol Scalars of 1
Curve date 4/24/00
Summary: Corpus Christi ERCOT - 10yr Tolling Bid
Gas Adder 10 cents/MMBtu | Valued as | Correlation | Capacity ($/Kwm) | Spread Option Values
Yes | Intrinsic | None | 3.4 | 125463736.8305
Yes | Spread Option | 99.9% | 3.5 | 129245767.0492
Assumptions:
Term: 6/1/02-5/31/12
Curve Discounted for Non-Firm Power (75% summer, 87% Rest of Year)
Total Capacity of 500MW
7x16 Pricing
Ship Channel + 0.10
Heat Rate 6,000 Peak, 5,300 OffPeak
No Start up costs
No VOM
No max run hours
100% Availability
Spread Option Values discounted at LIBOR AA rate
Vol Scalars of 1
Curve date 4/24/00