## NNG Projects
NORTHERN NATURAL GAS COMPANY
2001 - 2003 OPERATING & STRATEGIC PLAN
Net Income From Capital Expenditures
(Dollars In Millions)
|  |  | Disc/ |  |  | WO | Contr |  |  | Total | MM |  |  |  | Pre-Tax Impact |  |  | Unlev
Process Category | Department |  | Non Disc |  | State | # | Proj | Project Name |  | Project | Btu/d | CAPITAL EXPENDITURES |  |  | (Incl Interest- 9.5%) |  |  | DCF |  | Comments
[12 empty] | 2001 | 2002 | 2003 | 2001 | 2002 | 2003
DISCRETIONARY
Marketing Projects
Marketing | Marketing |  | Disc |  | TX |  | C | Discretionary Marketing Pool | 1) |  |  | 20 | 20 | 20 | 1.6429 | 7.9244 | 13.9835 | 15% |  | Discretionary Pool. Approval requires 15% or greater return.
Marketing | Marketing |  | Disc |  | TX |  | NC | Automobile - Minneaspolis |  |  |  | 0.03 | [7 empty] | Replace Minneapolis Pool Car
Business Analysis Phase II
[8 empty] | Total Marketing Disc |  |  |  | 20.03 | 20 | 20 | 1.6429 | 7.9244 | 13.9835
Marketing- Systems Projects Disc
Sys. & Comp. Marketing | Marketing |  | Disc |  | TX |  | NC | Technical Commodity |  |  |  | 0.3 | [7 empty] | Marketing dollars to purchase software/market data
Sys. & Comp. Marketing | Marketing |  | Disc |  | TX |  | C | MFE Enhancements |  |  |  | 0.1 | [7 empty] | Enhancements to support new Marketing services
Sys. & Comp. Marketing | Marketing |  | Disc |  | TX |  | C | Marketing DataMart for Reptg |  |  |  | 0.5 | [7 empty] | Create data environment to support Marketing reporting
Sys. & Comp. Marketing | Bus. Services |  | Disc |  | TX |  | C | Market Intelligence |  |  |  | 0.1 | [7 empty] | Sweep competitior web-sites for capacity and pricing data
[8 empty] | Total Marketing-Systems Disc |  |  |  | 1 | 0 | 0 | 0 | 0 | 0
1) See attached list for potential Pool Projects on Page ____.
DISCRETIONARY
Operations Projects
Location
Special Projects | Operations | 1 | Disc | Var | TX |  | C | Install EFM On NNG |  |  |  | 0.25 | [7 empty] | 3 Year Prpject To Install/Upgrade 805 Sites New EFM On NNG.
Special Projects | Operations | 2 | Disc | Var | NE |  | C | Var Systems Proj-SAP |  |  |  | 0.4 | [7 empty] | Enhanching current programs or creating new interfaces to SAP.
Measurement | Operations | 3 | Disc | Var | IA |  | C | Skylemetry |  |  |  | 0.15 | [7 empty] | Basic unit with pressure and temperature recording in DM and MPLS.
Shallow/Exp Pipe | Operations | 4 | Disc | Holcomb | KS |  | C | KSM118 Line Lowering |  |  |  | 0.733 | [7 empty] | Relocate to proper depth of PL to insure that safey, DOT and ET&S guidelines are met.
Special Projects | Operations | 5 | Disc | Var | TX |  | C | On-Line Model - DSS |  |  |  | 0.102 | [7 empty] | Developing an on-line (real-time) model for the NNG system.
Compressor Mods | Operations | 6 | Disc | Spraberry | TX |  | C | Spraberry PLC Panels |  |  |  | 0.6 | [7 empty] | Install new PLC panels at the Spraberry Compressor Station.
Shallow/Exp Pipe | Operations | 7 | Disc | Eunice | NM |  | C | Rehab Kermit/Hobbs |  |  |  | 0.716 | [7 empty] | Install coating on estimated 7,000 Ft. of 16" Kermit to Hobbs line no. NMM20701.
Compressor Mods | Operations | 8 | Disc | Wrenshall | MN |  | C | Suct Vlv A,B,C Pumps |  |  |  | 0.035 | [7 empty] | Replace 3, 10" gate valves on the 3 LNG pumps inlet side of the LNG pump pot.
Pipeline Maintenance | Operations | 9 | Disc | SoSiouxCty | NE |  | C | Platte Rvr Brdg Rem |  |  |  | 0.391 | [7 empty] | Abandon approx 2500' of NEM 50101 at the Platte River and remove both the A & B lines
Compressor Mods | Operations | 10 | Disc | Andrews | TX |  | C | Recycle Vlv/Brownfld |  |  |  | 0.034 | [7 empty] | Install 8 inch control valve w/actuator and positioner on block valve crossover at the Brownfield.
Pipeline Maintenance | Operations | 12 | Disc | Beaver | KS |  | C | Bvr Co 2 Disc Recoat |  |  |  | 0.099 | [7 empty] | Recoat approximately 180' of 8", 250' of 16" discharge pipe.
Measurement | Operations | 13 | Disc | MOPS | TX |  | C | Various EFM Projects |  |  |  | 0.041 | [7 empty] | Remove eleven existing MOPS measurement Daniels EFM's and replace with Bristol 3530 EFM's.
Shallow/Exp Pipe | Operations | 14 | Disc | Oakland | IA |  | C | Macedonia BL Rvr Cr |  |  |  | 0.178 | [7 empty] | Replace existing crossing of approx. 1250' of 2.375", .154" wall GR B pipe.
P/L Integrity | Operations | 15 | Disc | Monahans | TX |  | C | Recoat 24" Line |  |  |  | 0.955 | [7 empty] | Recoat 7,925 Ft. of 24" mainline pipe, MP 26.877 TO MP 28.378, to include removal of asbestos.
Compressor Mods | Operations | 17 | Disc | Wrenshall | MN |  | C | Wrenshall Automation |  |  |  | 1.2 | [7 empty] | Fully automate Wrenshall LNG to achieve 0 man shift.
Special Projects | Operations | 18 | Disc | MOPS | TX |  | C | Austwell Gen Replcmt |  |  |  | 0.02 | [7 empty] | Replace the existing emergency generator at the Austwell Tower with a like size.
Compressor Mods | Operations | 19 | Disc | Sunray | TX |  | C | Sunray Water Lines |  |  |  | 0.061 | [7 empty] | Install new water lines coming from #4, #5, and #6 water wells to the cold well in the auxiliary building.
Safety | Operations | 22 | Disc | Farmington | MN |  | C | Farm #3 Suct Vlv |  |  |  | 0.015 | [7 empty] | Replace unit 3 Suct Valve at Farmington Compressor.
Measurement | Operations | 24 | Disc | MOPS | TX |  | C | Replc H20 Monitor |  |  |  | 0.023 | [7 empty] | Replace existing Ranarex moisture monitor to monitor water content of gas stream flowing .
Compressor Mods | Operations | 26 | Disc | Andrews | TX |  | C | Remote Start Seminol |  |  |  | 0.166 | [7 empty] | Install a Hilliard 450 series gas starter and PLC controller on the Seminole Turbine
Compressor Mods | Operations | 28 | Disc | Beaver 2 | KS |  | C | Bvr 2 Interstg Cool |  |  |  | 0.063 | [7 empty] | Install a discharge cooler bundle on unit #6.
Compressor Mods | Operations | 29 | Disc | Ventura | IA |  | C | Vent Shafer Oper #13 |  |  |  | 0.029 | [7 empty] | Install new lead line operators on Unit #13 suction and discharge valves.
Shallow/Exp Pipe | Operations | 32 | Disc | Palmyra | NE |  | C | Johnson BL MP 0.932 |  |  |  | 0.175 | [7 empty] | Replace and lower approximately 500 feet of the 2" Johnson Branchline at the Muddy Creek.
Compressor Mods | Operations | 35 | Disc | Beaver | OK |  | C | SE 24-A Sctn X-Over |  |  |  | 0.043 | [7 empty] | Install two 4" 600# pluf valves and one 4" Fisher control valve between the SE 24" suction and the A-Line.
P/L Integrity | Operations | 36 | Disc | Harrisburg | MN |  | C | Worthing Heater |  |  |  | 0.019 | [7 empty] | Install new heater.
Compressor Mods | Operations | 37 | Disc | Hugoton | KS |  | C | St#6-5 Engine Panel |  |  |  | 0.063 | [7 empty] | Install Altronic panel to replace Murphy panel. Rewire and replumb twenty (20) end devices.
Compressor Mods | Operations | 38 | Disc | Waterloo | IA |  | C | Waterloo No. 5 PLC |  |  |  | 0.213 | [7 empty] | Install TI555 PLC for Waterloo Unit #5. Convert existing program to TI APT.
Compressor Mods | Operations | 39 | Disc | Tescott | KS |  | C | Scrubber Dump Tank |  |  |  | 0.14 | [7 empty] | Replace 300 gallon tank with larger capacity tank (400 barrel capacity) at the scrubbers in the plant yard.
P/L Integrity | Operations | 40 | Disc | Eunice | NM |  | C | 26 Block Vlv MP 12.7 |  |  |  | 0.213 | [7 empty] | Install 26" block valve on the Hobbs to Plains 26" mainline Class 3 location.
Compressor Mods | Operations | 41 | Disc | Mullinville | KS |  | C | Mul Automation 19-24 |  |  |  | 0.85 | [7 empty] | Install six unit PLC's and one station PLC to provide automatic compressor load .
Compressor Mods | Operations | 42 | Disc | Garner | IA |  | C | Garner Automation |  |  |  | 0.2 | [7 empty] | Fully automate Garner LNG to achieve 0 man shift.
Compressor Mods | Operations | 44 | Disc | Redfield | IA |  | C | Rfld. #1 Unit Cntrl |  |  |  | 0.228 | [7 empty] | Installation of solid state, PLC based control equipment.
Compressor Mods | Operations | 45 | Disc | Palmyra | NE |  | C | Turbine Gas Starter |  |  |  | 0.055 | [7 empty] | Remove the under-powered GE steam turbine starter and install a Hilliard 450 starter.
DISCRETIONARY
Operations Projects Disc. Continued
Measurement | Operations | 46 | Disc | Sunray | TX |  | C | CIGC 3051 Transmitrs |  |  |  | 0.019 | [7 empty] | Install close mount 3051 transmitters at CIG Dumas Interconnect with phone line.
Compressor Mods | Operations | 47 | Disc | Mullinville | KS |  | C | Cu MEP Controls Upgr |  |  |  | 1.015 | [7 empty] | Upgrade MEP unit controls and install active valves on unit compressors, units #4, #5 & #6.
P/L Integrity | Operations | 48 | Disc | Farmington | MN |  | C | BRF #3 Heater Replc |  |  |  | 0.022 | [7 empty] | Remove existing heater. Install a slab-mounted waterbath heater outside of the existing building.
Measurement | Operations | 50 | Disc | Redfield | IA |  | C | Rfld RTU & Micro Mo |  |  |  | 0.472 | [7 empty] | Install Micro Motion measuring unit, Pressure Transmitter and Water Meter to 50 Top wells.
Compressor Mods | Operations | 53 | Disc | Eunice | NM |  | C | Kermit Turbine Blwdn |  |  |  | 0.02 | [7 empty] | Install flanged type closures with bleeders on each of the ESD blowdowns at the Kermit Turbine
Compressor Mods | Operations | 54 | Disc | Ellis Co | KS |  | C | Ellis 1-3 Panel |  |  |  | 0.092 | [7 empty] | Install fail safe eltronic shutdowns OPTO PLC processor.
Environmental | Operations | 55 | Disc | Sublette | KS |  | C | Meade Cut Tank |  |  |  | 0.011 | [7 empty] | Install a double wall 40 barrel tank with associated piping.
Special Projects | Operations | 56 | Disc | Redfield | IA |  | C | Mt. Simon Dehy Ph 2 |  |  |  | 0.184 | [7 empty] | Install new line heaters and separators at the Kern 5, Hum 1, Crase 1, Mad 3 well runs.
Pipeline Maintenance | Operations | 58 | Disc | Eunice | NM |  | C | Auto Vlv 835 BXB05 |  |  |  | 0.027 | [7 empty] | Install automax type double acting pneumatic actuator, visual indicator, manual gear override .
Compressor Mods | Operations | 59 | Disc | Ellis Co | KS |  | C | Ellis 2-3 Panel |  |  |  | 0.092 | [7 empty] | Install electronic shutdowns and OPTO PLC processor.
P/L Integrity | Operations | 60 | Disc | Carlton | MN |  | C | Iron River Htr Replc |  |  |  | 0.011 | [7 empty] | Replace existing gas heater with new heater.
Compressor Mods | Operations | 61 | Disc | Hugoton | KS |  | C | Stvs1,1 Rod/MnBrg SD |  |  |  | 0.044 | [7 empty] | Install electronic main bearing and rod bearing protection devices and an electronic temp. scanner.
Compressor Mods | Operations | 62 | Disc | Hugoton | KS |  | C | Stvs1,2 Rod/MnBrg SD |  |  |  | 0.044 | [7 empty] | Install electronic main bearing and rod bearing protection devices and an electronic temp. scanner.
Special Projects | Operations | 63 | Disc | Redfield | IA |  | C | Elgin Dehy & Pig Ph1 |  |  |  | 1.777 | [7 empty] | This will be the first year of a three year project to replace Elgin Dehy's with new line heaters.
Compressor Mods | Operations | 64 | Disc | Bushton | KS |  | C | Grounding Grid |  |  |  | 0.393 | [7 empty] | Install a complete compressor station grounding grid of 2/0 ground cable PURPOSE: Safely ground the compressor station and prevent possible injury and equipment failuresw
P/L Integrity | Operations | 65 | Disc | Andrews | TX |  | C | Recoat/Lwr TM15501 |  |  |  | 0.312 | [7 empty] | Sandblast, recoat and lower 1500 feet of 30 inch pipe south of the Gaines County crossover.
Compressor Mods | Operations | 66 | Disc | Mullinville | KS |  | C | Cu Plt Process Upgd |  |  |  | 0.044 | [7 empty] | Replace existing ISSC Processor with a Siemens Processor.
Compressor Mods | Operations | 67 | Disc | No Branch | MN |  | C | NoBr Air Dryer Replc |  |  |  | 0.016 | [7 empty] | Remove existing air dryer and replace with new style heaterless air dryer.
Compressor Mods | Operations | 68 | Disc | Hugoton | KS |  | C | Stvs1,3 Rod/MnBrg SD |  |  |  | 0.044 | [7 empty] | Install electronic main bearing and rod bearing protection devices and an electronic temp. scanner.
Compressor Mods | Operations | 69 | Disc | Ogden | IA |  | C | Valve 60 Ogden Plant |  |  |  | 0.029 | [7 empty] | Install a Schafer double yoke type valve operator on Ogden Compressor Yard Valve #60.
Shallow/Exp Pipe | Operations | 70 | Disc | So Omaha | NE |  | C | Omaha 3rd Creek xing |  |  |  | 0.137 | [7 empty] | Replace and lower approximately 200 feet of the 16" Omaha 3rd branchline, milepost 16.86
Compressor Mods | Operations | 71 | Disc | Spraberry | TX |  | C | Spraberry Air Lines |  |  |  | 0.178 | [7 empty] | Replace 2130 feet of 4" air line, miscellaneous 4" fittings, 1568 feet of 2" pipe.
P/L Integrity | Operations | 73 | Disc | Owatonna | MN |  | C | Lake City Heater |  |  |  | 0.023 | [7 empty] | Remove existing heater. Install new heater with 250,000 BTU Petrofab Heater.
Compressor Mods | Operations | 74 | Disc | Hugoton | KS |  | C | Stvs2,2 Rod/MnBrg SD |  |  |  | 0.044 | [7 empty] | Install electronic main bearing and rod bearing protection devices and an electronic temp. scanner.
Compressor Mods | Operations | 75 | Disc | Redfield | IA |  | C | Rdfld StPeter Regen |  |  |  | 0.017 | [7 empty] | Install 4" gas piping and valving to use C-line gas for use in the SP regeneration process.
Compressor Mods | Operations | 76 | Disc | Clifton | KS |  | C | SUTC Aftercoolers |  |  |  | 0.116 | [7 empty] | Replace the existing open, fresh water towers with a closed loop on units #27 & #28.
Compressor Mods | Operations | 77 | Disc | Sunray | TX |  | C | Sunray Cold Well Pum |  |  |  | 0.028 | [7 empty] | Install pumps, column pipe, and pump shafts on each of the three (3) cold wells.
Pipeline Maintenance | Operations | 78 | Disc | Lyons | KS |  | C | Lyons Catalytic Htrs |  |  |  | 0.146 | [7 empty] | Install 18"x 24" catalytic heaters at 22 injection withdrawal storage well sites.
Environmental | Operations | 79 | Disc | Farmington | MN |  | C | Farm Port Silencer |  |  |  | 0.106 | [7 empty] | Portable blowdown silencer to include gooseneck trailer, piping header & flexible piping.
Compressor Mods | Operations | 80 | Disc | Sublette | KS |  | C | Sub #13 Rod/MnBrg SD |  |  |  | 0.044 | [7 empty] | Install electronic main bearing and rod bearing protection devices and an electronic temp. scanner.
Compressor Mods | Operations | 82 | Disc | Bushton | KS |  | C | SUTC Aftercoolers |  |  |  | 0.048 | [7 empty] | Install new aftercooler towers for SUTC's at Bushton #2 Bldg.
Compressor Mods | Operations | 83 | Disc | Sunray | TX |  | C | Sunray Lube System |  |  |  | 0.076 | [7 empty] | Install lubricating systems on four vertical engines at the Sunray Compressor Station.
Compressor Mods | Operations | 84 | Disc | Ellis Co | KS |  | C | Ellis 3-6 Panel |  |  |  | 0.092 | [7 empty] | Install electronic shutdowns and OPTO PLC processor.
Shallow/Exp Pipe | Operations | 85 | Disc | Ventura | IA |  | C | Britt B/L Replacment |  |  |  | 0.266 | [7 empty] | Replace approx 1000' of 4 1/2" O.D. acetylene welded pipe.
P/L Integrity | Operations | 87 | Disc | Oakland | IA |  | C | Avoca BL Replacement |  |  |  | 1.6 | [7 empty] | Remove and replace approx. 9 miles of existing Avoca BL from tap to Hwy 83.
Compressor Mods | Operations | 88 | Disc | Spearman | TX |  | C | Sprm #4 Eng Controls |  |  |  | 0.275 | [7 empty] | Replace the existing controls equipment and panel with new controls and panel on the #4 CB.
DISCRETIONARY
Operations Projects Disc. Continued
Compressor Mods | Operations | 89 | Disc | Mullinville | KS |  | C | Mul ESD Blwdn Closur |  |  |  | 0.127 | [7 empty] | Modify blowdowns to accept Yale enclosures to include hydro testing and new studs and nuts.
Corrosion/Mit | Operations | 90 | Disc | Carlton | MN |  | C | Carlton Plant Recoat |  |  |  | 0.374 | [7 empty] | Excavate and recoat plant discharge piping. 900' of 20" pipe.
Compressor Mods | Operations | 91 | Disc | Sunray | TX |  | C | Sunray Motor Starter |  |  |  | 0.062 | [7 empty] | Install 20 HP variable frequency drive motor starters and motors on two of the five gas fin fans.
Compressor Mods | Operations | 92 | Disc | Ashland | NE |  | C | CC2-2 CPU&ElcPnl |  |  |  | 0.074 | [7 empty] | Install electronic shutdowns and OPTO PLC Processor. Install Altronic CPU 95.
Shallow/Exp Pipe | Operations | 93 | Disc | Willmar | MN |  | C | Willmar B/L Lowering |  |  |  | 0.292 | [7 empty] | Replace pipe and lower approx 1,000 feet of the 10" Willmar B/L.
Compressor Mods | Operations | 94 | Disc | Hugoton | KS |  | C | Mt#6-1&2 Panel Repl |  |  |  | 0.215 | [7 empty] | Remove existing Murphy panels, provide and install a new PLC based panel with 1 button start.
Safety | Operations | 95 | Disc | SoSiouxCty | IA |  | C | LeMars Heater |  |  |  | 0.03 | [7 empty] | Replace existing gas heater with new heater.
Compressor Mods | Operations | 96 | Disc | Spraberry | TX |  | C | Spraberry PLC Phas 2 |  |  |  | 0.85 | [7 empty] | Install PLC control panels on units 7,8,9, & 10.
P/L Integrity | Operations | 97 | Disc | Mullinville | KS |  | C | CMS Moisture Monitor |  |  |  | 0.014 | [7 empty] | Install a moisture monitor on the CMS/NNG C-Line interconnect.
Corrosion/Mit | Operations | 98 | Disc | Carlton | MN |  | C | Superior TBS Rebuild |  |  |  | 0.13 | [7 empty] | Rebuild TBS building.
Special Projects | Operations | 99 | Disc | Redfield | IA |  | C | Rfld Kern #2 Sep. |  |  |  | 0.019 | [7 empty] | Install new vertical separator.
Compressor Mods | Operations | 100 | Disc | Andrews | TX |  | C | Remote Start Plainvw |  |  |  | 0.17 | [7 empty] | Install a Hilliard 450 series gas starter and PLC controller.
Compressor Mods | Operations | 101 | Disc | Cunningham | KS |  | C | #5 Conversion, Cunng |  |  |  | 0.354 | [7 empty] | Convert Unit #5 from diesel/natural gas engine to 100% natural gas.
P/L Integrity | Operations | 102 | Disc | Ventura | IA |  | C | Vent C Line Blk Vlv |  |  |  | 0.092 | [7 empty] | Install a 8" bypass valve assembly that will be operated by the station Siemens plc.
Compressor Mods | Operations | 103 | Disc | Spearman | TX |  | C | Sprmn/#2 Pstn Ck Vlv |  |  |  | 0.02 | [7 empty] | Replace the existing swing check valve with a piston type check valve.
Special Projects | Operations | 104 | Disc | Cunningham | KS |  | C | Cunn Wrhse Cool/Heat |  |  |  | 0.015 | [7 empty] | Replace warehouse heating and cooling system with two units at the Cunningham plant.
Special Projects | Operations | 105 | Disc | Gomez | TX |  | C | Gomez CO2 ByPass |  |  |  | 0.15 | [7 empty] | Install by pass line around Gomez CO2 plant to lower Gomez Compressor unit discharge pres.
Compressor Mods | Operations | 106 | Disc | Ventura | IA |  | C | Vent Shafer Oper #12 |  |  |  | 0.029 | [7 empty] | Replace lead-line valve operators on Unit #12 suction & discharge valves.
Special Projects | Operations | 107 | Disc | Beaver | OK |  | C | BvrMchShpLoadingDock |  |  |  | 0.02 | [7 empty] | Pour 20' x 91' concrete drive/dock on south end of machine shop.
Shallow/Exp Pipe | Operations | 108 | Disc | Ogden | IA |  | C | Lake City Exposed Ln |  |  |  | 0.079 | [7 empty] | Construct a flexible concrete revetment structure with suitable drainage.
Compressor Mods | Operations | 112 | Disc | Garner | IA |  | C | Garn C-032 Air Comp |  |  |  | 0.047 | [7 empty] | Remove existing Gardner Denver reciprocating 40 HP air compressors and install (2) Sullair 30.
Cathodic Protection | Operations | 141 | Disc. |  | VAR |  | C | Blanket Cathodic Protection |  |  |  | 0.091 | [7 empty] | Blanket Cathodic Protection
Large Volume Meters | Operations | 142 | Disc |  | VAR |  | C | Blanket Lge Volume Meters |  |  |  | 0.09 | [7 empty] | Blanket Lge Volume Meters
Small Volume Meters | Operations | 143 | Disc |  | VAR |  | C | Blanket Sml Volume Mtrs. |  |  |  | 0.01 | [7 empty] | Blanket Sml Volume Meters
Minor Additions | Operations | 144 | Disc. |  | VAR |  | C | Blanket Minor Additions |  |  |  | 0.067 | [7 empty] | Blanket Minor Additions
Tools & Work Equip | Operations | 145 | Disc. |  | VAR |  | C | Blanket Tools & Work Equip |  |  |  | 0.9 | [7 empty] | Blanket Tools & Work Equip
Trans & Mobile Equip | Operations | 146 | Disc. |  | VAR |  | C | Blanket Trans & Mobile Equip |  |  |  | 3 | [7 empty] | Blanket Trans & Mobile Equip
Misc OPS Projects | Operations | 147 | Disc. |  | VAR |  | C | Placeholder -Out Years |  |  |  |  | 31 | 31 | [5 empty] | Placeholder for out years
Special Projects | Operations | 148 | Disc. | Var | VAR |  | C | Discretionary Pool |  |  |  | 0.5 | [7 empty] | Misc. Discretionary Pool Projects
[8 empty] | Total Operations Disc |  |  |  | 24.145 | 31 | 31 | 0 | 0 | 0
Operations- Systems Disc
General Plant | OTD - Field IT | 1 | Disc |  | NE |  | NC | Blanket Computer -Desktop Refresh |  |  |  | 0.77 | [7 empty] | Refresh Desktop Hardware to maintain reliability and performance.
General Plant | OTD - Field IT | 2 | Disc |  | NE |  | NC | File/Application Server Upgrades |  |  |  | 0.11 | [7 empty] | Upgrade/replace file & app. Servers to maintain reliability and performance.
Operate and Maintain P/L | Field IT | 3 | Disc |  | NE |  | C | IT Voice Over IP for Field |  |  |  | 0.44 | [7 empty] | Implement P-2 of cost effective wide area network to reduce voice costs and increase connectivity bandwidth.
Operate and Maintain P/L | Field IT | 4 | Disc |  | NE |  | C | Expand/Improve existing WAN |  |  |  | 0.21 | [7 empty] | Connect sites to Enron WAN, improving access to WEB enabled programs such as SAP, MP2, and others.
[8 empty] | Total Operations- Systems Disc |  |  |  | 1.53 | 0 | 0 | 0 | 0 | 0
GPG Operations- Houston
|  | 1 | [5 empty] | ROW Vehicle |  |  |  | 0.023 | [7 empty] | Replacement automobile for Minneapolis region - Dodge Intrepid for ROW use
|  | 2 | [5 empty] | Measurement Tech Hardware |  |  |  | 0.014 | [7 empty] | Portable oscilloscope for troubleshooting in the field. Signal generator & analog simulator for testing equip.
[8 empty] | Total GPG Operations Disc |  |  |  | 0.037 | 0 | 0 | 0 | 0 | 0
GPG Operations -Systems
[8 empty] | O&E - Enterprise Data Logger |  |  |  | 0.030355 | [7 empty] | Applications for capturing cathodic protection, pipeline inspection, and class/location data on a hand held device.
[8 empty] | O&E - Engine/Compressor Health |  |  |  | 0.064505 | [7 empty] | Develop system to diagnose relative engine/compressor health using neural nets.
[8 empty] | O&E - WWW Interface Project |  |  |  | 0.043028 | [7 empty] | WEB application to maintain and view safety statistics data and Environmental & Safety Info system (ESIS) data.
[8 empty] | O&E - PILARS |  |  |  | 0.035414 | [7 empty] | WEB application to maintain and report PILARS information.
[8 empty] | Total GPG Operations-Systems Disc |  |  |  | 0.1733 | 0 | 0 | 0 | 0 | 0
DISCRETIONARY
Market Services- Systems Projects
|  | 1 | [5 empty] | GC SCADA System Consolidation |  |  |  | 0.94636 | [7 empty] | Implementation of a new, common, more cost effective SCADA system.
[8 empty] | Total Market Services Disc |  |  |  | 3.547 | 0 | 0 | 0 | 0 | 0
DISCRETIONARY
Other
Other Home | Facilities | 1 | Disc |  | NE |  |  | Omaha Office - Carpet Replacement |  |  |  | 0.12 | 0.08 | 0.08 | [5 empty] | Replace Carpet for NNG floors 7, 1/2 of 6, 3, NNG's share of 2, 1.
Other Home | Facilities | 2 | Disc |  | NE |  |  | Omaha Office - Pool Car |  |  |  | 0 | 0.02 | 0.02 | [5 empty] | ET&S Omaha office pool car.
[8 empty] | Total Other Disc |  |  |  | 0.12 | 0.1 | 0.1 | 0 | 0 | 0
[8 empty] | Total Discretionary Projects |  |  |  | 50.5823 | 51.1 | 51.1 | 1.6429 | 7.9244 | 13.9835
NON-DISCRETIONARY
Marketing Projects
| Marketing |  | Non-Disc - 1 |  | Texas |  | nc | Business Analysis - Ph 1 |  | 4.3 |  | 0.755 | 0 | 0 | [5 empty] | Develop a system to enhance utililization of pipeline processes. Carryover
| Marketing |  | Non-Disc - 1 |  | Minnesota |  | c | Koch C & D Line Expansion |  | 8.135 | 20000 | 7.835 | 0 | 0 | 0.44892 | -0.20368 | -0.20368 | 16.66% |  | Extend 30" Line 5.59 Miles - Add 20,000/d at Koch's Rosemount refinery
| Marketing |  | Non-Disc - 1 |  | Minnesota |  | c | Peak Day 2000 |  | 138.2 | 347000 | 1.4 | 0 | 0 | 2.2492 | 4.3197 | 0.28219 | 7.3% | 1/ | Final year of expansion construction
| Marketing |  | Non-Disc - 1 |  | Minnesota |  | c | Peak Day 2000 -CO |  |  |  | 0.1 | 0 | 0 | -0.0039072 | -0.013007 | -0.013007 |  |  | Timing
| Marketing |  | Non-Disc - 1 |  | Kansas |  | c | Exxon/Mobil |  | 7.1 |  | 3.5 | 0 | 0 | [5 empty] | 1995 Operating Contractual Agreement - 10 yr agreement
| Marketing |  | Non-Disc - 1 |  | Wisconsin |  | c | Wisconsin Gas Co. Pool |  | 0.9 |  | 0.433 | 0.3 | 0 | [5 empty] | Capital Pool Commitment of 300,000/year (2000 - 2002)
| Marketing |  | Non-Disc - 1 |  | Iowa / Illinois |  | c | Interstate Power Company |  |  |  | 0.216 | 0 | 0 | [5 empty] | Capital Pool Commitment in year 2000 allows for carryover to next year if not used
| Marketing |  | Non-Disc - 1 |  | Iowa |  | c | IES Industries |  |  |  | 0.416 | 0 | 0 | [5 empty] | Capital Pool Commitment in year 2000 allows for carryover to next year if not used
| Marketing |  | Non-Disc - 1 |  | Iowa |  | c | Utilicorp Priority Markets |  |  |  | 2 | 0 | 0 | [5 empty] | Rate case settlement (RP-98-203) - align firm entitlement where needed.
| Marketing |  | Non-Disc - 1 |  | Nebraska |  | c | Metropolitan Utilities District |  |  |  | 5 | 0 | 0 | [5 empty] | Long term commitment - 15 yrs - relocation of Omaha #1A TBS.
| Marketing |  | Non-Disc - 1 |  | Nebraska |  | c | Metropolitan Utilities District |  |  |  | 1.25 | 0 | 0 | [5 empty] | Long term commitment - 15 yrs - '84th Street TBS mods
| Marketing |  | Non-Disc - 1 |  | Nebraska |  | nc | MUD - CIAC |  | 0.2 |  | 0.2 | 0.2 | 0.2 | [5 empty] | Long term commitment - 15 yrs - $200M/y until 2006
| Marketing |  | Non-Disc - 1 |  | Nebraska |  | nc | Estimate for Retirements <50
Estimate for J workorders
[8 empty] | Total Marketing Non-Disc |  |  |  | 23.105 | 0.5 | 0.2 | 2.6942 | 4.103 | 0.065504
Marketing-Systems Non-disc
NON-DISCRETIONARY
Operations Projects
Pipeline Maintenance | Operations |  | Non-Disc | SoOmaha | NE |  | C | NE Hwy 31 Elkhorn |  |  |  | 0.119 | [7 empty] | Relocate/lower the Elkhorn 4" Branchline at Highway 31, Douglas County, NE. | -0.00238 | #VALUE!
Safety | Operations |  | Non-Disc | Farmington | MN |  | C | Taylor Takeoff Vlvs |  |  |  | 0.082 | [7 empty] | Replace the following block valves at the Taylor Take-Off
P/L Integrity | Operations |  | Non-Disc | Ogden | IA |  | C | DM No. 1A Vlv Repl. |  |  |  | 0.235 | [7 empty] | Install new above-grade 24 inch outlet and 10 inch bypass valves with insulated flanges.
Safety | Operations |  | Non-Disc | Ogden | IA |  | C | Ogden Valve 26 Oper |  |  |  | 0.048 | [7 empty] | Install Shafer valve operator including valve operator controls.
Environmental | Operations |  | Non-Disc | Palmyra | NE |  | C | KVS Exh System 21-25 |  |  |  | 0.07 | [7 empty] | Remove and install new insulation on Ingersol-Rand KVS exhaust piping.
Environmental | Operations |  | Non-Disc | Holcomb | KS |  | C | F#4 VRU |  |  |  | 0.093 | [7 empty] | Install Hazardous Air Pollutant emission control device to comply with Oil & Gas Production.
Environmental | Operations |  | Non-Disc | Sublette | KS |  | C | Sub VRU |  |  |  | 0.135 | [7 empty] | Replace existing Hazardous Air Pollutant emission control unit on Sublette dehy.
Environmental | Operations |  | Non-Disc | Holcomb | KS |  | C | F#2 VRU |  |  |  | 0.1 | [7 empty] | Install Hazardous Air Pollutant emission control device to comply with Oil and Gas Production.
Environmental | Operations |  | Non-Disc | Holcomb | KS |  | C | Finney Co. #3 VRU |  |  |  | 0.08 | [7 empty] | Install Hazardous Air Pollutant emission control device to comply with Oil and Gas Production.
Measurement | Operations |  | Non-Disc | Carlton | MN |  | C | Coleraine Reloc |  |  |  | 0.112 | [7 empty] | Remove and relocate the existing Coleraine TBS.
Compressor Mods | Operations |  | Non-Disc | Garner | MN |  | C | Garn React Htr Repl |  |  |  | 0.3 | [7 empty] | Remove and replace reactivation gas heater.
Special Projects | Operations |  | Non-Disc | Redfield | IA |  | C | Rfld H2S Amine Cool |  |  |  | 0.053 | [7 empty] | Install a set of fixed bundle shell and tube heat exchangers.
Compressor Mods | Operations |  | Non-Disc | Bushton | KS |  | C | Bushton Solar Contrl |  |  |  | 0.137 | [7 empty] | Remove the existing relay-logic controls on Solar turbine standby 750 KW generator.
Environmental | Operations |  | Non-Disc | Sunray | TX |  | C | Sunray Mist Extrt V |  |  |  | 0.343 | [7 empty] | Install thirty-five Mueller Mist Extractors and a common drain manifold system.
Environmental | Operations |  | Non-Disc | Burdette | KS |  | C | Bur Waste Water Stor |  |  |  | 0.07 | [7 empty] | Install a 100 bbl. double walled metal tank at the NW side of the Aux. Bldg.
Reimburseables | Operations |  | Non-Disc | Paullina | DM |  | C | HWY 71 RELOCATE |  |  |  | 0.145 | [7 empty] | HIGHWAY WIDENING PROJECT CAUSING RELOCATION OF 4" PIPELINE.
Reimburseables | Operations |  | Non-Disc | Waterloo | DM |  | C | HWY 30 RELOCATE |  |  |  | 0.066 | [7 empty] | HIGHWAY WIDING AND LOWERING CAUSING RELOCATION. iab55701 IS 6" PIPE.
Reimburseables | Operations |  | Non-Disc | Waterloo | DM |  | C | HWY 218 RELOCATE |  |  |  | 0.054 | [7 empty] | NEW 4 LANE HIGHWAY PROJECT. 2' PIPE.
Reimburseables | Operations |  | Non-Disc | Waterloo | DM |  | C | Hwy 151 Relocate |  |  |  | 0.09 | [7 empty] | New 4 lane highway project. 8" pipe. Assume 50% reimburseaable.
Environmental | Operations |  | Non-Disc | Lockridge | TX |  | C | Lockridge Plt Remed. |  |  |  | 0.114 | [7 empty] | Remediate site of abandoned dirt waste disposal pit with monitor wells and alarms.
Environmental | Operations |  | Non-Disc | Mullinville | KS |  | C | Cu Replace Liq Line |  |  |  | 1.339 | [7 empty] | Replace all liquid lines inidcated on the attached plat sheets.
Special Projects | Operations |  | Non-Disc | Ventura | MN |  | C | A Line Abandonment |  |  |  | 0.811 | [7 empty] | Remove approx 2.46 miles of mainline pipeline that has been classified as idled.
Compressor Mods | Operations |  | Non-Disc | Bushton | KS |  | C | Treater Plt Controls |  |  |  | 0.294 | [7 empty] | Replace existing Treater Plant controls at Bushton Station.
Compressor Mods | Operations |  | Non-Disc | Bushton | KS |  | C | #26 Foundation |  |  |  | 0.405 | [7 empty] | Install new foundation on Unit 26, Ingersol Rand KVS412 at Bushton.
Special Projects | Operations |  | Non-Disc | Mpls | MN |  | C | Mpls Found Restab |  |  |  | 0.132 | [7 empty] | Replace concrete & stabalize piping and buildings at various stations within the Mpls region.
Shallow/Exp Pipe | Operations |  | Non-Disc | SoSiouxCty | IA |  | C | Lower Akron BL |  |  |  | 0.105 | [7 empty] | Lower the Akron Branchline river crossing at the Big Sioux River.
Shallow/Exp Pipe | Operations |  | Non-Disc | Auburn | NE |  | C | Auburn A MP 38.300 |  |  |  | 0.174 | [7 empty] | Replace and lower approximately 400 feet of the 4" Auburn A branchine.
Shallow/Exp Pipe | Operations |  | Non-Disc | Auburn | NE |  | C | Auburn A MP 0.00 |  |  |  | 0.461 | [7 empty] | Replace and lower approximately 1.39 miles of the 6" Auburn A Branchline.
Measurement | Operations |  | Non-Disc | Mitchell | TX |  | C | Mitchell Gas Chromat |  |  |  | 0.041 | [7 empty] | Install new gas chromatograph at the Mitchell Plant Ellenburger delivery point.
P/L Integrity | Operations |  | Non-Disc | SoSiouxCty | NE |  | C | Wayne Creek Crossing |  |  |  | 0.22 | [7 empty] | Horizontally directional drill the creek and install a new crossing.
Shallow/Exp Pipe | Operations |  | Non-Disc | SoSiouxCty | NE |  | C | Hooper/SC A,B,C line |  |  |  | 0.28 | [7 empty] | Construct flexible concrete revetments and install Ercoform articulating grout mats.
Compressor Mods | Operations |  | Non-Disc | Garner | IA |  | C | Garn I/C Regulators |  |  |  | 0.217 | [7 empty] | Install whisper trim cages and plunges. Replace (4) 16" regs and (1) 12" reg.
Safety | Operations |  | Non-Disc | Mullinville | KS |  | C | Unit 12 Sct Valve |  |  |  | 0.035 | [7 empty] | Install 24" SE suction lead line valve behind unit #12 and cut/cap extra 24" suction valve.
Safety | Operations |  | Non-Disc | Hugoton | KS |  | C | St#1UnitBlockValves |  |  |  | 0.052 | [7 empty] | Remove 3 and install 3 lead line valves on Units #2, #5, & #6.
NON-DISCRETIONARY
Operations Projects Continued
Safety | Operations |  | Non-Disc | Finney Co #2 | KS |  | C | KSM116 CkVlv Replc |  |  |  | 0.046 | [7 empty] | Remove a 20" check valve on the pig launcher for KSM116 and replace it with a 20" ball valve.
Safety | Operations |  | Non-Disc | Texas co #2 | KS |  | C | Tx#2 Gas Detect Rplc |  |  |  | 0.071 | [7 empty] | Remove General Monitors Model 160 system, install new model 8000 Detronics.
Safety | Operations |  | Non-Disc | Sunray | TX |  | C | Sunray Scrubber |  |  |  | 0.728 | [7 empty] | Install a gas filter/separator and bypass assembly.
Safety | Operations |  | Non-Disc | Des Moines | IA |  | C | D.M. #1 TBS Bldg. |  |  |  | 0.138 | [7 empty] | Build new meter and regulator buildings at the Des Moines #1 TBS Station.
Safety | Operations |  | Non-Disc | Rockwell City | IA |  | C | Rockwell Cty TBS Bld |  |  |  | 0.054 | [7 empty] | Install new metal frame meter building at the Rockwell City TBS.
Safety | Operations |  | Non-Disc | Hugoton "A" | KS |  | C | Sub Aline Vlv 1 Ext. |  |  |  | 0.06 | [7 empty] | Install a valve ext on 1 20 inch block vlv and 2 8 inch blowdowns.
Safety | Operations |  | Non-Disc | Hugoton "A" | KS |  | C | Sub Aline Vlv 2 Ext. |  |  |  | 0.06 | [7 empty] | Install a valve ext. on 1 20 inch block vlv and 2 8 inch blowdowns.
Safety | Operations |  | Non-Disc | Hugoton "A" | KS |  | C | Sub Aline Vlv 3 Ext. |  |  |  | 0.06 | [7 empty] | Install a valve ext. on 1 20 inch block vlv and 2 8 inch blowdowns.
Safety | Operations |  | Non-Disc | Hugoton "A" | KS |  | C | Sub Aline Vlv 4 Ext. |  |  |  | 0.06 | [7 empty] | Install a valve ext. on 1 20 inch block vlv and 2 8 inch blowdowns.
Safety | Operations |  | Non-Disc | Mankato B/L | MN |  | C | Mankato Gate Box Rem |  |  |  | 0.029 | [7 empty] | Relocate (2), 6" valves up & outside of concrete gate box.
Safety | Operations |  | Non-Disc | Finney Co.#4 | KS |  | C | Fin 4 #1 Heater |  |  |  | 0.046 | [7 empty] | Install a 36KW 480V, 3 phase coolant heater system on the jacket water system.
Standby | Operations |  | Non Disc |  | VAR |  | C | Blanket Standby |  |  |  | 6 | [7 empty] | Blanket Standby Equipment
Estimate for Retirements <50
Standby | Operations |  | Non Disc |  | VAR |  | C | Estimate For J workorders
[8 empty] | Total Operations Non-Disc |  |  |  | 14.364 | 0 | 0 | 0 | 0 | 0
Operations- Systems Non Disc
General Plant | OTD - Field IT |  | Non Disc |  | NE |  | NC | Blanket Computer -Desktop Refresh |  |  |  | 0.33 | [7 empty] | Refresh Desktop Hardware to maintain reliability and performance.
General Plant | OTD - Field IT |  | Non Disc |  | NE |  | NC | Replace 2 Vehicles |  |  |  | 0.06 | [7 empty] | Replace vehicles to maintain reliable and safe transportation to field sites.
[8 empty] | Total Operations- Systems Disc |  |  |  | 0.39
GPG Operations Systems Non Disc
[8 empty] | Environmental Auditing and Permitting |  |  |  | 0.043028 | [7 empty] | Develop applications to facilitate and store environmental audits and to manage the Air Permitting process
[8 empty] | O&E Blanket Desktop Refresh |  |  |  | 0.0079 | [7 empty] | O&E Technical Support Team Desktop Refresh at 33% per year.
[8 empty] | O&E Blanket Systems Reliability |  |  |  | 0.0454 | [7 empty] | O&E Equipment replacement and upgrade to meet reliability and performance requirements
[8 empty] | OTS Blanket Desktop Refresh |  |  |  | 0.1594 | [7 empty] | OTS Desktop and peripheral refresh at 33% per year
[8 empty] | OTS Blanket Systems Reliability |  |  |  | 0.10008 | [7 empty] | O&E Equipment replacement and upgrade to meet reliability and performance requirements
[8 empty] | Total GPG Operations Systems |  |  |  | 0.3558 | 0 | 0 | 0 | 0 | 0
NON-DISCRETIONARY
Market Services -Sytems Projects
[8 empty] | Computer Blanket -Desktop |  |  |  | 0.05
[8 empty] | GC Blanket Systems Reliability |  |  |  | 0.0783 | [7 empty] | Gas Control Equipment replacement and upgrade to meet reliability and performance requirements
[8 empty] | GC Blanket Desktop Refresh |  |  |  | 0.0497 | [7 empty] | Houston Gas Control Center & Support Desktop Refresh (all systems replaced every 3 years)
[8 empty] | GC Blanket SCADA Connectivity |  |  |  | 0.0301 | [7 empty] | Gas Control SCADA Network equipment replacement and upgrade to meet requirements
Sys. & Comp. Mkt. Svcs. | Market Services |  | Disc |  | TX |  | C | Replace Contracts System |  |  |  | 0.4 | 0.3 | [6 empty] | Migrate NNG to new GPG Contracts System & new GPG Capacity Analysis System
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | FERC 637 |  |  |  | 0.61 | [7 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to comply w/FERC orders
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB 1.5 |  |  |  | 0.28 | [7 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to comply w/GISB 1.5 Standards
Sys. & Comp. Marketing | Market Services |  | Non Disc |  | TX |  | C | GISB - DRN Conversion |  |  |  | 0.07 | [7 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to use DRN numbers per GISB Standards
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB Imbal. Trading |  |  |  | 0.1 | [7 empty] | Implement Imbalance Trading per GISB Standards
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB Internet Enable Inv Docs |  |  |  | 0.13 | [7 empty] | Post invoice supporting documentation on the Internet WEB per GISB
Sys. & Comp. Marketing | Market Services |  | Non Disc |  | TX |  | C | Reg. Enh new Services/Tariff Changes |  |  |  | 0.35 | [7 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to support new regulatory tariff changes
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | Software Upgrades Win2000 -Acctng |  |  |  | 0.17 | [7 empty] | Upgrade Acctng System to operate in the Windows 2000 environment
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | Regulatory Partial Cycle FDD |  |  |  | 0.07 | [7 empty] | Modify TMS & Acctng to provide alternate parameters for selling storage capacity to FDD shippers
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB Cross Contract Ranking |  |  |  | 0.06 | [7 empty] | Modify TMS to implement cross contract ranking per GISB
[8 empty] | Contracts/PLE - Misc |  |  |  | 0.12 | [7 empty] | Enhancements to insure contininuity of service
[8 empty] | Transportation acct. Misc |  |  |  | 0.1 | [7 empty] | Enhancements to insure contininuity of service
[8 empty] | Internet/Intranet enh projects |  |  |  | 0.06 | [7 empty] | Enhancements to insure contininuity of service
[8 empty] | TMS Misc Projects |  |  |  | 0.13 | [7 empty] | Enhancements to insure contininuity of service
Sys. & Comp |  |  | Non- Disc |  | TX |  | NC | Infra. Blanket - MS- System Reliability |  |  |  | 0.353
Sys. & Comp. |  |  | Non- Disc |  | TX |  | NC | Infra. Blanket-Ext./Int. Cust. Connectivity |  |  |  | 0.13
[8 empty] | Total Market Services-Systems |  |  |  | 3.2911 | 0.3 | 0 | 0 | 0 | 0
GPG Systems Projects
Sys. & Comp. | Market Services |  | Non Disc |  | TX |  | C | Future Vision Roll-Over 2001 |  |  |  | 0.6 | [7 empty] | Carry-over of project expenses into 2001
Sys. & Comp. | Market Services |  | Non Disc |  | TX |  | C | Integrated Security Admin Project |  |  |  | 0.54 | [7 empty] | Audit Complience - Network Security
Sys. & Comp. | Market Services |  | Non Disc |  | TX |  | C | Enterprise Reliability Monitoring Tool |  |  |  | 0.65 | [7 empty] | Audit Complience - Customer Reliability
[8 empty] | Infra. Blanket - GPG System Reliability |  |  |  | 0.17
[8 empty] | Infra. Blanket-Ext/Int. Cust. Connectivity |  |  |  | 0.13
Sys. & Comp. |  |  | Non- Disc |  | TX |  | NC | Computer Blanket -Desktop Refresh |  |  |  | 0.06
[8 empty] | Total GPG Systems Non-Disc |  |  |  | 2.15 | 0 | 0 | 0 | 0 | 0
NON-DISCRETIONARY
Other - General Plant
[8 empty] | Computer Blanket - Finance |  |  |  | 0.02
[8 empty] | Computer Blanket - Business Services |  |  |  | 0.01
[8 empty] | Computer Blanket - Marketing |  |  |  | 0.07
[8 empty] | Computer Blanket -Reg affairs |  |  |  | 0.01
[8 empty] | Corporate Systems |  |  |  | 2.1 | 2.1 | 2.1 | 0 | 0 | 0
[8 empty] | Mainframe Support- GPG/Corporate |  |  |  | 1.3
[8 empty] | Total other General Plant Non- Disc |  |  |  | 3.4 | 2.1 | 2.1 | 0 | 0 | 0
[8 empty] | Total Non Discretionary Projects |  |  |  | 47.0559 | 2.9 | 2.3 | 2.6942 | 4.103 | 0.065504
[8 empty] | TOTAL CAPITAL EXPENDITURES |  |  |  | 97.6382 | 54 | 53.4 | 4.3372 | 12.0274 | 14.049
1/ | Dcf of 7.3% for Peak Day 2000 excludes interest and overheads. With interest and overheads the Dcf is 4.2%. The Dcf for all other projects include capitalized interest and overheads as part of the cash flow.

## TW Projects
TRANSWESTERN PIPELINE COMPANY
2001 - 2003 OPERATING & STRATEGIC PLAN
Net Income From Capital Expenditures
(Dollars In Millions)
|  |  | Disc/ |  |  | WO | Contr |  | Total
Process Category | Department |  | Non Disc |  | State | # | Proj | Project Name | Project | MMBtu/d | CAPITAL EXPENDITURES |  |  | (PRE-TAX IMPACT) |  |  |  |  | DCF | Comments
DISCRETIONARY
[8 empty] | Marketing Projects |  |  | 2001 | 2002 | 2003 | 2001 | 2002 |  | 2003
Marketing | Marketing |  | Disc |  | TX |  | C | Discretionary Marketing Pool |  |  | 0.5 | [6 empty] | 0 | 15% | Discretionary Pool
[8 empty] | Ameramex Trigeneration Project |  |  | 0.5 | [8 empty] | 70mw of generation located near Bloomfield appx .75mi from TW. Customer will commit to fully reimburse TW for cost.
[8 empty] | Gomez/Puckett Tie Over |  |  | 2 |  |  | 0.1 | 0.5 | 0.5 | 0 |  |  | Connect Gomez line to Puckett line and modify compression
[8 empty] | Revenue Management Phase II |  |  | 0
[8 empty] | Total Marketing Disc |  |  | 3 | 0 | 0 | 0.1 | 0.5 |  | 0
Marketing-Systems Projects
Sys. & Comp. Marketing | Marketing | [6 empty] | Technical Commodity |  |  | 0.096 | [8 empty] | Marketing dollars to purchase software/market data
Sys. & Comp. Marketing | Marketing | [6 empty] | MFE Enhancements |  |  | 0.048 | [8 empty] | Enhancements to support new Marketing services
Sys. & Comp. Marketing | Marketing | [6 empty] | Marketing DataMart for Reporting |  |  | 0.048 | [8 empty] | Create data environment to support Marketing reporting
[8 empty] | Total Marketing-Systems Disc |  |  | 0.192 | 0 | 0 | 0 | 0 |  | 0
DISCRETIONARY
Operations Projects
Location
Special Projects | Operations | 1 | Disc. | Var | TX |  | C | Install EFM on TW |  |  | 0.125 | [8 empty] | Install/upgrade new EFM on TW
Special Projects | Operations | 2 | Disc. | Var | NM |  | C | Var Systems Proj-SAP |  |  | 0.1 | [8 empty] | For Enhancing Current Programs Or Creating New Interfaces To SAP.
Compressor Mods | Operations | 3 | Disc. | Pampa | TX |  | C | P-3 Air Intake |  |  | 0.202 | [8 empty] | Install new air filter system. Remove old air filter system. Original project no. 20410209
Corrosion/Mit | Operations | 4 | Disc. | Kingman | NM |  | C | CPU264 Power Ext. |  |  | 0.159 | [8 empty] | Extend existing power company lines to reach CPU264 to provide power.
Compressor Mods | Operations | 5 | Disc. | Carlsbad | NM |  | C | Crawford Shaff Oper |  |  | 0.14 | [8 empty] | Replace existing shafer operators within the Crawford Compressor Station Yard.
Compressor Mods | Operations | 6 | Disc. | Gallup | NM |  | C | Unit 501 Foundation |  |  | 0.209 | [8 empty] | Install new grout and foundation for centrifical Compressor No. 501.
Compressor Mods | Operations | 7 | Disc. | NoKermit | NM |  | C | WT-2 Fuel Gas Conn. |  |  | 0.051 | [8 empty] | Tie-in 2" line from Keystone 16" to existing fuel gas line at Compressor Sta.WT-2
Compressor Mods | Operations | 8 | Disc. | Carlsbad | NM |  | C | ReplaceWT101 WG Fndn |  |  | 0.052 | [8 empty] | Remove foundation and broken bolts from WT101 Western Gear, align and replace bolts.
Compressor Mods | Operations | 9 | Disc. | NoKermit | NM |  | C | Lube Sys,WT201,2,3 |  |  | 0.074 | [8 empty] | Install new Trabon lubrication system on M/L unit no. WT201,202,203, WT-2 Comp. Sta.
Compressor Mods | Operations | 10 | Disc. | Flagstaff | NM |  | C | M/L Unit Lube Sys |  |  | 0.068 | [8 empty] | Install compr and rod packing lubrication system on 3 Ea. M/L units
Compressor Mods | Operations | 14 | Disc. | Carlsbad | NM |  | C | WT-1 Gen Ign System |  |  | 0.025 | [8 empty] | Install CPU95 Ignition System on the I-R PJ6 cylinder generator at WT-1 Compressor Sta.
Compressor Mods | Operations | 16 | Disc. | Artesia | NM |  | C | Atoka 2 Ignition Sys |  |  | 0.043 | [8 empty] | Install new ignition systems on Atoka 2 units.
Pipeline Maintenance | Operations | 22 | Disc. | Roswell | NM |  | C | Sta 9 Valve Operator |  |  | 0.068 | [8 empty] | Install valve operators on Panhandle Lateral 24" valves (2 Ea. 16" Operators) at Comp. Sta. 9
Special Projects | Operations | 23 | Disc. | Artesia | NM |  | C | Atk 1 Dehy Carbn Flt |  |  | 0.028 | [8 empty] | Install carbon adsorber on dehy at Atoka 1 Compressor Sta.
Special Projects | Operations | 25 | Disc. | Var | TX |  | C | Virtual Sensor/UAF |  |  | 0.051 | [8 empty] | Apply advance regression and neural net methodology to provide a real-time virtual sensor.
Special Projects | Operations | 26 | Disc. | Var | TX |  | C | Optimizer-DSS |  |  | 0.138 | [8 empty] | This project represents the completion of the Optimizer project that was initiated in 2000.
Cathodic Protection | Operations | 27 | Disc. |  | NM |  | C | Blanket Cathodic Protection |  |  | 0.06 | [8 empty] | Blanket Cathodic Protection
Minor Additions | Operations | 28 | Disc. |  | NM |  | C | Blanket Minor Additions |  |  | 0.03 | [8 empty] | Blanket Minor Additions
Tools & Work Equip | Operations | 29 | Disc. |  | NM |  | C | Blanket Tools & Work Equip |  |  | 0.35 | [8 empty] | Blanket Tools & Work Equip
Trans & Mobile Equip | Operations | 30 | Disc. |  | NM |  | C | Blanket Trans & Mobile Equip |  |  | 0.68 | [8 empty] | Blanket Trans & Mobile Equip
Misc. Operations Projects | Operations | 31 | Disc. |  | N/A |  | C | Misc. Operations Projects |  |  |  | 2.65 | 2.65 | [6 empty] | Misc. Operations Projects
[8 empty] | Total Operations Disc |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 |  | 0
Operations-Systems Disc
Operate and Maintain P/L | Field IT | [6 empty] | Voice Over IP for Field |  |  | 0.14 | [8 empty] | Implement P-2 of cost effective wide area network to reduce voice costs and increase connectivity bandwidth.
Operate and Maintain P/L | Field IT | [6 empty] | Expand and Improve existing WAN |  |  | 0.07 | [8 empty] | Connect sites to Enron WAN, improving access to WEB enabled programs such as SAP, MP2, and others.
General Plant | OTD - Field IT | [6 empty] | Desktop Refresh |  |  | 0.14 | [8 empty] | Refresh Desktop Hardware to maintain reliability and performance.
General Plant | OTD - Field IT | [6 empty] | File and Application Server Upgrades |  |  | 0.016 | [8 empty] | Upgrade/replace file & app. Servers to maintain reliability and performance.
[8 empty] | Total Operations Disc |  |  | 0.366 | 0 | 0 | 0 | 0 |  | 0
GPG Operations-Systems Disc
[8 empty] | O&E - Enterprise Data Logger |  |  | 0.004896 | [8 empty] | Applications for capturing cathodic protection, pipeline inspection, and class/location data on a hand held device.
[8 empty] | O&E - Engine/Compressor Health |  |  | 0.010404 | [8 empty] | Develop system to diagnose relative engine/compressor health using neural nets.
[8 empty] | O&E - WWW Interface Project |  |  | 0.00694 | [8 empty] | WEB application to maintain and view safety statistics data and Environmental & Safety Info system (ESIS) data.
[8 empty] | O&E - PILARS |  |  | 0.005712 | [8 empty] | WEB application to maintain and report PILARS information.
[8 empty] | Total GPG Operations-Systems |  |  | 0.027952 | 0 | 0 | 0 | 0 |  | 0
DISCRETIONARY
Market Services Sytems Projects
[8 empty] | GC SCADA System Consolidation |  |  | 0.31416 | [8 empty] | Implementation of a new, common, more cost effective SCADA system.
[8 empty] | Total MS Systems Disc |  |  | 0.31416 | 0 | 0 | 0 | 0 |  | 0
Marketing
Market Services
Operations
Infrastucture
Business Services
[8 empty] | Total Discretionary Projects |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.5 |  | 0
NON-DISCRETIONARY
Marketing Projects
[8 empty] | Business Analysis Project--Phase 1 |  |  | 0.2 | [8 empty] | Develop a system to enhance utilization of pipeline process. CO.
[8 empty] | Gallup Expansion |  |  | 0.3 | [8 empty] | Delayed billings from contractors. Carryover.
| Marketing |  | Non-Disc - 1 |  | Nebraska |  | nc | Estimate for Retirements <50
Estimate for J workorders
[8 empty] | Total Marketing |  |  | 0.5 | 0 | 0 | 0 | 0 |  | 0 |  | 0
NON-DISCRETIONARY
[6 empty] | Workorder | Contr
Operations Projects
Corrosion/Mit | Operations |  | Non Disc | Canadian | TX |  | C | 24 Launcher Recoat |  |  | 0.019 | [8 empty] | Sandblast and recoat line below grade and dig up 24" launcher yard.
Environmental | Operations |  | Non Disc | Roswell | NM |  | C | 10Remv Sta 8 #3 Fndn |  |  | 0.714 | [8 empty] | Because of the contamination, remove foundation and install new.
Compressor Mods | Operations |  | Non Disc | Gallup | NM |  | C | Sta 4 Vent Emissions |  |  | 0.042 | [8 empty] | Install vent mist eliminators for the mainline unit crankcases and turbochargers.
P/L Integrity | Operations |  | Non Disc | Mountainair | NM |  | C | Iap Smart Pig 8 TO 7 |  |  | 0.288 | [8 empty] | Smart Pig mainline from Station 8 to Station 7.
P/L Integrity | Operations |  | Non Disc | Mountainair | NM |  | C | Iap Smart Pig 7 To 6 |  |  | 0.402 | [8 empty] | Smart Pig mainline from Station 7 to Station 6.
Environmental | Operations |  | Non Disc | Gallup | NM |  | C | Sta 5 Remediation |  |  | 0.1 | [8 empty] | Remediate site of abandoned concrete waste disposal pit with monitor wells.
Environmental | Operations |  | Non Disc | Laguna | NM |  | C | Sta. 6 Remediation |  |  | 0.061 | [8 empty] | Remediate site of abandoned concrete waste disposal pit with monitor wells.
Environmental | Operations |  | Non Disc | Artesia | NM |  | C | Atoka 1 Remediation |  |  | 0.06 | [8 empty] | Remediate site of abandoned concrete waste disposal pit with monitor wells.
Environmental | Operations |  | Non Disc | Monahans | NM |  | C | N Crawar Remediation |  |  | 0.074 | [8 empty] | Remediate site of abandoned concrete waste disposal pit with monitor wells.
Environmental | Operations |  | Non Disc | NoKermit | NM |  | C | Bell Lake Remediate |  |  | 0.091 | [8 empty] | Remediate site of abandoned concrete waste disposal pit with monitor wells.
Compressor Mods | Operations |  | Non Disc | Artesia | NM |  | C | Atoka 1 Ignition Sys |  |  | 0.072 | [8 empty] | Install new ignition systems on 5 units at Atoks 1 Compressor Sta.
Compressor Mods | Operations |  | Non Disc | Falgstaff | NM |  | C | Sta.3/Unit301 Cyl.Hd |  |  | 0.237 | [8 empty] | Install 16 Ea. new style (cageless) cylinder heads on unit 301, Compressor Station No. 3 .
Measurement | Operations |  | Non Disc | Carlsbad | NM |  | C | Crawford EFM/GasQual |  |  | 0.197 | [8 empty] | Install meter building, Baker 6532 RTU, Daniels 2350 Gas Chromatograph.
Compressor Mods | Operations |  | Non Disc | Artesia | NM |  | C | Atoka 1 Dehy |  |  | 0.256 | [8 empty] | Install flow control valves on the inlet gas stream to the inlet scrubbers.
Compressor Mods | Operations |  | Non Disc | Kingman | NM |  | C | Sta. 1 Cam Carriers |  |  | 0.428 | [8 empty] | Replace all drive shafts with new style and alignment of cam carriers on unit 102.
Compressor Mods | Operations |  | Non Disc | Gallup | NM |  | C | Unit 502 Foundation |  |  | 0.209 | [8 empty] | Install new grout and foundation for Centrifical Compressor No. 502.
Safety | Operations |  | Non Disc | Roswell | NM |  | C | Station 8 Automation |  |  | 2.265 | [8 empty] | Replace 1967 vintage pneumatic control system with new electronic controllers.
Safety | Operations |  | Non Disc | Laguna | NM |  | C | Rio Puerco Isol Vlv |  |  | 0.1 | [8 empty] | Install 2 Ea. 8" and 1 Ea. 10" Isolation Valves on the meter runs.
Safety | Operations |  | Non Disc | Laguna | NM |  | C | Sta 6 Usi Relief Vlv |  |  | 0.102 | [8 empty] | Replace (2 Ea) blowdown valves on 3 Ea. M/L units at Compressor Station No. 6.
Safety | Operations |  | Non Disc | NoKermit | NM |  | C | WT-2 Usi Relief Vlv |  |  | 0.096 | [8 empty] | Install 2 Ea. USI Relief Valves on 3 Ea. M/L units at WT-2 Compressor Station.
Standby | Operations |  | Non Disc |  | NM |  | C | Blanket Standby |  |  | 3.6
Pipeline Projects | Operations |  | Non Disc |  | N/A |  | C | Misc Pipeline Projects |  |  |  | 4.5 | 4.5
Environmental Projects | Operations |  | Non Disc |  | N/A |  | C | Misc Environmental Projects |  |  |  | 3.8 | 3.8
| Marketing |  | Non-Disc - 1 | Var | Nebraska |  | nc | Estimate for Retirements <50
Estimate for J workorders
[8 empty] | Total Operations Non-Disc |  |  | 9.413 | #VALUE! | #VALUE! | 0 | 0 |  | 0
Operations-Systems Disc
[8 empty] | Field IT Blanket Desktop Refresh |  |  | 0.2 | [8 empty] | Field Desktop Hardware upgrade to maintain reliability and performance.
[8 empty] | Field IT Blanket Systems Reliability |  |  | 0.016 | [8 empty] | Field IT Equipment replacement and upgrade to meet reliability and performance requirements
General Plant | OTD - Field IT |  | Non Disc |  |  |  | NC | TWP Field Desktop Refresh |  |  | 0.06 | [8 empty] | Refresh Desktop Hardware to maintain reliability and performance.
[8 empty] | Total Operations Disc |  |  | 0.276 | 0 | 0 | 0 | 0 |  | 0
GPG Operations-Systems Disc
[8 empty] | Environmental Auditing and Permitting |  |  | 0.00694 | [8 empty] | Develop applications to facilitate and store environmental audits and to manage the Air Permitting process
[8 empty] | O&E Blanket Desktop Refresh |  |  | 0.0013 | [8 empty] | O&E Technical Support Team Desktop Refresh at 33% per year.
[8 empty] | O&E Blanket Systems Reliability |  |  | 0.0074 | [8 empty] | O&E Equipment replacement and upgrade to meet reliability and performance requirements
[8 empty] | OTS Blanket Desktop Refresh |  |  | 0.0257 | [8 empty] | OTS Desktop and peripheral refresh at 33% per year
[8 empty] | OTS Blanket Systems Reliability |  |  | 0.0162 | [8 empty] | O&E Equipment replacement and upgrade to meet reliability and performance requirements
[8 empty] | Total GPG Operations-Systems |  |  | 0.05754 | 0 | 0 | 0 | 0 |  | 0
NON-DISCRETIONARY
Market Services -Systems Projects
[8 empty] | Computer Blanket - Desktop |  |  | 0.01
[8 empty] | GC Blanket Systems Reliability |  |  | 0.0267 | [8 empty] | Gas Control Equipment replacement and upgrade to meet reliability and performance requirements
[8 empty] | GC Blanket Desktop Refresh |  |  | 0.0165 | [8 empty] | Houston Gas Control Center & Support Desktop Refresh (all systems replaced every 3 years)
[8 empty] | GC Blanket SCADA Connectivity |  |  | 0.0125 | [8 empty] | Gas Control SCADA Network equipment replacement and upgrade to meet requirements
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | FERC 637 |  |  | 0.329 | [8 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to comply w/FERC orders
Sys. & Comp. Mkt. Svcs. | Market Services | [6 empty] | Replace Contract System |  |  | 0.2 | 0.3 | [7 empty] | Migrate TW to new GPG Contracts System
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB 1.5 |  |  | 0.115 | [8 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to comply w/GISB 1.5 Standards
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB Imbal. Trading |  |  | 0.065 | [8 empty] | Implement Imbalance Trading per GISB Standards
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | Reg. Enh Mrktg New Services/Tariff Changes |  |  | 0.35 | [8 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to support new reg. tariff changes
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB Master Contracts Req'd |  |  | 0.173 | [8 empty] | Modify Contracts/Cap.Rel to comply w/GISB Master Contracts Standards
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB DRN Conversion Contracts |  |  | 0.018 | [8 empty] | Modify Contracts/Cap.Rel/TMS/Acctng/Internet to use DRN numbers per GISB Standards
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | Reg Compl. Flow Direction |  |  | 0.053 | [8 empty] | Modify Contracts/TMS to identify the direction of flow of gas & schedule & allocation
Sys. & Comp. Mkt. Svcs. | Market Services |  | Non Disc |  | TX |  | C | GISB Cross Contract Ranking |  |  | 0.02 | [8 empty] | Modify TMS to implement cross contract ranking per GISB
[8 empty] | Contracts/PLE - Misc |  |  | 0.06 | [8 empty] | Enhancements to insure contininuity of service
[8 empty] | Transportation acct. Misc |  |  | 0.05 | [8 empty] | Enhancements to insure contininuity of service
[8 empty] | Internet/Intranet enh projects |  |  | 0.06 | [8 empty] | Enhancements to insure contininuity of service
[8 empty] | TMS Misc Projects |  |  | 0.04 | [8 empty] | Enhancements to insure contininuity of service
Sys. & Comp |  |  | Non- Disc |  |  |  | NC | Infra. Blanket - MS System Reliability |  |  | 0.17
Sys. & Comp. |  |  | Non- Disc |  |  |  | NC | Infra. Blanket-Ext./Int. Cust. Connectivity |  |  | 0.07
[8 empty] | Total MS - Systems Non-Disc |  |  | 1.773 | 0.3 | 0 | 0 | 0 |  | 0
Other
[8 empty] | Laguna ROW settlement |  |  | 10
[8 empty] | Row,Commerical and Legal Costs |  |  | 0.89 | 0 | 0 | [6 empty] | Navajo (.6m), Laguna (.3m), Ft. Mojave(0) and Southern Ute(0) Row Renewals legal fees.
Legal | Row Costs |  | Non-Disc |  |  |  |  | Total Other |  |  | 10.89 | 0 | 0 | 0 | 0 |  | 0
[8 empty] | Total Non-Discretionary Projects |  |  | 22.076 | #VALUE! | #VALUE! | 0 | 0 |  | 0
[8 empty] | Total Capital Expenditures |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0.5 |  | 0

## NNG Pool Projects
NORTHERN NATURAL GAS - MARKETING
2001 - 2003 OPERATING & STRATEGIC PLAN
Discretionary Pool Projects - Marketing
(Dollars In Millions)
Total
Project Name |  | Project | MMBtu/d | CAPITAL EXPENDITURES |  |  | DCF | Comments
|  |  |  | 2001 | 2002 | 2003
Business Analysis - Phase 2 |  |  |  | 2.25 | 0 | 0 | * | Further enhance system to optimize pipeline processes
Misc. Minnegasco TBS Upgrades |  |  |  | 0.5 | 0 | 0 | * | Miscellaneous TBS additions and upgrades (regulator change-outs, EFM, etc.)
Misc. NSP TBS Upgrades |  |  |  | 0.5 | 0 | 0 | * | Miscellaneous TBS additions and upgrades (regulator change-outs, EFM, etc.)
St. Croix Valley |  |  |  | 2.235 | 0 | 0 | * | Upgrade Black River Falls branch line and Baldwin lateral to provide incremental capacity
Misc. TBS Upgrades |  |  |  | 0.035 | 0 | 0 | * | Misc. TBS additions and upgrades for the Minneapolis Area Small Customer Group
Wisconsin Gas EF Expansion |  |  |  | 6.511 | 0 | 0 | * | Zone EF expansion - TFX12 up to 14,600 MMBtu
Wisconsin Public Service |  |  |  | 0.169 | 0 | 0 | * | Remove & relocate Eagle Mills TBS to Republic site. Add peak day entitlement
Interstate Power Company |  |  |  | 1 | 0 | 0 | * | Capital commitment per letter agreement dated 12/12/97
NNG Power Plant |  |  |  | 18 | 0 | 0 | * | Develop and construct power plant at Ogden. NNG will construct or be and equity partner.
Rock River Power Plant |  |  |  | 15 | 0 | 0 | * | Construct pipeline to Alliant's Rock River Power Plant
Northern Alternative Energy |  |  |  | 1.5 | 0 | 0 | * | 100 mw power plant at Faribault, MN
Manning / Manilla Ethanol Plant |  |  |  | 1 | 0 | 0 | * | Bring gas to new Ethanol Plant located in Manilla or Manning, Iowa
Platte Ethanol Plant |  |  |  | 2.8 | 0 | 0 | * | 20 MM gal/year ethanol plant plus 5 towns with residential load.
Alliant / Lime Creek |  |  |  | 1 | 0 | 0 | * | Power plant conversion from oil to gas turbine. 24,000 Mcf / day
IMC Salt Storage |  |  |  | 1.1 | 1 | 0 | * | Develop mined / unmined salt caverns and convert to approx. 1 Bcf of gas storage.
UNL / Lincoln End Users |  |  |  | 0 | 1.2 | 0 | * | Possible bypass of UCU for existing volumes plus new load (ADM, Goodyear)
OPPD Power Plant |  |  |  | 0 | 1.2 | 0 | * | Serve new power plant load in Cass Co.,NE - build pipeline and meter run to plant
Galena Power Plant |  |  |  | 0 | 1.5 | 0 | * | Serve power plant load near Galena, Illinois - build pipeline and meter run to plant.
Peak Day 200X |  |  |  | 0 | 18 | 18 | * | Build pipeline, compression, and appurtenant facilities
Calpine Edgerton Site Power Plant |  |  |  | 0 | 0 | 5.5 | * | Serve 60,000/d peak load to power plant in Edgerton, Wisc. - build pipeline and meter run to plant
Cassville Power Plant |  |  |  | 0 | 0 | 13 | * | Build pipeline to power plant site in Cassville, Wisconsin
Lincoln Electric System |  |  |  | 0 | 0 | 2.5 | * | Build pipeline to power plant site near Waverly, Nebraska
| Total |  |  | 53.6 | 22.9 | 39
| Estimated Pool Dollars |  |  | 20 | 20 | 20
* Capital Dollars based on preliminary scoping and costs. As projects are further defined, all DCFs and other financial information
will be presented as part of the project approval process.