## FileList
VisuPro - Turbine type: Ewb1.5s |  |  | 2001-02-28
| File name | File description
| BlitzLog.db | List of flash files
| yyyyxxxx.qik | Short term flash file (10 seconds of data at 1 second update rate)
| yyyyxxxx.blz | Long term flash file (10 minutes of data at 1 second update rate)
| FreeAna1.db | Mean values at a user defined sample rate, and user defined # of records
| FreeAna2.db | Mean values at a user defined sample rate, and user defined # of records
| FreeAna3.db | Mean values at a user defined sample rate, and user defined # of records
| SecAna.db | 3 minutes of 10 second averages
| MinAna.db | 1 week of 10 minute averages
| DayAna.db | Daily averages
| LKMyyxx.db | Monthly power curve
| PowerDat.db | Power curve for entire operation of plant
| CallList.db | List of failure messages which have been sent
| ErrDev.db | List of the last 200 failure messages
| ErStat.db | Fault Statistics
| InvLog.db | Log showing which entries were added by whom
| ParaLog.db | Paremeter changes
| LogBuch.db | Faults that have occured during plant operation
| Transfer.db | List of down loaded data
| StatDat.db | Yield data (10 minute update rate, 1 week)
| Monyyxx.db | Monthly yield data by day
| Yearyyyy.db | Yield data by month for year 'yyyy'

## ErrDev
VisuPro - Turbine type: Ewb1.5s |  |  | 2001-02-28
File Name: |  | ErrDev.db
Table Description: |  | List of last 200 failure messages
Field | Field | Field | Field | Field
Number | Name | Description | Type | Size
1 | Index | Autoincrement | Long Integer
2 | Anlagen Nummer | Plant number | Alpha | 10
3 | Datum | Date | Date
4 | Uhrzeit | Time | Time
5 | Fehler-Nummer | Fault number | Long Integer
6 | Fehlertext | Fault description | Alpha | 40
7 | P-AKT | Power (kW) | Numeric
8 | VWIN | Wind speed (m/s) | Numeric
9 | NGEN1 | Generator speed (RPM) | Numeric
10 | Blitzdatei | Flash File | Alpha | 12
11 | Original | First fault | Logical (T/F)

## ErStat
VisuPro - Turbine type: Ewb1.5s |  |  | 2001-02-28
File Name: |  | ErStat.db
Table Description: |  | Fault Statistics
Field | Field | Field | Field | Field
Number | Name | Description | Type | Size
1 | Index | Autoincrement | Long Integer
2 | Anlagen Nummer | Plant number | Alpha | 10
3 | Datum | Date | Date
4 | Uhrzeit | Time | Time
5 | Fehler-Nummer | Fault number | Long Integer
6 | Fehlertext | Fault description | Alpha | 40
7 | Anzahl | Number of points | Long Integer
8 | Ausfallzeit | Downtime | Alpha | 12
9 | Aktiv | Active | Logical (T/F)

## LogBuch
VisuPro - Turbine type: Ewb1.5s |  |  | 2001-02-28
File Name: |  | LogBuch.db
Table Description: |  | Faults that have occured during plant operation
Field | Field | Field | Field | Field
Number | Name | Description | Type | Size
1 | Anlagen Nummer | Plant number | Alpha | 10
2 | Datum | Date | Date
3 | Uhrzeit | Time | Time
4 | Ereignis | Event | Alpha | 100
5 | Anmerkung | Comment | Alpha | 100

## MinAna
VisuPro - Turbine type: Ewb1.5s |  |  | 2001-02-28
File Name: |  | MinAna.db
Table Description: |  | 1 week of 10 minute averages
Field | Field | Field | Field | Field
Number | Name | Description | Type | Size
1 | Index | Autoincrement | Long Integer
2 | Anlagen Nummer | Plant number | Alpha | 10
3 | Start-Datum | Date (not used) | Date
4 | Start-Uhrzeit | Time (not used) | Time
5 | Datum | Date | Date
6 | Uhrzeit | Time | Time
7 | CHAN_001 | Power (kW) | Numeric
8 | CHAN_002 | Tower vibration time (ms) | Numeric
9 | CHAN_003 | cos phi | Numeric
10 | CHAN_004 | Reactive power (kVar) | Numeric
11 | CHAN_005 | Voltage Phase-A (volts) | Numeric
12 | CHAN_006 | Voltage Phase-B (volts) | Numeric
13 | CHAN_007 | Voltage Phase-C (volts) | Numeric
14 | CHAN_008 | Current Phace-A (amps) | Numeric
15 | CHAN_009 | Current Phace-B (amps) | Numeric
16 | CHAN_010 | Current Phace-C (amps) | Numeric
17 | CHAN_011 | Generator speed (RPM) | Numeric
18 | CHAN_012 | Rotor speed (RPM) | Numeric
19 | CHAN_013 | Blade-1 angle, Actual (Deg) | Numeric
20 | CHAN_014 | Wind speed (m/s) | Numeric
21 | CHAN_015 | Nacelle position (deg) | Numeric
22 | CHAN_016 | Nacelle revolution | Numeric
23 | CHAN_017 | Gen/transm speed (RPM) | Numeric
24 | CHAN_018 | Transmission oil pressure (mBar) | Numeric
25 | CHAN_019 | Blade-2 angle, Actual (deg) | Numeric
26 | CHAN_020 | Blade-3 angle, Actual (deg) | Numeric
27 | CHAN_021 | Blade-1 angle, Set value (Deg) | Numeric
28 | CHAN_022 | Blade-2 angle, Set value (Deg) | Numeric
29 | CHAN_023 | Blade-3 angle, Set value (Deg) | Numeric
30 | CHAN_024 | cos phi, Set value | Numeric
31 | CHAN_025 | n-set 1 (RPM) | Numeric
32 | CHAN_026 | n-set 2 (RPM) | Numeric
33 | CHAN_027 | Torque, Actual value (%) | Numeric
34 | CHAN_028 | Torque, Set value (%) | Numeric
35 | CHAN_029 | Operating state | Numeric
36 | CHAN_030 | Channel 30 | Numeric
37 | CHAN_031 | Wind deviation 10 sec. | Numeric
38 | CHAN_032 | Temp. Generator 1 (Deg C) | Numeric
39 | CHAN_033 | Temp. Generator 2 (Deg C) | Numeric
40 | CHAN_034 | Temp. Bearing A (Deg C) | Numeric
41 | CHAN_035 | Temp. Bearing B (Deg C) | Numeric
42 | CHAN_036 | Temp. Transmission (Deg C) | Numeric
43 | CHAN_037 | Temp. Outside (Deg C) | Numeric
44 | CHAN_038 | Temp. Nacelle (Deg C) | Numeric
45 | CHAN_039 | Temp. Generator cooling air (Deg C) | Numeric
46 | CHAN_040 | Temp. Transmission bearing (Deg C) | Numeric
47 | CHAN_041 | Temp shaft bearing (Deg C) | Numeric
48 | CHAN_042 | High-speed running number | Numeric
49 | CHAN_043 | Digital 1 | Numeric
50 | CHAN_044 | Digital 2 | Numeric
51 | CHAN_045 | Park power (kW) | Numeric
52 | CHAN_046 | Tower acceleration (mm/s^2) | Numeric
53 | CHAN_047 | Drive train acceleration (mm/s^2) | Numeric
54 | CHAN_048 | Temp. Transmission bearing B (Deg C) | Numeric
55 | CHAN_049 | Temp. Transmission return (Deg C) | Numeric
56 | CHAN_050 | Temp. Container (Deg C) | Numeric
57 | CHAN_051 | Temp. FU | Numeric
58 | CHAN_052 | Reserve4 | Numeric
59 | CHAN_053 | Reserve5 | Numeric
60 | CHAN_054 | Reserve6 | Numeric
61 | CHAN_055 | Reserve7 | Numeric
62 | CHAN_056 | Reserve8 | Numeric
63 | CHAN_057 | Reserve9 | Numeric
64 | CHAN_058 | Reserve10 | Numeric
65 | CHAN_059 | Reserve11 | Numeric
66 | CHAN_060 | Reserve12 | Numeric
67 | CHAN_061 | DI1 Main | Numeric
68 | CHAN_062 | DI2 Main | Numeric
69 | CHAN_063 | DI1 Top | Numeric
70 | CHAN_064 | DI2 Top | Numeric
71 | CHAN_065 | DI3 Top | Numeric
72 | CHAN_066 | DI4 Top | Numeric
73 | CHAN_067 | DO1 Main | Numeric
74 | CHAN_068 | DO2 Main | Numeric
75 | CHAN_069 | DO1 Top | Numeric
76 | CHAN_070 | DO2 Top | Numeric
Number of fields vary depending on turbine type