## MARCH 2000
Gordonsville Energy LP (L.S. #2 FUEL OIL ORDERS)
2000-03-01 |  |  | Cost per Gal. Deliv. Excluding VA tax |  |  | Cost per Gal. Deliv. Excluding VA tax | Updated 1/1/4444 |  | Cost per Gal. Deliv. Excluding VA tax
DATE | BP AMOCO ORDERS | Order number |  | CITGO ORDERS | Order number |  | MARATHON/ ASHLAND ORDERS | Order number
TOTAL ORDERED | 0 |  |  | 0 |  |  | 0
DRIVE TO MAINTAIN 4.5 MILLION GALLON INVENTORY
? | LAST "STRAPPED" vs Cntrl Room TANK LEVEL (as reference only… available monthly) |  |  | ?,??0,000 Strapped ?,???,000 Indicator
2000-01-24 | TANK LEVEL READING @ 10:AM as reported by Plant control room |  |  | 0
2000-01-23 | TOTAL ORDERED THRU (during) JANUARY |  |  | 0
-195135 | Possible Over Delivery |  |  | 195135
FEB TOTAL | DELIVERED IN Feb. 00 per Plant off-load meters |  |  | -172635 | (Deliveries should be shown as negatives to properly calculate the projected level)
2000-01-23 | DELIVERED YESTERDAY, THRU 12:MID per Plant Control Room |  |  | -22500
2000-01-24 | DELIVERED 12:AM - 10:AM as reported by Plant Control Room |  |  | 0
PROJECTED TANK LEVEL (at completion) |  |  |  | 0
NOTE:
Formulas:
DATE = [DATE, row above]-1
DATE = [DATE, row above]+1

## FEBRUARY 2000
Gordonsville Energy LP (L.S. #2 FUEL OIL ORDERS)
2000-02-01 |  |  | Cost per Gal. Deliv. Excluding VA tax |  |  | Cost per Gal. Deliv. Excluding VA tax | Updated 2/23/2000 |  | Cost per Gal. Deliv. Excluding VA tax
DATE | BP AMOCO ORDERS | Order number |  | CITGO ORDERS | Order number |  | MARATHON/ ASHLAND ORDERS | Order number
[7 empty] | 75000 | MAR-003 | 1.0772
TOTAL ORDERED | 0 |  |  | 0 |  |  | 75000
DRIVE TO MAINTAIN 4.5 MILLION GALLON INVENTORY
? | LAST "STRAPPED" vs Cntrl Room TANK LEVEL (as reference only… available monthly) |  |  | ?,??0,000 Strapped ?,???,000 Indicator
2000-02-16 | TANK LEVEL READING @ 10:AM as reported by Plant control room |  |  | 3268000
2000-02-15 | TOTAL ORDERED THRU (during) FEBRUARY |  |  | 75000
2000-01-31 | TOTAL 'OUTSTANDING' FROM JANUARY |  |  | 593193 | (CALC. FROM JAN. SHEET)
3368072 | Possible Over Delivery |  |  | 0
FEB TOTAL | DELIVERED IN FEB. 00 per Plant off-load meters |  |  | -545621 | (Deliveries should be shown as negatives to properly calculate the projected level)
2000-02-15 | DELIVERED YESTERDAY, THRU 12:MID per Plant Control Room |  |  | -22500
2000-02-16 | DELIVERED 12:AM - 10:AM as reported by Plant Control Room |  |  | 0
PROJECTED TANK LEVEL (at completion) |  |  |  | 3368072
NOTE:
Formulas:
DATE = [DATE, row above]-1
DATE = [DATE, row above]+1
2/23, as of this morning, there are still approximately 13 loads to be delivered. Of the 13, Citgo didn't have product for final 2 loads and credit GELP leaving approx 11 loads to be delivered. Yesterday should have finished Marathon and BPAmoco may be the only outstanding orders.
Est.
Est.

## JANUARY 2000
Gordonsville Energy LP (L.S. #2 FUEL OIL ORDERS)
2000-01-01 |  |  | Cost per Gal. Deliv. Excluding VA tax |  |  | Cost per Gal. Deliv. Excluding VA tax | Updated 1/31/2000 |  | Cost per Gal. Deliv. Excluding VA tax
DATE | BP AMOCO ORDERS | Order number |  | CITGO ORDERS | Order number |  | MARATHON/ ASHLAND ORDERS | Order number
2000-01-17 | [6 empty] | 120000 | MAP-002 | 0.8197
2000-01-18 |  |  |  | 150000 | CIT-003 | 0.8745
2000-01-19 |  |  |  | 240000 | CIT-004 | 0.8745
2000-01-21 |  |  |  | 90000 | CIT-005 | 0.955
2000-01-26 | 165000 | BPA-001 | 0.8312
2000-01-27 |  |  |  | 120000 | CIT-006 | 0.905
TOTAL ORDERED | 165000 |  |  | 600000 |  |  | 120000
DRIVE TO MAINTAIN 4.5 MILLION GALLON INVENTORY
1999-12-14 | LAST "STRAPPED" vs Cntrl Room TANK LEVEL (as reference only… available monthly) |  |  | 4,360,000 Strapped 4,365,000 Indicator
2000-02-01 | TANK LEVEL READING @ 10:AM as reported by Plant control room |  |  | 3417000
2000-01-31 | TOTAL ORDERED THRU (during) JANUARY |  |  | 885000
4010193 | Possible Over Delivery |  |  | 0
JAN TOTAL | DELIVERED IN JAN. 00 per Plant off-load meters |  |  | -291807 | (Deliveries should be shown as negatives to properly calculate the projected level)
2000-01-31 | DELIVERED YESTERDAY, THRU 12:MID per Plant Control Room |  |  | 0
2000-02-01 | DELIVERED 12:AM - 10:AM as reported by Plant Control Room |  | See Feb sheet
PROJECTED TANK LEVEL (at completion) |  |  |  | 4010193
NOTE:
Formulas:
DATE = [DATE, row above]-1
DATE = [DATE, row above]+1
No deliveries from 1/25 at 5:am thru at least 10:am 1/26 due to East Coast snow storm. BPAmoco should begin delivery on Sat. 1/29.
As before, a major weather event has slowed the pace over the weekend of 1/29, 1/30 and into Monday morning. I will be contacting all suppliers for an update and to continue the search for additional product. Nothing additional was available last Friday.
Of the current total order, 41 loads have been delivered with 77 loads outstanding.

## FALL 1999 ENDING
Gordonsville Energy LP (L.S. #2 FUEL OIL ORDERS)
Sept thru Dec 1999 |  |  |  |  | Updated 1/03/2000
DATE | BP AMOCO ORDERS | Order number | CITGO ORDERS | Order number | MARATHON/ ASHLAND ORDERS | Order number
1999-09-25 |  |  |  | CIT-001 |  |  | This is reference only, not included in the December tracking below.
1999-12-15 |  |  | 187500 | CIT-002
[5 empty] | 150000 | MAP-001
TOTAL ORDERED | 0 |  | 187500 |  | 150000
DRIVE TO MAINTAIN 4.5 MILLION GALLON INVENTORY
1999-12-14 | LAST "STRAPPED" vs Cntrl Room TANK LEVEL (as reference only… available monthly) |  | 4,360,000 Strapped 4,365,000 Indicator
1999-12-29 | TANK LEVEL READING @ 10:AM as reported by Plant control room |  | 4713000
1999-12-28 | TOTAL ORDERED THRU (during) DECEMBER |  | 337500
4705177 | Possible Over Delivery |  | 7823
FALL '99 TOTAL | DELIVERED IN DEC.'99 per Plant off-load meters |  | -322823 | (Deliveries should be shown as negatives to properly calculate the projected level)
1999-12-28 | DELIVERED YESTERDAY, THRU 12:MID per Plant Control Room |  | -22500
1999-12-29 | DELIVERED 12:AM - 10:AM as reported by Plant Control Room |  | 0
PROJECTED TANK LEVEL (at completion) |  |  | 4713000
NOTE:
Formulas:
DATE = [DATE, row above]-1
DATE = [DATE, row above]+1
Deliveries done as of January 3rd.